Registration form

Chlorination 101 CEU Training Course

48 HOUR RUSH ORDER PROCESSING FEE ADDITIONAL $50.00

Start and Finish Dates: ___________________________You will have 90 days from this date in order to complete this course

List number of hours worked on assignment must match State Requirement.  _______________

Name________________________________Signature___________________________

I have read and understood the disclaimer notice on page 2.  Digitally sign XXX

Address: _______________________________________________________________

City_________________________________State___________________Zip_________

Email______________________________ Fax (______) ________________________

Phone:

Home (______) ______________________Work (______) ________________________

Operator ID# ______________________________________Exp Date______________

Please circle/check which certification you are applying the course CEU’s.

Water Treatment _________     Distribution _______      Collection _________

Wastewater Treatment______    Other _____________________________________

Technical Learning College   PO Box 3060, Chino Valley, AZ 86323

### Toll Free (866) 557-1746      Fax (928) 272-0747   info@tlch2o.com

If you’ve paid on the Internet, please write your Customer#____________________

Please invoice me, my PO#_______________________________________________

Please pay with your credit card on our website under Bookstore or Buy Now.  Or call us and provide your credit card information.

We will stop mailing the certificate of completion we need your e-mail address.  We will e-mail the certificate to you, if no e-mail address; we will mail it to you.

DISCLAIMER NOTICE

I understand that it is my responsibility to ensure that this CEU course is either approved or accepted in my State for CEU credit. I understand State laws and rules change on a frequent basis and I believe this course is currently accepted in my State for CEU or contact hour credit, if it is not, I will not hold Technical Learning College responsible.  I fully understand that this type of study program deals with dangerous, changing conditions and various laws and that I will not hold Technical Learning College, Technical Learning Consultants, Inc. (TLC) liable in any fashion for any errors, omissions, advice, suggestions or neglect contained in this CEU education training course or for any violation or injury, death, neglect, damage or loss of your license or certification caused in any fashion by this CEU education training or course material suggestion or error or my lack of submitting paperwork.  It is my responsibility to call or contact TLC if I need help or assistance and double-check to ensure my registration page and assignment has been received and graded. It is my responsibility to ensure all information is correct and to abide with all rules and regulations.

State Approval Listing Link, check to see if your State accepts or has pre-approved this course.  Not all States are listed. Not all courses are listed.  If the course is not accepted for CEU credit, we will give you the course free if you ask your State to accept it for credit.

Professional Engineers; Most states will accept our courses for credit but we do not officially list the States or Agencies. Please check your State for approval.

State Approval Listing URL…

http://www.abctlc.com/downloads/PDF/CEU%20State%20Approvals.pdf

You can obtain a printed version of the course from TLC for an additional $169.95 plus shipping charges.

AFFIDAVIT OF EXAM COMPLETION

I affirm that I personally completed the entire text of the course.  I also affirm that I completed the exam without assistance from any outside source.  I understand that it is my responsibility to file or maintain my certificate of completion as required by the state or by the designation organization.

Grading Information

In order to maintain the integrity of our courses we do not distribute test scores, percentages or questions missed. Our exams are based upon pass/fail criteria with the benchmark for successful completion set at 70%. Once you pass the exam, your record will reflect a successful completion and a certificate will be issued to you.

All downloads are tracked and monitored for security purposes.

CERTIFICATION OF COURSE PROCTOR

Technical Learning College requires that our students who takes a correspondence or home study program course must pass a proctored course reading, quiz and final examination.  The proctor must complete and provide to the school a certification form approved by the commission for each examination administered by the proctor.

Instructions. When a student completes the course work, fill out the blanks in this section and provide the form to the proctor with the examination.

Name of Course:

Name of Licensee:

Instructions to Proctor. After an examination is administered, complete and return this certification and examination to the school in a sealed exam packet or in pdf format.

I certify that:

1.	I am a disinterested third party in the administration of this examination.  I am not related by blood, marriage or any other relationship to the licensee which would influence me from properly administering the examination.

2.	The licensee showed me positive photo identification prior to completing the examination.

3.	The enclosed examination was administered under my supervision on 		.  The licensee received no assistance and had no access to books, notes or reference material.

4.	I have not permitted the examination to be compromised, copied, or recorded in any way or by any method.

5.  Provide an estimate of the amount of time the student took to complete the assignment.

Time to complete the entire course and final exam. _____________________________

Notation of any problem or concerns:

Name and Telephone of Proctor (please print):

Signature of Proctor

Chlorination 101 CEU Course Answer Key

Name	___________________________	Telephone # ___________________

Method of Course acceptance confirmation. Please fill this section

It is your sole responsibly to ensure this course is accepted for credit in your State. No refunds.  Did you check with your State agency to ensure this course is accepted for credit?

Website __ Telephone Call___ Email____ Spoke to_________________________

Did you receive the approval number, if applicable?  ________________________

Please circle, underline, bold or X only one correct answer

Please Circle, Bold, Underline or X, one answer per question. A felt tipped pen works best.

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B

- A B

- A B

- A B

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B

- A B

- A B

- A B

- A B

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B

- A B

- A B C D

- A B C D

- A B C D

- A B C D

- A B

- A B

- A B C D

- A B C D

- A B C D

- A B

- A B

- A B

- A B

- A B

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B

- A B

- A B C D

- A B

- A B

- A B

- A B

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B

- A B

- A B

- A B

- A B

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B

- A B

- A B

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B

- A B

- A B

- A B C D

- A B C D

- A B C D

- A B C D

- A B

- A B

- A B C D

- A B C D

- A B C D

- A B C D

- A B

- A B

- A B

- A B

- A B

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B

- A B

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B

- A B

- A B

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B

- A B

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B

- A B

- A B

- A B

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

Amount of Time for Course Completion – How many hours you spent on course?

Must match State Hour Requirement __________ (Hours)

I understand that I am 100 percent responsible to ensure that TLC receives the Assignment and Registration Key.   I will not hold TLC liable for any errors or damages and will abide with rules on page 2. I understand that TLC has a zero tolerance towards not following their rules, cheating or hostility towards staff or instructors.  I need to complete the entire assignment for credit.  There is no credit for partial assignment completion.  My exam was proctored.

I will contact TLC if I do not hear back from them within 2 days of assignment submission. I will forfeit my purchase costs and will not receive credit or a refund if I do not abide with TLC’s rules.

Please Sign that you understand and will abide with TLC’s Rules.

______________________________________________________

Signature

Please write down any questions you were not able to find the answers or that have errors

When Finished with Your Assignment

REQUIRED DOCUMENTS

Please scan the Registration Page, Answer Key, Survey and Driver’s License and email it to info@TLCH2O.com.

iPhone

If you are unable to scan, take a photo of these documents with your iPhone and send these photos to TLC, info@TLCH2O.com.

FAX

If you are unable to scan and email, please fax these to TLC, if you fax, call to confirm that we received your paperwork. (928) 468-0675

Please e-mail or fax this survey along with your final exam

CHLORINATION 101 CEU TRAINING COURSE

# CUSTOMER SERVICE RESPONSE CARD

NAME: _______________________________________________________________

E-MAIL_________________________________PHONE_______________________

PLEASE COMPLETE THIS FORM BY CIRCLING THE NUMBER OF THE APPROPRIATE ANSWER IN THE AREA BELOW.

Please rate the difficulty of your course.

Very Easy  	0	1	2	3	4	5     Very Difficult

Please rate the difficulty of the testing process.

Very Easy  	0	1	2	3	4	5     Very Difficult

Please rate the subject matter on the exam to your actual field or work.

Very Similar  	0	1	2	3	4	5     Very Different

How did you hear about this Course? ___________________________________________

What would you do to improve the Course?

____________________________________________________________________________

Any other concerns or comments.

This course contains general EPA’s SDWA federal rule requirements.  Please be aware that each state implements water / sampling procedures/safety/ environmental / building regulations that may be more stringent than EPA’s regulations.  Check with your state environmental/health agency for more information. These rules change frequently and are often difficult to interpret and follow. Be careful to not be in non-compliance and do not follow this course for proper compliance.

### Please write down any questions you were not able to find the answers or that have errors.

Chlorination 101 CEU Course Assignment

The Chlorination 101 CEU Assignment is available in Word on the Internet for your Convenience, please visit www.ABCTLC.com and download the assignment and e-mail it back to TLC.

You will have 90 days from the start of this course to complete in order to receive your Professional Development Hours (PDHs) or Continuing Education Unit (CEU).  A score of 70 % is necessary to pass this course.  If you should need any assistance, please email all concerns and the completed manual to info@tlch2o.com.

We would prefer that you utilize the enclosed answer sheet in the front, but if you are unable to do so, type out your own answer key.   Please include your name and address on your manual and make copy for yourself.

Multiple Choice, please select only one answer per question.  There are no intentional trick questions.

### Please write down any questions you were not able to find the answers or that have errors.

Disinfection Rule Section

Chlorine DDBP

1.  Chloramines are formed by reactions with?

A.  Acid and Cl2		C.  Folic Acid and Cl2

B.  Ammonia and Cl2		D.  None of the above

2.  These term means that chlorine is present as Cl, HOCl, and OCl¯ is called ______________, and that which is bound but still effective is ________________.

A. Free available chlorine and Total

B. Free and Residual

C. Free available chlorine and Combined Chlorine

D.  None of the above

Microbial Regulations

3.  Which rule was established to maintain control of pathogens while systems lower disinfection byproduct levels to comply with the Stage 1 Disinfectants/Disinfection Byproducts Rule and to control Cryptosporidium?

A.  Long Term 1 Enhanced Surface Water Treatment Rule

B.  Interim Enhanced Surface Water Treatment Rule

C.  Surface Water Treatment Rule

D.  None of the above

4.  Which rule specifies treatment criteria to assure that these performance requirements are met; they include turbidity limits, disinfectant residual, and disinfectant contact time conditions?

A.  Long Term 1 Enhanced Surface Water Treatment Rule

B.  Interim Enhanced Surface Water Treatment Rule

C.  Surface Water Treatment Rule

D.  None of the above

EPA’s Drinking Water Regulations for Disinfectants

5.   All disinfectants form DBPs in one of two reactions: Chorine and chlorine-based compounds (halogens) react with organics in water causing the _______________to substitute other atoms resulting in halogenated by-products.

A.  Chlorine atom	C.  Carbon atom

B.  Hydrogen atom	D.  None of the above

6.  Oxidation reactions are where chlorine ________________compounds present in water.

A.  Reduces	C.  Oxidizes

B.  Forms	D.  None of the above

7.  ______________________are also formed when multiple disinfectants are used.

A.  Secondary by-products		C.  Chorine and chlorine-based compounds (halogens)

B.  Primary by-products		D.  None of the above

8.  Which of the following rules requires systems using public water supplies from either surface water or groundwater under the direct influence of surface water to disinfect?

A.  TTHM and HAA5 Rule	C.  Surface Water Treatment Rule (SWTR)

B.  DBP MCLs	Rule		D.  None of the above

9.  The maximum contaminant level for the SWTR disinfection set by EPA. At this time, an MCL is set for only_______________, and proposed for additional disinfection byproducts.

A.  TTHM and HAA5 Rule		C.  A community water system (CWS)

B.  Total Trihalomethanes 		D.  None of the above

10.  Which of the following rules require EPA to develop rules to balance the risks between microbial pathogens and disinfection byproducts?

## A.  Amendments to the SDWA in 1996	C.  Stage 1 Disinfectant and Disinfection Byproduct Rule

## B.  SDWA in 1996				D.  None of the above

## Public Health Concerns

11.  Which of the following rules along with the Disinfection Byproducts Rule applies to all community and nontransient non-community water systems that treat their water with a chemical disinfectant?

A.  Groundwater Rule (GWR) 	C.  Long Term 2 Enhanced Surface Water Treatment Rule

B.  The Stage 1 Disinfectants		D.  None of the above

12.  Which of the following rules and Disinfection Byproduct Rule updates and supersedes the 1979 regulations for total trihalomethanes?

## A.  DBPs			C.  The Stage 1 Disinfectant

## B. The LT2 requirements	D.  None of the above

### Stage 2 DBP Rule Federal Register Notices

13.  Which of the following rules is one part of the Microbial and Disinfection Byproducts Rules, which are a set of interrelated regulations that address risks from microbial pathogens and disinfectants/disinfection byproducts?

A.  Groundwater Rule (GWR) 	C.  Long Term 2 Enhanced Surface Water Treatment Rule (LT2)

B.  The Stage 2 DBP rule		D.  None of the above

(S) Means the answer can be plural or singular in nature

Are THMs and HAAs the only disinfection byproducts?

14.  The presence of _________________is representative of the occurrence of many other chlorination DBPs; thus, a reduction in the TTHM and HAA5 generally indicates a reduction of DBPs from chlorination.

A.  Chlorine and chloramine	C.  TTHM and HAA5

B.  Classes of DBPs		D.  None of the above

Chlorine By-Products

15.  The most common chlorination by-products found in U.S. drinking water supplies are?

A. Chlorate and Chlorite 		C.  Ammonia and THMS

B. Trihalomethanes (THMs)		D.  None of the above

The Principal Trihalomethanes are:

16.  Chloroform, bromodichloromethane, chlorodibromomethane, and bromoform. Other less common chlorination by-products include the haloacetic acids and haloacetonitriles. The amount of THMs formed in drinking water can be influenced by a number of factors, including the season and the source of the water.

A.  True	B.  False

17.  THM concentrations are generally higher in winter than in summer, because concentrations of natural organic matter are greater and more chlorine is required to disinfect at colder temperatures.

A.  True	B.  False

18.  THM levels are also low when wells or large lakes are used as the drinking water source, because organic matter concentrations are generally low in these sources. The opposite — high organic matter concentrations and high THM levels — is true when rivers or other surface waters are used as the source of the drinking water.

A.  True	B.  False

# Health Effects

19.  The available studies on health effects do not provide conclusive proof of a relationship between exposure to THMs and cancer or reproductive effects, but indicate the need for further research to confirm their results and to assess the potential health effects of chlorination by-products other than THMs.

A.  True	B.  False

Risks and Benefits of Chlorine

20.  Many cities utilize the use ozone to disinfect their source water and to reduce formation of this parameter?

A. Chlorate and Chlorite 		C.  Chloramines

B. Trihalomethanes (THMs)		D.  None of the above

21.  ____________ is a highly effective disinfectant, it breaks down quickly, so that small amounts of _______________ or other disinfectants must be added to the water to ensure continued disinfection as the water is piped to the consumer’s tap.

A.  Ozone, Chlorine		C.  Chlorine Dioxide, Chlorine

B.  Chlorite, Chlorine		D.  None of the above

(S) Means the answer can be plural or singular in nature

22.  Modifying water treatment facilities to use __________ can be expensive, and __________ treatment can create other undesirable by-products that may be harmful to health if they are not controlled (e.g., bromate).

A.  Ozone, Chlorine		C.  Ozone, Ozone

B.  Chlorite, Chlorine		D.  None of the above

23.  Which term is a weaker disinfectant than chlorine, especially against viruses and protozoa; however, they are very persistent and, as such, can be useful for preventing re-growth of microbial pathogens in drinking water distribution systems?

A.  UV			C.  Chloramines

B.  Chlorite		D.  None of the above

24.  Chlorine dioxide can be an effective disinfectant, but it forms?

A. Chlorate and Chlorite 	C.  Chloramines

B. THMS 			D.  None of the above

Waterborne Pathogens Section

Primary Waterborne Diseases Section

25.  Humans are the reservoir for the Salmonella typhi pathogen, which causes diarrheal illness, and also known as?

A.  Campylobacter		C.  Typhoid fever

B.  Shigella dysenteriae	D.  None of the above

26.  Legionnaire's disease, which causes a severe pneumonia, and the second, _____________, which is a non-pneumonia illness; it's typically an influenza-like illness, and it's less severe.

A.  Pontiac fever 	C.  Typhoid fever

B.  Yellow fever	D.  None of the above

27.  Legionella, prevention. Legionella in water systems. Hot water in tanks should be maintained between _____________degrees Centigrade.

A.  81 to 100			C. 71 and 77

B.  110 to 210			D.  None of the above

28.  Giardia prevention strategies for this pathogen include _____________; filtration, coagulation, and halogenation of drinking water.

A.  Internal protection		C.  Containment protection

B.  Source protection		D.  None of the above

29.  Schistosomatidae, the basics. It is a parasite. It is acquired through dermal contact, cercarial dermatitis. It is commonly known as?

A.  Swimmer's itch		C.  Hemorrhagic colitis

B.  Beaver fever		D.  None of the above

30.  Schistosomatidae prevention strategies for this pathogen include Placing boric acid on berms or interrupting the life cycle of the parasite by treating birds with a lead.

A.  True	B.  False

(S) Means the answer can be plural or singular in nature

31.  Shigella species, in the United States two-thirds of the shigellosis in the U.S. is caused by Shigella dysenteriae and the remaining one-third is caused by Shigella Campylobacter.

A.  True	B.  False

32.  Campylobacter, the basics. It's a bacterium. It causes diarrheal illness.

A.  True	B.  False

33.  Campylobacter is primarily associated with poultry, animals, and humans.

A.  True	B.  False

34.  Vibrio cholerae, the basics. It's a virus. It causes diarrheal illness, also known as cholera. It is typically associated with aquatic environments, shell stocks, and human. Vibrio cholerae has also been associated with ship ballast water.

A.  True	B.  False

Dangerous Waterborne Microbes

35.  Which of the following is a parasite that enters lakes and rivers through sewage and animal waste. It causes gastrointestinal illness (e.g. diarrhea, vomiting, and cramps)?

A.  Coliform Bacteria 	C.  Protozoa

B.  Cryptosporidium	D.  None of the above

36.  Which of the following is a species of the rod-shaped bacterial genus Shigella?

A.  Fecal coliform bacteria	C.  Shigella dysenteriae

B.  Cryptosporidium		D.  None of the above

37.  Which of the following can cause bacillary dysentery?

A.  Fecal coliform bacteria	C.  Shigella

B.  Cryptosporidium		D.  None of the above

38.  Which of the following are bacteria whose presence indicates that the water may be contaminated with human or animal wastes? Microbes in these wastes can cause short-term effects, such as diarrhea, cramps, nausea, headaches, or other symptoms.

A.  Fecal Coliform and E. coli		C.  Shigella dysenteriae

B.  Cryptosporidium			D.  None of the above

Bacteria Sampling

39.  Water samples for _________________ must always be collected in a sterile container.

A.  Amoebas	 	C.  Viruses

B.  Bacteria tests   	D.  None of the above

Methods

40. The MMO-MUG test, a product marketed as ____________, is the most common. The sample results will be reported by the laboratories as simply coliforms present or absent.

A.  Colilert 		C.  Total coliform analysis

B.  Coliform 		D.  None of the above

(S) Means the answer can be plural or singular in nature

Microbial Regulations

41.  One of the key regulations developed and implemented by the United States Environmental Protection Agency (USEPA) to counter pathogens in drinking water is the Surface Water Treatment Rule.

A.  True	B.  False

Basic Types of Water Samples

42. It is important to properly identify the type of sample you are collecting.

A.  True	B.  False

The three (3) types of samples are:

43.  Samples collected following a coliform present routine sample. The number of repeat samples to be collected is based on the number of ____________ samples you normally collect.

A.  Repeat	C.  Routine

B.  Special	D.  None of the above

44.  A PWS has a second Level 1 Assessment within a rolling 12-month period.

A.  Trigger: Level 1 Assessment 	C.  All of the above

B.  Trigger: Level 2 Assessment 	D.  None of the above

45.  A PWS on state-approved annual monitoring has a Level 1 Assessment trigger in 2 consecutive years.

A.  Trigger: Level 1 Assessment 	C.  All of the above

B.  Trigger: Level 2 Assessment 	D.  None of the above

46.  A PWS collecting fewer than 40 samples per month has 2 or more TC+ routine/ repeat samples in the same month.

A.  Trigger: Level 1 Assessment 	C.  All of the above

B.  Trigger: Level 2 Assessment 	D.  None of the above

Positive or Coliform Present Results

47.  If you are notified of a positive coliform test result you need to contact either the Drinking Water Program or your local county health department within 72 hours, or by the next business day after the MCL compliance violation

A.  True	B.  False

Heterotrophic Plate Count   HPC

48.  Heterotrophic Plate Count (HPC) --- formerly known as the Bac-T plate, is a procedure for estimating the number of live heterotrophic bacteria and measuring changes during water treatment and distribution in water or in swimming pools.

A.  True	B.  False

Heterotrophic Plate Count (Spread Plate Method)

49.  Which of the following provides a technique to quantify the bacteriological activity of a sample?

A.  Colonies	C.  Heterotrophic Plate Count

B.  Agar	D.  None of the above

Total Coliforms

50.  For systems that collect fewer than ______________ samples per month, no more than one sample per month may be positive. In other words, the second positive result (repeat or routine) in a month or quarter results in a MCL violation.

A.  40		C.  200

B.  100		D.  None of the above

The following are acute violations:

51.  Which determines a violation of nitrate?

A.  Presence	C.  MCLG

B.  MCL	D.  None of the above

Revised Total Coliform Rule (RTCR) Summary

52.  The RTCR establishes criteria for systems to qualify for and stay on for special increased monitoring, which could reduce water system problems for better system operation.

A.  True	B.  False

53.  The RTCR requires public water systems (PWSs) to meet a legal limit for E. coli, as demonstrated by required monitoring.

A.  True	B.  False

54.  The RTCR suggests the frequency and timing of required microbial testing based on public water type and source water type.

A.  True	B.  False

55.  EPA published the Revised Total Coliform Rule (RTCR) in the Federal Register (FR) on February 13, 2013 (78 FR 10269). It is the revision to the 1989 Total Coliform Rule (TCR). 
A.  True	B.  False

56.  The RTCR requires public water systems that are vulnerable to microbial contamination to identify and fix problems.

A.  True	B.  False

57.  The water provider shall collect _______________________on a regular basis (monthly, quarterly, annually). Have samples tested for the presence of total coliforms by a state certified laboratory.

A.  Routine water samples	C.  Microbial contamination

B.  Reduced monitoring	D.  Repeat water samples

58.   For PWSs on quarterly or annual routine sampling, collect additional routine samples (at least 3) in the month after a ______________________ .

A.  CCR(s)	C.  Total coliform positive samples

B.  PN		D.  TC+ routine or repeat sample

59.  PWSs incur violations if they do not comply with the requirements of the RTCR. The violation types are essentially the same as under the TCR with few changes. The biggest change is no acute or monthly MCL violation for ______________only.

A.  CCR(s)	C.  Total coliform positive samples

B.  PN		D.  TC+ routine or repeat sample

60.  Community water systems (CWSs) must use specific language in their CCRs when they must conduct an assessment or if they incur________________.

A.  CCR(s)	C.  An E. coli MCL violation

B.  PN		D.  TC+ routine or repeat sample

61.  The water provider shall analyze all ________________ that are total coliform positive (TC+) for E. coli.

A.  Routine or repeat water samples	C.  Microbial contamination

B.  Reduced monitoring		D.  Repeat water samples

Summary

Detailed Disinfection Supplement Section

Factors in Chlorine Disinfection: Concentration and Contact Time

62.  CXT values [ final free chlorine concentration (mg/L) multiplied by minimum contact time (minutes)], offer water operators guidance in computing an effective combination of chlorine concentration and chlorine contact time required to achieve disinfection of water at a given temperature.

A.  True	B.  False

Understanding Cryptosporidiosis

63.  Cryptosporidium is an emerging parasitic protozoan pathogen because its transmission has increased dramatically over the past two decades.

A.  True	B.  False

Understanding Giardia lamblia

64.  Which of the following was discovered about 20-40 years ago, is another emerging waterborne pathogen?

A.  Cryptosporidium		C.  Corona 5

B.  Giardia lamblia		D.  None of the above

Water Chemistry Section

pH Testing Section

65.  Measurement of pH for aqueous solutions can be done with a glass electrode and a pH meter, or using indicators like strip test paper.

A.  True	B.  False

66.  In chemistry, pH is a measure of the acidity or basicity of an aqueous solution. Solutions with a pH greater than 7 are said to be acidic and solutions with a pH less than 7 are basic or alkaline.

A.  True	B.  False

67.   The pH scale is traceable to a set of standard solutions whose pH is established by US EPA.

A.  True	B.  False

68.  Because the alkalinity of many surface waters is primarily a function of carbonate, bicarbonate, and hydroxide content, it is taken as an indication of the concentration of these constituents.

A.  True	B.  False

### Halogens- Halides

69.  What is the negative ion often referred to as?

A.  A halide proton		C.  Diatomic Compound

B.  A halide ion		D.  None of the above

70.   Which of the following terms contains ions known as halides?

A.  Salts		C.  Hydrastatic acid

B.  Organic halides	D.  None of the above

71.  Halide ions combined with single hydrogen atoms form the hydrohalic acids (i.e., HF, HCl, HBr, HI), a series of particularly strong acids, one being?

A.  Salts		C.  Hydrastatic acid

B.  Organic halides	D.  None of the above

72.  Many synthetic organic compounds such as plastic polymers, and a few natural ones, contain halogen atoms; these are known as halogenated compounds or?

A.  Salts		C.  Hydrastatic acid

B.  Organic halides	D.  None of the above

Chlorine

73.  The only halogen is needed in relatively large amounts (as chloride ions) by humans?

A.  Chlorine		C.  Fluoride

B.  Iodine		D.  None of the above

Chlorine Section

Chlorine Gas Appearance and Odor

74.  Chlorine is a greenish-yellow gas it will condense to an amber liquid at about ______________F or at high pressures.

A.  32 degrees		C.  29 degrees

B.  -29.2 degrees 	D.  None of the above

75.  Lengthy exposures to chlorine gas may result in______________________. Odor thresholds ranging from 0.08 to part per million (ppm) parts of air have been reported.

A.  Exposure to chlorine	C.  Olfactory fatigue

B.  Odor thresholds 		D.  None of the above

Reactivity

76.  Cylinders of chlorine may burst when exposed to elevated temperatures. When there is Chlorine in solution, this forms?

A.  Hydrogen sulfide	C.  A corrosive material

B.  Oxomonosilane	D.  None of the above

77.  What is formed when chlorine is in contact with combustible substances (such as gasoline and petroleum products, hydrocarbons, turpentine, alcohols, acetylene, hydrogen, ammonia, and sulfur), reducing agents, and finely divided metals?

A.  Fires and explosions	C.  Moisture, steam, and water

B.  Odor thresholds 		D.  None of the above

78.  Chlorine reacts with hydrogen sulfide and water to form which substance?

A.  Hydrogen sulfide		C.  Chlorinates

B.  Hydrochloric acid		D.  None of the above

79.  Chlorine is also incompatible with?

A.  Plastic	C.  Moisture, steam, and water

B.  Palladium	D.  None of the above

Flammability

80.  When there is a fire that involves chlorine, the firefight should be fought downwind from the minimum distance possible.

A.  True  	B.  False

What Happens to Chlorine When it Enters the Environment?

81.  When chlorine is released to soil, chlorine will react with moisture forming free unstable oxygen radicals.

A.  True	B.  False

82.  When released to air, chlorine will react with water to form hypochlorous acid and hydrochloric acid, which are easily removed from the atmosphere by generation of free oxygen radicals.

A.  True  	B.  False

Chlorine Exposure Limits

83.  Chlorine’s Physical and chemical properties: A yellowish green, nonflammable and liquefied gas with an unpleasant and irritating smell.

A.  True  	B.  False

84.  The current Occupational Safety and Health Administration (OSHA) permissible exposure limit (PEL) for chlorine is 10 PPM (3 milligrams per cubic meter (mg/m (3))) as a ceiling limit. A worker's exposure to chlorine shall at no time exceed this ceiling level.

A.  True   	B.  False

85.  OSHA PEL is?

A.  10 PPM	C.  1,000 PPM

B.  1 PPM	D.  None of the above

86.  Chlorine can be readily compressed into a clear, amber-colored liquid, a ________________, and a strong oxidizer.

A.  Combustible gas		C.  Noncombustible gas

B.  Combustible liquid 	D.  None of the above

87.  Liquid chlorine is about __________ times heavier than water and gaseous chlorine is about 2.5 times heavier than air.

A.  1.5		C.  2.5

B.  0.5		D.  None of the above

88.  Cl2 IDLH is?

A.  10 PPM	C.  1,000 PPM

B.  0.1 PPM	D.  None of the above

89.  Cl2 fatal exposure limit is?

A.  10 PPM	C.  1,000 PPM

B.  0.1 PPM	D.  None of the above

Disinfectant Qualities

90. Chlorine is so important in poultry processing that the US Department of Agriculture requires an almost constant chlorine rinse for much of the cutting equipment. In fact, no proven economical alternative to chlorine disinfection exists for use in Meat and poultry processing facilities.

A.  True	B.  False

Properties
91.  Because it is highly reactive, chlorine is usually found in nature bound with other elements like sodium, potassium, and magnesium.

A.  True	B.  False

92.  Inorganic disinfectants have great usage of removing a wide variety of disease-causing germs from drinking water and wastewater as well as from hospital and food production surfaces.

A.  True	B.  False

93.  In researching and synthesizing organic compounds some compounds that have at least one atom of the element carbon in their molecular structure. All living organisms, including humans, are composed of primarily of _________________.

A.  Organic compounds 		C.  Inorganic compounds

B.  Abundant chemical elements 	D.  None of the above

94.  What is a largest reservoir of dissolved chlorine weathered from the continents and transported to the oceans by Earth's rivers?

A.  Brine		C.  Ancient seawater

B.  Seawater 	D.  None of the above

95.  Chemical elements have their own set of unique properties and chlorine is known as _____________--so reactive, in fact, that it is usually found combined with other elements in the form of compounds.

A.  Synthesizing organic compound	C.  One of the most abundant chemical elements

B.  A very reactive element		D.  None of the above

96.  Various states of chlorine includes when chlorine is isolated as a free element, chlorine is a greenish yellow gas, which is___________. It turns to a liquid state at -34°C (-29°F), and it becomes a yellowish crystalline solid at -103°C (-153°F).

A.  2.5 times heavier than water	C.  2.5 times heavier than air

B.  2.5 times lighter than air	D.  None of the above

Chlorine Gas Introduction

## 97.  When chlorine is added into the water stream, chlorine hydrolyzes into?

A.  HCL			C. Hypochlorous acid (HOCl), and hydrochloric acid (HCl)

## B.  Bromoform		D.  None of the above

## 98.  When chlorine hydrolyzation occurs, it provides an active toxicant, _________, which is pH-dependent. In alkaline cooling systems, it readily dissociates to form the hypochlorite ion (OCl-).

## A.  HCl		C.  The hypochlorate ion (OCl-)

## B.  HOCl		D.  None of the above

## 99.  In alkaline conditions, _____________becomes the predominant species and lacks the biocidal efficacy of the non-dissociated form.

## A.  HCl		C.  OCl-

## B.  HOCl		D.  None of the above

## 100.  Considerably more __________ is present at a pH of 7.0 than at pH 8.5.

## A.  HCl		C.  OCl-

## B.  HOCl		D.  None of the above

## 101.  Chlorine can be non-selective, making it very sensitive to contamination from either cooling water makeup or from in-plant process leaks.____________, organic acids and organic compounds, sulfides, iron and manganese all easily react with HOCl.

## A.  Ammonia		C. Chlorine gas

## B.  Sodium hypochlorite	D.  None of the above

## 102.  What is the term that best describes the amount of chlorine needed to react with contamination species and it must be satisfied before active HOCl is available to provide a free chlorine residual?

## A.  Chlorine demand			C.  Total residual

## B.  Hypochlorite ion (OCl-)		D.  None of the above

## 103. Which of the following removes alkalinity, pH depression and system corrosion could occur?

## A.  HCl		C.  pH of 7.0 than at pH 8.5

## B.  HOCl		D.  None of the above

## 104.  The combination of high chlorine demand in process-contaminated systems and the dissociation process in alkaline systems creates the need for greater chlorine feed to obtain the same microbial efficacy. This results in a higher concentration of HCl in the cooling system.

## A.  True	B.  False

## 105.  The chloride ion (Cl-) cannot damage or penetrate the passive oxide layer, leading to localized damage of the metal surface as does Hypochlorous acid (HOCl), and hydrochloric acid (HCl).

## A.  True	B.  False

## 106.  High chlorine concentrations have also been shown to directly attack traditional organic-based corrosion inhibitors. When these inhibitors are “deactivated,” the metal surface would then be susceptible to corrosion. Process Safety Management (PSM) guidelines dictated by the U.S. Occupational Safety and Health Administration (OSHA), discharge problems related to Chlorinated organic compounds such as trihalomethane (THM), dezincification of admiralty brass and delignification of cooling tower wood are other significant concerns associated with the use of chlorine.

## A.  True	B.  False

Pathophysiology

107.  As far as chlorine safety and respiratory protection, the intermediate ___________of chlorine accounts for its effect on the upper airway and the lower respiratory tract.

A.  Effects of Hydrochloric acid	C.  Water solubility

B.  Vapor from Chlorine gas	D.  None of the Above

108.  Respiratory exposure to ____________ may be prolonged because its moderate water solubility may not cause upper airway symptoms for several minutes.

A.  Hydrochloric acid	C. Plasma exudation

B.  Chlorine gas		D.  None of the Above

109.  The odor threshold for chlorine gas is approximately?

A.  0.3-0.5 parts per million (ppm)	C.  3-5 parts per million (ppm)

B.  3 parts per million (ppm)		D.  None of the Above

Mechanism of Activity

## 110.  The mechanisms of cellular injury are believed to result from the oxidation of functional groups in cell components, from reactions with tissue water to form_______, and from the generation of free oxygen radicals.

## A.  Generation of free oxygen radicals	C.  Hypochlorous and hydrochloric acid

## B.  Chlorine acid				D.  None of the above

## 111.  Chlorine gas should be stored in vented rooms that have panic bar equipped doors.

## A.  True	B.  False

112.  Chlorine gas feeds out of the cylinder through a gas regulator.  The cylinders are on a scale that operators use to measure the amount used each day.  The chains are used to prevent the tanks from falling over.

A.  True	B.  False

## Solubility Effects

## 113. Which of the following is highly soluble in water?

## A.  Hydrochloric acid	C.  Hypochlorous base

## B.  H2SO4			D.  None of the above

## 114.  Because it is highly water soluble, Hypochlorous acid has an injury pattern similar to?

## A.  Hydrochloric acid	C.  Ferric acid

## B.  H2SO4			D.  None of the above

## 115.  Which of the following may account for the toxicity of elemental chlorine and hydrochloric acid to the human body?

## A.  Hydrochloric acid	C.  Hypochlorous acid

## B.  H2SO4			D.  None of the above

Early Response to Chlorine Gas

116.  If you mix ammonia with chlorine gas, this compound reacts to form___________.

A.  Chloramine gas	C.  Sulfuric gas

B.  Chlorine gas		D.  None of the Above

## 117.  The early response to the odor threshold for chlorine depends on the (1) concentration of chlorine gas, (2) duration of exposure, (3) water content of the tissues exposed, and (4) individual susceptibility.

## A.  True	B.  False

## Pathological Findings

## 118. Chlorine is a highly reactive gas.

## A.  True	B.  False

## 119.  Chlorine gas is greenish yellow in color and very toxic. It is heavier than air and will therefore sink to the ground if released from its container. It is the toxic effect of Chlorine gas that makes it a good disinfectant, but it is toxic to more than just waterborne pathogens; it is also toxic to humans. It is a respiratory irritant and it can also irritate skin and mucus membranes.

## A.  True	B.  False

## 120.  Chlorine gas is sold as a compressed liquid, which is amber in color. Chlorine, as a solid, is heavier (less dense) than water. If the chlorine liquid is released from its container it will quickly return back to its liquid state.

## A.  True	B.  False

## 121.  Chlorine gas is the most expensive form of chlorine to use. The typical amount of chlorine gas required for water treatment is 1-16 mg/L of water. Different amounts of chlorine gas are used depending on the quality of water that needs to be treated. If the water quality is good, a higher concentration of chlorine gas will be required to disinfect the water if the contact time cannot be increased.

## A.  True	B.  False

Chlorine’s Effectiveness

122.  The effectiveness of chlorination depends on the _______________ of the water, the concentration of the chlorine solution added, the time that chlorine is in contact with the organism, and water quality.

A.  Chlorine residual		C.  Breakpoint

B.  Chlorine demand		D.  None of the above

123.  Chlorine may not be accessible for disinfection because _____________ in the water (like iron, manganese, hydrogen sulfide, and ammonia).

A.  pH increases 					C.  Required contact time

B.  Part of it combines with other chemicals	D.  None of the above

124.  The amount of chlorine required to attain disinfection and that reacts with the other chemicals is the?

A.  Chlorine residual		C.  Free chlorine residual

B.  Chlorine demand		D.  None of the above

125.  Which term is used when disinfection decreases, as the concentration of the chlorine increases?

A.  Breakpoint 	C.  Required contact time

B.  Chlorine level	D.  None of the above

126.  Chlorination is more effective as?

A.  Water temperature increases	C. Water cools down

B.  Chlorine demand increases	D. None of the above

127.  Chlorination becomes more alkaline and is less effective as the?

A.  Water's pH increases		C.  Required contact time is maximized

B.  Water quality increases	D.  None of the above

128.  Chlorination is less effective in?

A.  Clear water		C.  Day time

B.  Cloudy (turbid) water	D.  None of the above

129.  By adding a little more chlorine to what is already sufficient, this action will generally result in ____________that can be measured easily.

A.  pH increases 			C.  Required contact time

B.  A free chlorine residual	D.  None of the above

Potent Germicide

130.  Chlorine disinfectants can lower the level of many disease-causing microorganisms in drinking water to almost immeasurable levels.

A.  True	B.  False

131.  Chlorine is added to drinking water to destroy pathogenic (disease-causing) organisms. It can be applied in several forms: sodium hypochlorite solution, elemental chlorine (chlorine gas)	 and dry calcium hypochlorite.

A.  True	B.  False

Taste and Odor Control

132.  Chlorine disinfectants reduce many disagreeable tastes and odors. Chlorine oxidizes many naturally occurring substances such as____________, sulfides and odors from decaying vegetation.

A.  Hydrogen sulfide			C. Slime bacteria, molds and algae

B.  Foul-smelling algae secretions	D.  None of the above

Biological Growth Control

133.  Chlorine disinfectants eliminate __________that commonly grow in water supply reservoirs, on the walls of water mains and in storage tanks.

A.  Hydrogen sulfide			C. Slime bacteria, molds and algae

B.  Foul-smelling algae secretions	D.  None of the above

Chemical Control

134.  Chlorine disinfectants destroy __________ (which has a rotten egg odor) and remove ammonia and other nitrogenous compounds that have unpleasant tastes and hinder disinfection. They also help to remove iron and manganese from raw water.

A.  Hydrogen sulfide		C. Slime bacteria, molds and algae

B.  Algae secretions		D.  None of the above

Water Treatment

135.  Generally speaking, water is treated to render it suitable for human use and consumption. While the primary goal is to produce a biologically (disinfected) and chemically safe product, other objectives also must be met, including: no objectionable taste or odor; ___________and chemical stability.

A.  Low levels of color and turbidity 	C.  Chemical or biological contamination

B.  Sediments				D.  None of the above

Water Distribution

136.  In the event of a significant intrusion of pathogens resulting, for example, from a broken water main, the level of the average “____________” will be insufficient to disinfect contaminated water. In such cases, it is the monitoring of the sudden drop in the chlorine residual that provides the critical indication to water system operators that there is a source of contamination in the system.

A.  Chlorine residual		C. Breakpoint Chlorination

B.  Potential threats		D.  None of the above

The Challenge of Disinfection Byproducts

137.  Which of the following happens when chlorine and other disinfectants react with natural organic matter in water?

A. Microbial contamination	C.  Chemical compounds formed unintentionally

B. Treatment barrier 		D.  None of the above

Chlorine and Water System Security

138.  With passage of the Public Health Security and Bioterrorism Response Act of 2002, Congress required community water systems to assess their vulnerability to a terrorist attack and other intentional acts. As part of these vulnerability assessments, systems assess?

A. Microbial contamination	C.  The transportation, storage and use of treatment chemicals

B. Cost-effective methods		D.  None of the above

139.  Water systems using elemental chlorine, in particular, must determine whether existing protection systems are adequate. If not, they must consider additional measures to reduce the likelihood of an attack or to mitigate the?

A. Potential consequences	C.  Critical assets

B. Potential threats		D.  None of the above

Chlorination Chemistry

140.  pH and temperature affect the ratio of hypochlorous acid to hypochlorite ions. As the temperature is decreased, the ______________________increases.

A.  CT actual 			C.  Ratio of hypochlorous acid

B.  Free chlorine residual 	D.  None of the above

141.  The disassociation of chlorine gas

(OCl - ): HOCI H + + OCI –  Also expressed  HOCI → H + + OCI –

(hypochlorous acid) (hydrogen) (hypochlorite ion)

A.  True  	B.  False

142.  All three forms of chlorine produce sodium hypochlorite when added to water.

A.  True  	B.  False

143.  Hypochlorous acid is a strong acid but a weak disinfecting agent. The amount of hypochlorous acid depends on the pH and temperature of the water.

A.  True  	B.  False

Types of Residual

144.  Which of the following is a much stronger disinfecting agent, therefore, most water regulating agencies will require that your daily chlorine residual readings be of free chlorine residual?

A. Chlorine demand		C.  Combined chlorine residual

B. Free chlorine residual	D.  None of the above

145.  Which of the following terms is where the chlorine demand has been satisfied, and any additional chlorine will be considered free chlorine?

A. Chlorine residual			C.  Break-point chlorination

B. "CT" disinfection concept		D.  None of the above

146.  Total chlorine residual = free +____________________________.

A. Chlorine demand	C.  Combined chlorine residual

B. Free chlorine	D.  None of the above

147.  In water, there are always other substances (interfering agents) such as iron, manganese, turbidity, etc., which will combine chemically with the chlorine, this is called the?

A. Chlorine demand	C.  Combined chlorine residual

B. Free chlorine	D.  None of the above

148.  According to the text, once chlorine molecules are combined with these interfering agents, they are not capable of disinfection. ______________ is much more effective as a disinfecting agent.

A. Chlorine demand	C.  Combined chlorine residual

B. Free chlorine	D.  None of the above

Residual Concentration/Contact Time (CT) Requirements

149.    Since monitoring for very low levels of pathogens in treated water is analytically very difficult, utilizing the _______________ is recommended to demonstrate satisfactory treatment.

A. Chlorine residual			C.  Break-point chlorination

B. "CT" disinfection concept		D.  None of the above

150.  Which of the following term = Concentration (mg/L) x Time (minutes)

A.  CT		C. TC

B.  #C		D.  None of the above

151.  The effective reduction in pathogens can be calculated by reference to standard tables of required?

A.  CT’s	C. TC

B.  #C		D.  None of the above

Calculation and Reporting of CT Data

152.  You can also calculate and record actual log reductions. Reduction Ratio = CT actual divide by?

A.  Reduction Ratio		C. "CT" disinfection concept

B.  CT required		D.  None of the above

153. This shall be calculated daily, using either the maximum hourly flow and the disinfectant residual at the same time, or by using the lowest CT value if it is calculated more frequently.

A.  Free chlorine		C. "CT" disinfection concept

B.  Disinfection CT values	D.  None of the above

154.  Reduction Ratio should be reported, along with the appropriate pH, temperature, and?

A.  Reduction Ratio		C.  Disinfectant residual

B.  CT actual 			D.  None of the above

155.  Which of the following terms must be greater than 1.0 to be acceptable?

A.  Reduction Ratio		C.  Disinfectant residual

B.  CT actual 			D.  None of the above

Chlorine Review

156.  What term describes the minimum amount of Chlorine needed to react in a water purification system; used as a monitoring measurement by system operators.

A. Chlorine demand		C.  Combined chlorine residual

B. Free chlorine residual	D.  None of the above

157.  Operator may add ________________ to chlorinated public water supplies to provide inorganic chloramines.

A.  Bromine			C.  Ammonia

B.  Organic amines		D.  None of the above

158.  What term describes the concentration of residual chlorine in water present as dissolved gas (Cl2), hypochlorous acid (HOCl), and/or hypochlorite ion (OCl-)?

A.  Chlorine demand		C.  Combined chlorine residual

B.  Free chlorine		D.  None of the above

159.  What term describes the concentration of chlorine in the water after the chlorine demand has been satisfied, the concentration is normally expressed in terms of total chlorine residual, which includes both the free and combined or?

A.  Chlorine demand		C.  Chlorine residual

B.  Free chlorine		D.  None of the above

160.  __________________is defined as the residual chlorine existing in water in chemical combination with ammonia or organic amines that can be found in natural or polluted waters.

A.  Chlorine Residual		C.  Combined Chlorine

B.  Chlorine Demand		D.  None of the above

Calcium Hypochlorite Section

161.   Which of the following substances comes in two forms: powder and tablets?

A.  Calcium hypochlorite		C.  Sodium hypochlorite

B.  Hypochlorous Acid (HOCl)	D.  None of the above

Description

162.  Solid chlorine stands alone as the safest form of chlorine disinfection.

A.  True	B.  False

163.  Solid chlorine requires only minimal safety equipment for handling; users can breathe easy knowing our tablets are safe for both people and the environment.

A.  True	B.  False

Chlorine-Based Disinfectants Chloramines

Chloramine Disadvantages

164.  Which residual in tap water can pass through membranes in dialysis machines and directly induce oxidant damage to red blood cells?

A. Chloramine		C.  Ammonia and chlorine compounds

B. Dichloramine 	D.  None of the above

Chloramine Section

165.   __________________: NH3 + HOCl -> NH2Cl + H2O

A. Free chlorine	C.  Monochloramine

B. Dichloramine 	D.  None of the above

166.  Which of the following terms are formed in the pH range of 4.5 to 8.5, however, monochloramine is most common when the pH is above 8?

A. Trichloramine	C.  Monochloramine and dichloramine

B. Dichloramine 	D.  None of the above

Post Chlorination

167.  Post chlorination is almost always done in water treatment, but can be replaced with chlorine dioxide or chloramines. In this stage, chlorine is fed to the drinking water stream that is then sent to the chlorine contact basin to allow the chlorine a long enough detention time to kill all viruses, bacteria, and protozoa that were not removed and rendered inactive in the prior stages of treatment.

A.  True	B.  False

Understanding Water Disinfection

Wastewater Disinfection

168.  There are several chemicals and processes that will____________, but none are universally applicable as with chlorine.

A. Limit the effects of organic material 	C.  Disinfect wastewater

B. Limit the travel of pathogens		D.  None of the above

Chloride Ion

169.  Which of the following terms is also a useful and reliable chemical indicator of river / groundwater fecal contamination, as chloride is a non-reactive solute and ubiquitous to sewage & potable water?

A.  Chlorate		C.  Chlorine dioxide

B.  Chloride		D.  None of the above

Chlorite Ion

170.  Chlorine can assume an additional oxidation state of +4 is seen in the neutral compound_________, which has a similar structure to chlorite ClO2- and the cation chloryl.

A.  Chlorine dioxide ClO2	C.  Chlorite ion of ClO2-

B.  Chloride			D.  None of the above

Chlorine Dioxide

171.  Chlorine dioxide is a chemical compound with which formula?

A.  CaCl2	C.  ClO2

B.  ClO		D.  None of the above

Haloacetic Acids

172.  What type of substances are haloacetic acids in which a halogen atom takes the place of a hydrogen atom in acetic acid?

A.  Calcemic acids		C.  Carboxylic acids

C.  Hypochlorite acids		D.  None of the above

Chloroform

173.  Chloroform is typically the most prevalent ___________________ measured in chlorinated water, is probably the most thoroughly studied disinfection byproduct.

A.  HAA5		C. Folic Acid

B.  THM 		D.  None of the above

Chloramines

174.  What are chemical compounds formed by combining a specific ratio of chlorine and ammonia in water?

A.  Disinfection byproducts	C.  Trihalomethanes, haloacetic acids, bromate, and chlorite

B.  Chloramines		D.  None of the above

Chlorine Dioxide

175.  Chlorine dioxide (ClO2) represents a compound that may be generated on-site at water treatment facilities.

A.  True	B.  False

176.  Chlorine dioxide characteristics are quite different from _______________. In solution, it is a dissolved gas, which makes it largely unaffected by pH but volatile and relatively easily stripped from solution.

A.  Chlorine			C.  Carbon dioxide

B.  Sodium hypochlorite	D.  None of the above

177.  ______________________is also a strong disinfectant and a selective oxidant. While chlorine dioxide does produce a residual, it is only rarely used for this purpose.

A.  Chlorine dioxide		C.  Carbon dioxide

B.  Sodium hypochlorite	D.  None of the above

Safety and Chlorination Equipment Section

Chlorination Equipment Requirements

178.  Which of the following shall also be located inside the chlorine room?

A.  Gas vacuum line		C.  Mechanical gas proportioning equipment

B.  Vacuum regulators	D.  None of the above

179.  Which of the following shall have positive shutdown in the event of a break in the downstream vacuum lines?

A.  Gas vacuum line			C.  A gas pressure relief system

B.  The vacuum regulating valve(s)	D.  None of the above

Capacity

180.  Which of the following shall have the capacity to dose enough chlorine to overcome the demand and maintain the required concentration of the "free" or "combined" chlorine?

A.  The chlorinator			C.  Constant pre-established dosage

B.  Automatic proportional control	D.  None of the above

Methods of Control

181.  Which of the following shall be automatic proportional controlled, automatic residual controlled, or compound loop controlled?

A.  A chlorine feed system	C.  Constant pre-established dosage

B.  Constant flow rate(s)	D.  None of the above

Standby Provision

182.  As a safeguard against_________________ , standby chlorination equipment having the capacity to replace the largest unit shall be provided.

A.  Uninterrupted chlorination		C.  Malfunction and/or shut-down

B.  Constant flow rate(s)		D.  None of the above

183.  All chlorine cylinders shall be securely positioned to safeguard against movement. Tag the cylinder “empty” and store flat and chained. Ton containers may be stacked.

A.  True	B.  False

184.  Leak detection equipment shall not automatically activate the chlorine room ventilation system in such a manner as to discharge chlorine gas.

A.  True	B.  False

185.  During an emergency, if the chlorine room is occupied, the chlorine gas leakage shall be contained within the chlorine room itself in order to facilitate a proper method of clean-up.

A.  True	B.  False

186.  Consideration should also be given to the provision of caustic soda solution reaction tanks for absorbing the contents of leaking one-ton cylinders where such cylinders are in use.

A.  True	B.  False

Alternative Disinfection Section

Chlorine Dioxide Section

187.  ClO2 generation uses ____________ and chlorine gas.

A.  Sodium chlorite (NaClO2)		C.  Ozone

B.  Hypochlorous acid 		D.  None of the above

Ultraviolet Disinfection

188.  The microorganisms spend maximum time and contact with the outside of the quartz tube and the source of the?

A.  UV rays		C.  Electromagnetic energy

B.  Radiation		D.  None of the above

189. The basic design flow of water of certain UV units is in the order of ___________ for each inch of the lamp, the units are designed so that the contact or retention time of the water in the unit is not less than ______________.

A.  20 gpm - 	15 seconds	C.  2.0 gpm - 	15 seconds

B.  2.0 gpm - 	100 seconds	D.  None of the above

190.  A disinfection process involves exposing water to_________________, which inactivates various microorganisms. The technique has enjoyed increased application in wastewater treatment but very limited application in potable water treatment.

A.  Sterilizer			C.  Ultraviolet (UV) radiation

B.  Electromagnetic energy	D.  None of the above

191.  In UV, quartz is often used in this case since practically none of the UV rays are absorbed by the quartz, ____________________cannot be used since it will absorb the UV rays, leaving little for disinfection.

A.  Carbon	C.  Ordinary glass

C.  Ozone	D.  None of the above

Strongest Oxidizing Agent

192.  Which compound is obtained by passing a flow of air or oxygen between two electrodes that are subjected to an alternating current in the order of 10,000 to 20,000 volts?

A.  Liquid Ozone	C.  O2

B.  Ozone		D.  None of the above

193.  Ozone has a ____________similar to that sometimes noticed during and after heavy electrical storms. In use, ozone breaks down into oxygen and nascent oxygen.

A.  Self-policing pungent odor	C.  Pleasant odor of rain

B.  H2S odor				D.  None of the above

194.  Ozone does not form chloramines or ______________, and while it may destroy some THMs, it may produce others when followed by chlorination.

A.  Carcinogens	C.  Oxygen and nascent oxygen

B.  THMs		D.  None of the above

195.  Ozone falls into the same category as other disinfectants in that it can produce?

A.  Carcinogens	C.  Oxygen and nascent oxygen

B.  DBPs		D.  None of the above

196.  It is the nascent oxygen that produces the high oxidation and disinfections, and even sterilization. Each water has its own_____________, in the order of 0.5 ppm to 5.0 ppm. Contact time, temperature, and pH of the water are factors to be determined.

A.  Nascent oxygen 	C.  Ozone demand

B.  THMs		D.  None of the above

197.  When determining Ozone CT (contact time) values must be determined for the ozone basin alone; an accurate _____________ must be obtained for the contact chamber, and residual levels.

A.  Residual 	C.  Contact time

B.  T10 value	D.  None of the above

198.  Ozone does not provide a system residual and should be used as a primary disinfectant only in conjunction with?

A.  Dry sodium chlorite 	C.  Free and/or combined chlorine

B.  Chlorine dioxide 		D.  None of the above

Alternate Disinfectants Section Summary

Chlorine Dioxide

199.  Which term provides good Giardia and virus protection but its use is limited by the restriction on the maximum residual of 0.5 mg/L ClO2/chlorite/chlorate allowed in finished water?

A.  Chlorinated byproducts	C.  Ammonia residual(s)

B.  Chlorine dioxide 		D.  None of the above

Chloramines

200.  It is recommended that chloramine be used in conjunction with a stronger disinfectant. It is best utilized as a?

A. Chloramine 		C.  Stable distribution system disinfectant

B.  T10 value disinfectant	D.  None of the above

When Finished with Your Assignment

REQUIRED DOCUMENTS

Please scan the Registration Page, Answer Key, Survey and Driver’s License and email it to info@TLCH2O.com.

iPhone

If you are unable to scan, take a photo of these documents with your iPhone and send these photos to TLC, info@TLCH2O.com.

FAX

If you are unable to scan and email, please fax these to TLC, if you fax, call to confirm that we received your paperwork. (928) 468-0675