Registration form

DISTRIBUTION 24 HOURS CEU COURSE
48 HOUR RUSH ORDER PROCESSING FEE ADDITIONAL $50.00

Start and Finish Dates: ____________________________________________________
You will have 90 days from this date in order to complete this course




List number of hours worked on assignment must match State Requirement.  ____________
Name________________________________Signature_______________________________

I have read and understood the disclaimer notice on page 2.  Digitally sign XXX

Address____________________________________________________________________

City____________________________________State_________________Zip___________

Email________________________________________ Fax (_____) ___________________

Phone:


Home (_____) _______________________       Work (_____) ________________________

Operator ID #______________________________________Exp. Date_________________

Class/Grade________________________________________________________________

Please circle/check which certification you are applying the course CEU’s.

Water Distribution ___    Water Treatment ___   Other _______________________________

Technical Learning College   TLC PO Box 3060, Chino Valley, AZ 86323
Toll Free (866) 557-1746    Fax (928) 272-0747   info@tlch2o.com 
If you’ve paid on the Internet, please write your Customer#_______________________

Please invoice me, my PO#__________________________________________________

Please pay with your credit card on our website under Bookstore or Buy Now.  Or call us and provide your credit card information.

We will stop mailing the certificate of completion, so we need either your fax number or e-mail address.  We will e-mail the certificate to you, if no e-mail address; we will fax it to you.  
DISCLAIMER NOTICE AND AFFIDAVIT OF EXAM COMPLETION

Technical Learning College CEU Course Policies

I understand that it is my responsibility to ensure that this Continuing Education Unit (CEU) course is either approved or accepted in my State for CEU credit. I acknowledge that State laws and rules change frequently, and I believe this course is currently accepted in my State for CEU or contact hour credit. If it is not, I will not hold Technical Learning College responsible. Furthermore, I recognize that this type of study program deals with dangerous conditions, and I will not hold Technical Learning College, Technical Learning Consultants, Inc. (TLC), The Love of Christ Bible College liable for any errors, omissions, or advice contained in this CEU education training course, nor for any violation, injury, neglect, or damage caused by this CEU education training, course material suggestion, or error. If I require assistance, I will contact TLC and double-check that my registration page and assignment have been received and graded.

State Approval Information

Please refer to the State Approval Listing Link to verify if your State accepts or has pre-approved this course. Note that not all States or courses are listed. If the course is not accepted for CEU credit, Technical Learning College will provide the course free of charge if you request your State to accept it for credit.

State Approval Listing URL: 

http://www.tlch2o.com/downloads/PDF/CEU%20State%20Approvals.pdf
Course Manual-Printed Version

You may obtain a printed version of the course manual from TLC for an additional $129.95, plus shipping charges.

Affidavit of Exam Completion

I affirm that I personally completed the entire text of the course. I also affirm that I completed the exam without assistance from any outside source. I understand that it is my responsibility to file or maintain my certificate of completion as required by the State or by the designation organization.

Grading Information

To maintain the integrity of our courses, we do not distribute test scores, percentages, or information on questions missed. Our exams are based on pass/fail criteria, with the benchmark for successful completion set at 70%. Once you pass the exam, your record will reflect a successful completion, and a certificate will be issued to you.

Rush Grading Service

If you need your assignment graded and results mailed to you within a 48-hour period, an additional rush service handling fee of $50.00 will apply. Please note that this fee may not cover postage costs. To request this service, write "RUSH" at the top of your Registration Form. We will prioritize your assignment in the grading and processing line.

For security purposes, please fax or e-mail a copy of your driver’s license and always call us to confirm we’ve received your assignment and to confirm your identity. 

CERTIFICATION OF COURSE PROCTOR
If your state requires...Technical Learning College requires that our students who takes a correspondence or home study program course must pass a proctored course reading, quiz and final examination.  The proctor must complete and provide the school a certification form approved by the commission for each examination administered by the proctor.

	Instructions.  When a student completes the course work, fill out the blanks in this section and provide the form to the proctor with the examination.


Name of Course:






 

Name of Licensee:






  

	Instructions to Proctor.  After an examination is administered, complete and return this certification and examination to the school in a sealed exam packet or in pdf format.


I certify that:

1.
I am a disinterested third party in the administration of this examination.  I am not related by blood, marriage or any other relationship to the licensee which would influence me from properly administering the examination.  

2.
The licensee showed me positive photo identification prior to completing the examination.

3.
The enclosed examination was administered under my supervision on 

.  The licensee received no assistance and had no access to books, notes or reference material.

4.
I have not permitted the examination to be compromised, copied, or recorded in any way or by any method.

5.  Provide an estimate of the amount of time the student took to complete the assignment. 

Time to complete the entire course and final exam. _____________________________

Notation of any problem or concerns:

Name and Telephone of Proctor (please print):

Signature of Proctor

Distribution 24 Hours CEU Course Answer Key

Name____________________________________
Phone __________________________________





Did you check with your State agency to ensure this course is accepted for credit?

You are responsible to ensure this course is accepted for credit. No refunds.
Method of Course acceptance confirmation. Please fill this section 

Website __ Telephone Call___ Email____  Spoke to_________________________

Did you receive the approval number, if applicable?  _______________________

What is the course approval number, if applicable?  ________________________

You can electronically complete this assignment in Adobe Acrobat DC.

Please Circle, Bold, Underline or X, one answer per question. A felt tipped pen works best.
1. A B C D 

2. A B C D 

3. A B C D 

4. A B C D 

5. A B C D 

6. A B 

7. A B C D 

8. A B C D 

9. A B C D

10. A B C D 

11. A B 

12. A B C D 

13. A B C D 

14. A B C D 

15. A B 

16. A B C D 

17. A B C D 

18. A B C D 

19. A B C D 

20. A B C D 

21. A B 

22. A B 

23. A B C D 

24. A B C D 

25. A B C D 

26. A B C D 

27. A B C D 

28. A B C D 

29. A B C D 

30. A B C D 

31. A B C D 

32. A B C D

33. A B C D 

34. A B C D 

35. A B C D 

36. A B 

37. A B C D 

38. A B C D 

39. A B C D 

40. A B C D 

41. A B C D 

42. A B C D 

43. A B C D 

44. A B 

45. A B C D 

46. A B C D 

47. A B 

48. A B 

49. A B C D 

50. A B C D 

51. A B C D 

52. A B C D 

53. A B C D 

54. A B C D 

55. A B C D

56. A B C D 

57. A B C D 

58. A B C D 

59. A B C D 

60. A B C D 

61. A B C D 

62. A B C D 

63. A B C D 

64. A B C D 

65. A B C D 

66. A B 

67. A B C D 

68. A B C D 

69. A B C D 

70. A B C D 

71. A B C D 

72. A B C D 

73. A B C D 

74. A B 

75. A B C D 

76. A B C D 

77. A B C D 

78. A B C D

79. A B 

80. A B C D 

81. A B C D 

82. A B C D 

83. A B C D 

84. A B C D 

85. A B C D 

86. A B C D 

87. A B C D 

88. A B C D 

89. A B C D 

90. A B 

91. A B C D 

92. A B 
93. A B C D 

94. A B C D 

95. A B C D 

96. A B C D 

97. A B C D 

98. A B C D 

99. A B C D 

100. A B C D 

101. A B C D

102. A B C D 

103. A B C D 

104. A B C D 

105. A B C D 

106. A B C D 

107. A B C D 

108. A B C D 

109. A B C D 

110. A B C D 

111. A B C D 

112. A B C D 

113. A B 

114. A B C D 

115. A B C D 

116. A B C D 

117. A B C D 

118. A B C D 

119. A B C D 

120. A B C D 

121. A B C D 

122. A B C D 

123. A B 

124. A B C D

125. A B C D 

126. A B C D 

127. A B C D 

128. A B C D 

129. A B C D 

130. A B C D 

131. A B C D 

132. A B C D 

133. A B C D 

134. A B C D 

135. A B C D 

136. A B C D 

137. A B C D 

138. A B 

139.  A B C D 

140. A B C D 

141. A B C D 

142. A B C D 

143. A B C D 

144. A B C D 

145. A B C D 

146. A B C D 

147. A B C D

148. A B C D 

149. A B C D 

150. A B C D 

151. A B C D 

152. A B C D 

153. A B C D 

154. A B C D 

155. A B C D 

156. A B C D 

157. A B C D 

158. A B C D 

159. A B C D 

160. A B C D 

161. A B C D 

162. A B C D 

163. A B C D 

164. A B C D 

165. A B C D 

166. A B C D 

167. A B C D 

168. A B C D 

169. A B C D 

170. A B C D

171. A B C D 

172. A B C D 

173. A B C D 

174. A B 

175. A B 

176. A B C D 

177. A B 

178. A B C D 

179. A B C D 

180. A B C D 

181. A B C D 

182. A B C D 

183. A B C D 

184. A B C D 

185. A B 
186. A B C D 

187. A B C D 

188. A B C D 

189. A B 

190. A B C D 

191. A B C D 

192. A B C D 

193. A B C D

194. A B C D 

195. A B C D 

196. A B C D 

197. A B C D 

198. A B C D 

199. A B C D 

200. A B C D 

201. A B C D 

202. A B C D 

203. A B C D 

204. A B C D 

205. A B C D 

206. A B C D 

207. A B 

208. A B C D 

209. A B C D
210. A B C D 

211. A B C D 

212. A B 

213. A B C D 

214. A B 

215. A B C D 

216. A B 

217. A B C D 

218. A B C D 

219. A B C D 

220. A B C D 

221. A B C D 

222. A B C D 

223. A B C D 

224. A B 

225. A B C D 

226. A B C D 

227. A B C D 

228. A B C D 

229. A B C D 

230. A B C D 

231. A B C D 

232. A B C D 

233. A B 

234. A B C D 

235. A B C D
236. A B C D 

237. A B C D 

238. A B C D 

239. A B C D

240. A B C D 

241. A B C D 

242. A B C D 

243. A B C D 

244. A B C D 

245. A B C D 

246. A B C D 

247. A B C D 

248. A B C D 

249. A B 

250. A B 

251. A B 

252. A B 

253. A B 

254. A B C D 

255. A B C D 

256. A B C D 

257. A B C D 

258. A B C D 

259. A B C D 

260. A B C D 

261. A B C D 

262. A B C D

263. A B C D 

264. A B C D 

265. A B C D 

266. A B C D 

267. A B C D 

268. A B C D 

269. A B C D 

270. A B C D 

271. A B 

272. A B 

273. A B 

274. A B 

275. A B 

276. A B 

277. A B 

278. A B 

279. A B 

280. A B 

281. A B C D 

282. A B C D 

283. A B C D 

284. A B C D 

285. A B C D

286. A B 

287. A B C D 

288. A B C D 

289. A B C D 

290. A B 

291. A B C D 

292. A B 

293. A B C D 

294. A B C D 

295. A B 

296. A B 

297. A B 

298. A B C D 

299. A B C D 

300. A B C D 

301. A B 

302. A B 

303. A B C D 

304. A B C D 

305. A B C D 

306. A B C D 

307. A B 

308. A B 

309. A B C D 

310. A B C D 

311. A B C D 

312. A B C D 

313. A B C D 

314. A B C D 

315. A B C D 

316. A B C D 

317. A B C D 

318. A B C D 

319. A B 

320. A B 

321. A B C D 

322. A B C D 

323. A B C D 

324. A B C D 

325. A B 

326. A B C D 

327. A B 

328. A B 

329. A B 

330. A B 

331. A B C D

332. A B C D 

333. A B 

334. A B 

335. A B 

336. A B 

337. A B C D 

338. A B C D 

339. A B C D 

340. A B C D 

341. A B C D 

342. A B C D 

343. A B C D 

344. A B C D 

345. A B C D 

346. A B C D 

347. A B C D 

348. A B C D 

349. A B C D 

350. A B C D 

351. A B C D 

352. A B C D 

353. A B C D 

354. A B C D

355. A B C D 

356. A B C D 

357. A B C D 

358. A B C D 

359. A B C D 

360. A B C D 

361. A B 

362. A B 

363. A B C D 

364. A B C D 

365. A B C D 

366. A B C D 

367. A B C D 

368. A B C D 

369. A B C D 

370. A B C D 

371. A B 

372. A B C D 

373. A B C D 

374. A B C D 

375. A B 

376. A B C D 

377. A B C D

378. A B 

379. A B C D 

380. A B C D 

381. A B C D 

382. A B C D 

383. A B C D 

384. A B C D 

385. A B C D 

386. A B C D 

387. A B C D 

388. A B 

389. A B C D 

390. A B 

391. A B 

392. A B C D 

393. A B C D 

394. A B C D 

395. A B C D 

396. A B C D 

397. A B C D 

398. A B 

399. A B C D 

400. A B C D

I understand that I am 100 percent responsible for ensuring that TLC receives the Assignment and Registration Key.   I understand that TLC has a zero tolerance towards not following their rules, cheating or hostility towards staff or instructors.  I need to complete the entire assignment for credit.  There is no credit for partial assignment completion.  My exam was proctored. I will contact TLC if I do not hear back from them within 2 days of assignment submission. I will forfeit my purchase costs and will not receive credit or a refund if I do not abide by TLC’s rules.  I will not hold TLC liable for any errors, injury, death or non-compliance with rules.  I will abide with all federal and state rules and rules found on page 2.  

Please Sign that you understand and will abide with TLC’s Rules.

______________________________________________________

Signature

Please write down any questions you could not find the answers or that have errors.  

Please e-mail or fax this survey along with your final exam

DISTRIBUTION 24 HOURS CEU COURSE

CUSTOMER SERVICE RESPONSE CARD

NAME: ___________________________________________________________ 

E-MAIL_______________________________PHONE_______________________

PLEASE COMPLETE THIS FORM BY CIRCLING THE NUMBER OF THE APPROPRIATE ANSWER IN THE AREA BELOW.

Please rate the difficulty of your course.

Very Easy  
0
1
2
3
4
5     Very Difficult

Please rate the difficulty of the testing process.

 Very Easy  
0
1
2
3
4
5     Very Difficult

Please rate the subject matter on the exam to your actual field or work.

Very Similar  
0
1
2
3
4
5     Very Different

How did you hear about this Course? ___________________________________________

What would you do to improve the Course?

_________________________________________________________________________ 

Any other concerns or comments. 

When Finished with Your Assignment

REQUIRED DOCUMENTS

Please scan the Registration Page, Answer Key, Survey and Driver’s License and email it to info@TLCH2O.com.

IPhone Scanning Instructions

If you are unable to scan, take a photo of these documents with your iPhone and send these photos to TLC, info@TLCH2O.com.

FAX

If you are unable to scan and email, please fax these to TLC, if you fax, call to confirm that we received your paperwork. (928) 468-0675

Rush Grading Service

If you need this assignment graded and the results mailed to you within a 48-hour period, prepare to pay an additional rush service handling fee of $50.00.  

This course contains general EPA’s SDWA federal rule requirements.  Please be aware that each state implements water / sampling procedures/ safety / environmental / SDWA regulations that may be more stringent than EPA’s regulations.  Check with your state environmental/health agency for more information. These rules change frequently and are often difficult to interpret and follow. Be careful to be in compliance with your regulatory agencies and do not follow this course for any compliance concerns. 

Distribution 24 Hours CEU Training Course Assignment

The Distribution 24 Hours CEU course assignment is available in Word on the Internet for your convenience, please visit www.ABCTLC.com and download the assignment and e-mail it back to TLC.  

You will have 90 days from receipt of this manual to complete it in order to receive your Professional Development Hours (PDHs) or Continuing Education Unit (CEU).  A score of 70 % or better is necessary to pass this course.  If you should need any assistance, please email or fax all concerns and the completed ANSWER KEY to info@tlch2o.com. 

Select one answer per question.  Please utilize the answer key.  (s) on the answer will indicate either plural or singular tenses.  

Hyperlink to the Glossary and Appendix

http://www.abctlc.com/downloads/PDF/WTGlossary.pdf

Water Distribution Section



Water Pressure

1.  20 psi is the minimum pressure required at any point in the water system, so that ____________________ is prevented.

A.  Cavitation

C.   Backflow and infiltration
B.  Back pressure
D.   None of the above
2.  Which of the following is provided by the direct force of the water, or by the height of the water? 

A.  Pressure

C.   Maximum daily use
B.  System integrity
D.   None of the above
Groundwater Treatment/Production System Section 

Groundwater and Wells

3.  When toxic substances are spilled or dumped near a well, these can leach into _____________________and contaminate the groundwater drawn from that well.
A.  Karst

C.  Soil moisture

B.  Aquifer

D.  None of the above
4.  Limestone is often located in which of the following?   

A.  Unconfined aquifer(s)
C.  Fractured aquifer(s)

B.  Soil moisture

D.  None of the above

5.  Which of the following may move in different directions below the ground than the water flowing on the surface? 

A.  Water table
C. Soil moisture

B.  Groundwater
D.  None of the above

6.  Unconfined aquifers are those that are bound by the water table. Some aquifers lie beneath layers of impermeable materials. 

A.  True

B.  False

7.  Which of the following flows slowly through water-bearing formations at different rates?

A.  Groundwater
C. Soil moisture

B.  Drinking water
D.  None of the above
8.  The level below which all the spaces in the ground are filled with water is called the? 

A.  Unconfined aquifer(s)
C.  Well(s)

B.  Water table

D.  None of the above
9.  The area above the water table lies the? 

A.  Unsaturated zone

C.  Saturated zone

B.  Karst


D.  None of the above
Cone of Depression 

10.  When a water well is installed in ________________, water moves from the aquifer into the well through small holes or slits in the well casing or, in some types of wells, through the open bottom of the well?

A.  Confined aquifer

C.  Water table

B.  An unconfined aquifer
D.  None of the above
Where Is Ground Water Stored?

11.  There are two types of aquifers: confined and unconfined. 

A.  True
B.  False

12.  Which of the following are frequently found at greater depths than unconfined aquifers? 

A.  Confined aquifer(s)
C.  Water table

B.  Unconfined aquifer(s)
D.  None of the above
Does Groundwater Move?

13.  Groundwater can move sideways as well as up or down. This movement is in response to gravity, differences in elevation, and?

A.  Permeable zones


C. Saturated zone

B.  Differences in pressure

D.  None of the above
14.  Groundwater can move even more quickly in karst aquifers, which are areas in ______________________ and similar rocks where fractures or cracks have been widened by the action of the ground water to form sinkholes, tunnels, or even caves?

A. Karst aquifer(s

C.  Water soluble limestone
B. Saturated zone

D.  None of the above
Groundwater Quality

15.  The layers of soil and particles of sand, gravel, crushed rocks, and larger rocks were thought to act as filters, trapping contaminants before they could reach the ground water. 

A.  True
B.  False

16. It is known that some contaminants can pass through filtering layers into __________________ to contaminate ground water.

A.  Permeable zones

C.  Saturated zone
B.  Unsaturated zone

D.  None of the above
What Kinds of Substances Can Contaminate Groundwater, and Where Do They Come from?

17.  Substances that can pollute _________________ can be divided into two basic categories: substances that occur naturally and substances produced or introduced by man's activities. 

A.  Synthetic organic chemical(s)
C.  Permeable zones 

B.  Groundwater


D.  None of the above
Abandoned Wells

18.  If which of the following if abandoned without being properly sealed, it can act as a direct channel for contaminants to reach ground water?

A.  A well



C.  Supplies of clean ground water


B.  Alternative sources of water
D.  None of the above
What Can Be Done After Contamination Has Occurred?

19.  Rehabilitate the _______________ by either restaining or detoxifying the contaminants while they are still in the aquifer. 

A.   Aquifer     

C.  Supplies of clean ground water

B.   Contamination
D.  None of the above
Water Use or Demand

20.  Which of the following is highly desired and represents a rather significant demand upon the system?

A.  Fire protection

C. Surge protection

B.  Cavitation protection
D. None of the above

21.  A common design usage assumption is to plan for the usage of 100 to 150 gallons per person per day for average domestic use. 

A.  True
B.  False

22.  The quantity of water used in any community varies from 100 to 200 gallons per person per day.

A.  True
B.  False

23.  Which of the following is usually encountered during the summer months and can vary widely depending on irrigation practices?

A.  Maximum daily use

C. Unavoidable loss and waste

B.  Minimum daily use

  
D. None of the above
Nature of the Aquifer

24.  Which of the following terms has a low-permeability geologic formation as its upper boundary?

A.  Hydraulic head

C.  A confined aquifer
B.  Water table

D.  None of the above
25.  An unconfined aquifer has the ______________ as its upper surface; there are no significant low-permeability layers between the water table and the surface.
A.  Hydraulic head

C.  Permeability area
B.  Water table

D.  None of the above
26.  According to the text, the top of the aquifer, can rise or fall depending on water use and amount of recharge to the aquifer and is called?

A.  Hydraulic head

C.  Permeability zone
B.  Water table

D.  None of the above
Hydraulic Head (h)

27.  Which of the following has units of feet, and generally parallels to the elevation of water in the well? 

A.  Hydraulic head

C.  Permeability zone
B.  Water table

D.  None of the above
Permeability of the Aquifer (K)

28.  Which of the following ____________________ or the permeability of the aquifer is a measure of how fast ground water can move through the aquifer? 

A.  Hydraulic head

C.  Storage coefficient of the aquifer

B.  Hydraulic conductivity
D.  None of the above
29.  Which of the following terms has units of distance/time, e.g., feet/day, although it does not represent an actual speed?

A.  Hydraulic head

C.  Storage coefficient of the aquifer

B.  Hydraulic conductivity
D.  None of the above
In What Direction Is Groundwater Flowing?

30.  The direction of groundwater flow is from higher to lower?

A.  Hydraulic head

C.  Storage coefficient of the aquifer

B.  Hydraulic conductivity
D.  None of the above
What Is the Drawdown Associated with Pumping of a Well?

31.  There is a relationship between the pumping rate of the well, the transmissivity of the aquifer, the distance between wells, _____________, and the duration of the pumping event.

A.  Hydraulic head

C.  Storage coefficient of the aquifer

B.  Hydraulic conductivity
D.  None of the above
Depth to First Water-Bearing Zone

32.  Some report the depth at which water is first encountered in? 

A.  The drill hole

C.  Recharge and discharge zone(s)

B.  Static water level (SWL)
D.  None of the above
Static Water Level

33.  Which of the following is a better gauge that a different aquifer has been encountered than the lithologic description? 

A.  Water-bearing zone(s)

C.  Recharge and discharge zone(s)

B.  SWL



D.  None of the above
34. Which of the following have important effects in groundwater protection and identifying the relation between area groundwater and local streams?

A.  Water-bearing zone(s)

C.  Recharge and discharge zone(s)

B.  SWL



D.  None of the above

Water-Bearing Zones

35.  Arriving at accurate approximations of aquifer parameters or calculating ground water velocity requires us to know the thickness of the?

A.  Water-bearing zone(s)

C.  Recharge and discharge zone(s)

B.  SWL



D.  None of the above

Lithologic Log

36. The well log portion of the well report describes what the driller encountered in the subsurface.

A.  True
B.  False

Contributions of Well Constructors to Hydrogeology
37.  Well constructors can provide important inputs to science by making careful observations and measurements when recording that data on the?

A.  Static report


C.  Local report

B.  Well report



D.  None of the above
How Wells Are Drilled

38.  Drilling fluids are often used during drilling to keep the drill bit sharp while drilling is done. 

A.  True
B.  False

Basic Rotary Drilling Methods

39.  Rotary drilling uses two methods that include: direct and reverse mud rotary, direct air rotary, and?

A.  Advanced methods
C.  Drill through casing driver methods
B.  Typical drilling fluid(s) 
D.  None of the above
The Rotary Drill String

40.  Which of the following or stabilizer is typically very heavy and is often gauged close to the diameter of the bit being used?   

A.  The drill collar
C.  Shock absorber 

B.  Drag bit(s)

D.  None of the above

41.  Which of the following aids in maintaining a consistent borehole diameter and primarily helps to prevent borehole deviation?  

A.  The drill collar
C.  Shock absorber 

B.  Drag bit(s)

D.  None of the above

42.  Several types of bits may be used, such as drag bits or?

A.  Flighting

C.  Roller bits

B.  Plug

D.   None of the above

43.  Which of the following are bits that can be utilized to enlarge, straighten, or clean an existing borehole?  

A.  Roller button bits

C.  Reamers
B.  The Kelly


D.  None of the above
Direct Rotary Method

44.  Direct rotary drilling methods utilize a rotating bit at the end of a drilling string with drilling fluid that is circulated from the rig through the drill pipe and jets in the bit.  

A.  True
B.  False 

45. Large drill rigs may utilize this term that separate the cuttings from the drilling fluid before a pickup pump recirculates the drilling fluid back down the borehole, where the process is then repeated.  

A.  The drilling fluid

C.  The cutting’s containment systems

B.  The rig’s mud pump
D.   None of the above

46.  Mud pits may be dug into the ground adjacent to the rig in order to contain and settle out cuttings from this missing term before recirculating.  

A.  The flighting

C.  The drilling fluid

B.  The borehole

D.   None of the above
Direct Mud Rotary Method

47.  Mud is circulated down the drill string and through the bit at the bottom of the borehole and the mud then carries the cuttings generated by the bit up to the surface and into the mud recirculating system.  

A.  True
B.  False

Air Rotary Method

48.  Air rotary methods utilize compressed water and derived rock cuttings as the drilling fluid. 

A.  True

B.  False

49. ____________________ in hard rock or consolidated formations, may be used when drilling pressures are too high or borehole sizes are too large for the efficient operation of an air hammer.  

A.  The air rotary method
C.  The hammer bit
B.  A roller button bit

D.  None of the above

Drill through Casing Driver Method

50.  Which of the following penetrates into the overburden or formation, the casing driver hammers the casing down, following the drill string?   

A.  The drill string


C. The casing driver method

B.  The cutting shoe


D.  None of the above

51.  Which of the following may employ a hammer or roller bit?  

A.  The flighting

C.  The drill string

B.  The plug


D.   None of the above
Auger Boring Methods

52.  Auger boring methods make use of __________________, which may be attached to a pilot bit and cutter head.  

A.  Auger boring method(s)

C. A rotating blade or spiral flange
B.  The casing driver method

D.  None of the above

Solid Stem Auger Method 

53.  Which of the following terms method uses a spiral flanged drill pipe driven by either a kelly or rotary drive head, like those used on rotary rigs?  

A.  Augers



C.  The solid stem auger boring method 

B.  Split spoon type sampler(s)
D.  None of the above

What is a Significant Deficiency?

54.  Significant deficiencies cause, or have the potential to cause, the introduction of contamination into water delivered to customers include defects in design, operation, or maintenance of? 

A.  Well screen
C. The source, treatment or distribution systems
B.  The aquifer
D.   None of the above
Selecting an Appropriate Well Site

55.  Which of the following should be at a lower elevation than the well, and the distances to those contamination sources must be in accordance with the State or Local Water Well Construction Codes?  

A.  Surface drainage(s)


C.  All possible sources of contamination

B.  Preliminary aquifer parameters  

D.   None of the above
Common Well Construction Specifications

56.  Which of the following should always be located and constructed in such a manner that they yield safe water at all times and under all conditions?  

A.  Water wells
C.  A pumping test
B.  The aquifer
D.   None of the above
Choice of Casing 

57.  As with casing, the choice of well screen is as important as its placement, the size of the openings in the casing are dependent on the grain size of the filter or?

A. The anticipated flow rate

C. Gravel pack
B. The well



D.   None of the above
Selecting an Optimum Pumping Rate

58.  Specific capacities for each of the pumping steps are compared.  The highest Sc observed is normally associated with?

A. The anticipated flow rate

C. The optimum pumping rate
B. The well



D.   None of the above
Water Storage Introduction

59.  Which of the following prevents contamination of water as it travels to the customer, finished water storage facilities are an important component of the protective distribution system?

A.  Cathodic protection
C.  Barrier
B.  Corrosion protection
D.  None of the above  

Storage and Distribution

60.  Proper construction is important in maintaining system integrity and the distribution system must also protect? 

A.  Cathodic security

C.  Water quality
B.  Corrosion


D.  None of the above  

Water Storage Facilities 

61. Water storage facilities and tanks vary in different types that are used in the water distribution systems, such as standpipes, elevated tanks and reservoirs, hydropneumatic tanks and?

A.  Surge tanks


C.  Storage reservoirs

B.  Water distribution systems 
D.  None of the above  

62.  Which of the following can be converted to pressure potential energy or kinetic energy for delivery to homes?

A.  Hydrostatic
 power

C.  Hydraulic power
B.  Stored energy

D.  None of the above  

Storage Reservoirs

63.  The text recommends that _____________ be located at a high enough elevation to allow the water to flow by gravity to the distribution system. 

A.  Storage reservoirs


C.  Tree systems
B.  Levelers


 
D.  None of the above  

Pump and Motor Section  

Common Hydraulic Terms

64.  Which of the following definitions is the pressure in a fluid at rest?

A.  Head, Friction 
C.  Head 


B.  Pressure, Static
D.  None of the above

65.  Which of the following definitions is the height of a column or body of fluid above a given point?

A.  Head, Friction 
C.  Head 


B.  Head, Static 
D.  None of the above

66.  Sea level pressure is approximately 2.31 pounds per square inch absolute, 1 bar = .433psi.

A.  True
B.  False
67.  Which of the following definitions is the force per unit area, usually expressed in pounds per square inch?

A.  Pressure, Absolute
C.  Pressure, Gauge

B.  Pressure


D.  None of the above

68.  Which of the following definitions is the pressure differential above or below ambient atmospheric pressure?

A.  Pressure, Absolute
C.  Pressure, Gauge

B.  Pressure


D.  None of the above

69.  Which of the following definitions is height of a column or body of fluid above a given point expressed in linear units? 

A.  Head, Friction 
C.  Head 


B.  Head, Static 
D.  None of the above

70.  Which of the following definitions is engineering science pertaining to liquid pressure and flow?

A.  Hydraulics

C.  Hydrokinetics

B.  Hydrology

D.  None of the above

Pumps

71. According to the text, the force pump has ___________________in the cylinder, one for supply and the other for delivery. 

A.  Two check valves

C.  Rotors

B.  Diaphragms 

D.  None of the above

72.  In a positive displacement pump, supply valve opens when the cylinder  __________, the delivery valve when the cylinder volume decreases. 

A.  Volume increases

C.  Air space increases

B.  Volume decreases

D.  None of the above

73.  Pumps are excellent examples of? 

A.  Hydrostatics 


C.  Multi-stage pumps

B.  Quasi-static devices

D.  None of the above

74. Positive displacement pumps have a piston (or equivalent) moving in a closely fitting cylinder and forces are exerted on the fluid by motion of the piston. 

A.  True
B.  False

75.  More complicated pumps have valves check valves that open to allow _________, and close automatically to prevent reverse flow. 

A.  Pistons 

C.  Passage in one direction

B.  Diaphragms
D.  None of the above

Pump Categories

76.  The key to understanding a pump’s operation is that a pump is to move water and generate the ___________ , we call pressure. 

A.  Delivery force

C.  Diaphragm pressure

B.  Impeller force

D.  None of the above

77.  With a centrifugal pump the pressure is not referred to in pounds per square inch but rather as the equivalent in elevation, called?

A.  Inward force 

C.  Delivery force


B.  Head


D.  None of the above

Basic Water Pump

78.  The centrifugal pumps work by spinning water around in a circle inside a?

A.  Vortex
 
C.  Cylindrical pump housing

B.  Cylinder

D.   None of the above

79.  As the water slows down and its kinetic energy decreases, that water's pressure potential energy increases. 

A.  True
B.  False

80.  In a centrifugal pump, the inward force is provided by high-pressure water near the outer edge of the?

A.  Pump housing 
C.  Base

B.  Impeller blade(s)
D.  None of the above

81.  In the operation of the pump, the water at the edge of the _____________ inward on the water between the impeller blades and makes it possible for that water to travel in a circle. 

A.  Inward force 

C.  Center of the impeller

B.  Pump pushes

D.  None of the above

Venturi (Bernoulli's law): 

82.  The area of the restriction in a venture will have a _______________than the enlarged area ahead of it. 

A.  Inward force 
C.  Higher pressure

B.  Lower pressure
D.  None of the above

83.  Which of the following best describes a pump whose impeller has no vanes but relies on fluid contact with a flat rotating plate turning at high speed to move the liquid?

A.  Submersible
C.  Viscous drag pump

B.  Blower

D.  None of the above

Types of Water Pumps

84.  The size and number of stages, horsepower of the motor and _____________are the key components relating to the pump’s lifting capacity.  

A.  Pumping head

C.  Horsepower

B.  Atmospheric pressure
D.  None of the above 

85.  Which of the following terms are variable displacement pumps that are by far used the most?  

A.  Axial flow
 

C.  Turbine pumps

B.  Centrifugal pumps

D.  None of the above

86.  The most common type of water pumps used for municipal and domestic water supplies are?  

A.  Axial flow
 


C.  Rotary pumps


B.  Variable displacement pumps
D.  None of the above

87. Which of the following will produce at different rates relative to the amount of pressure or lift the pump is working against? 

A.  Pump’s lifting capacity
C.  Variable displacement pump

B.  Atmospheric pressure
D.   None of the above 

88.  Impellers are rotated by the pump motor, which provides the ______________ needed to overcome the pumping head.   

A.  Pump’s lifting capacity
C.  Horsepower

B.  Atmospheric pressure
D.  None of the above 

89.  According to the text, the turbine pump utilizes impellers enclosed in single or multiple bowls or stages to?  

A.  Pump head
C.  Horsepower

B.  Lift water

D.  None of the above 

90.  Vertical turbine pumps are commonly used in groundwater wells.   These pumps are driven by a shaft rotated by a motor on the surface.  

A.  True
B.  False

91.  The shaft turns the impellers within the pump housing while the?  

A.  Desired pumping rate is obtained

C.  Water moves up the column

B.  Horsepower turns the shaft

D.  None of the above

92.  The rotating shaft in a line shaft turbine is actually housed within the column pipe that delivers the water to the surface.   

A.  True
B.  False

93.  The size of the ________________are selected based on the desired pumping rate and lift requirements.  

A.  Impeller(s)

C.  Column, impeller, and bowls

B.  Lantern ring 
D.  None of the above

94.  Which of the following terms, provide both a seal at the column pipe joints and keep the shaft aligned within the column?  

A.  Column pipe
C.  Lantern ring

B.  Spider bearings
D.  None of the above 

95.  The oil tube is suspended within the column by_____________, while the line shaft is supported within the oil tube by brass or redwood bearings.   

A.  Column pipe
C.  Spider flanges

B.  Spider bearings
D.  None of the above 

96.  A continuous supply of _____________ lubricates the drive shaft as it proceeds downward through the oil tube.  

A.  Grease  
C.  Water

B.  Oil

D.  None of the above

There are three main types of diaphragm pumps:

97.  In the first type, the _______________with one side in the fluid to be pumped, and the other in air or hydraulic fluid. 

A.  Vapor bubbles 

C.  Diaphragm is sealed

B.  Chamber pressure 
D.  None of the above 

98.  A pair of _______________prevents reverse flow of the fluid. 

A.  Return valves

C.  Non-return check valves

B.  Diaphragms 

D.  None of the above

99.  Which of the following moving up once again draws fluid into the Chamber, completing the cycle?

A.  Spring

C.  Time delay or ratchet assembly

B.  Diaphragm 
D.  None of the above

Safety Section 
Confined space:

100.  A confined space is large enough or so configured that an employee can ________________.

A.  Have sufficient oxygen


C.  Recognize serious safety or health hazards

B.  Bodily enter and perform work

D.   None of the above
101.  A confined space has limited or restricted means for _____________________.

A.  An internal configuration 

C.  Hazardous atmosphere
B.  Entry or exit


D.  None of the above
102.  A confined space is not designed for ______________________.

A.  An internal configuration

C.  Continuous employee occupancy 

B.  Hazardous atmospheres

D.  None of the above
103.  
A permit required confined space (permit space) contains or has a potential to contain a ____________________.

A.  Recognized external configuration 
C.  Entry or exit

B.  Hazardous atmosphere


D.  None of the above 

104.  A permit required confined space (permit space) contains a material that has __________________.

A. Non-authorized entrants

C. The potential for engulfing an entrant
B. Non-hazardous atmospheres
D.  None of the above
Confined Space Hazards

105.   Workers encounter both inherent and _______________ within confined workspaces.

A.  An internal configuration 

C. Hazardous atmosphere   
B.  Induced hazards


D.  None of the above 

Inherent Hazards

106.  
______________ are associated with specific types of equipment and the interactions among them.  These hazards can be electrical, thermal, chemical, mechanical, etc.

A.  Inherent hazards


C.  Recognized serious safety or health hazards

B.  Hazardous atmospheres

D.  None of the above
Induced Hazards

107. 
Some examples of induced hazards are: omission of protective features, physical arrangements that may cause unintentional worker contact with electrical energy sources, oxygen-deficient atmospheres created at the bottom of pits or shafts, lack of safety factors in structural strength, and ______________________.

A.  Common confined spaces

C.  Extreme temperatures 

B. Flammable atmospheres

D.  None of the above
Typical Examples of Confined Workspaces 

108.  
Confined workspaces in construction contain _____________________.

A.  Purging agents 


C.  Both inherent and induced hazards

B.  Below-grade location

D.  None of the above
Vaults

109.
Workers must enter ________________ found on the construction jobsite to perform a number of functions.

A.  Common confined spaces

C.  A variety of vaults
B.  Hazards



D.  None of the above
Oxygen-Deficient Atmosphere

110.
The ever-present possibility of ______________________ is one of the major problems confronting construction workers while working in vaults.

A.  A common confined space
C.  An oxygen-deficient atmosphere 

B.  Vaults



D.  None of the above
Explosive or Toxic Gases, Vapors, or Fumes

111.
__________________ produce toxic fumes which are confined in the limited atmosphere of a confined space.

A.  Purging agents 


C.  Welding and soldering

B.  Below-grade locations

D.  None of the above
Electrical Shock

112.
________________ results because the contractor has not provided an approved grounding system or the protection afforded by ground-fault circuit interrupters or low-voltage systems.

A.  Common confined space

C.  An oxygen-deficient atmosphere 

B.  Electrical shock


D.  None of the above
Purging

113.
Purging agents such as nitrogen and argon may enter a vault from adjacent areas. These agents may displace the oxygen in the vault and asphyxiate workers almost immediately.

A.  True
B.  False

Materials Falling In and On

114.
According to the text, a _______________ normally considered a problem associated with confined spaces is material or equipment which may fall into the vault.

A.  Common confined space

C.  Oxygen-deficient atmosphere 

B.  Hazard



D.  None of the above
Condenser Pits

115.  
Because of their large size, condenser pits found in the construction of nuclear power plants are often overlooked as _____________________.

A.  Common confined spaces

C. Potentially hazardous confined spaces 

B.  Hazards



D.    None of the above
Manholes

116.
Manholes are necessary to provide a means of entry into and exit from vaults, tanks, and pits, but these confined spaces may present _________________ which could cause injuries and fatalities. 
A.  Serious hazards

C.  Sumps

B.  Ventilation ducts

D.  None of the above
Pipe Assemblies

117.
Pipes have ____________________ which provide little room for the workers to move about and gain any degree of comfort while performing their tasks.

A.  Nitrogen purge or dry air 

C. Generally restricted dimensions
B.  Collection places


D.  None of the above
Ventilation Ducts

118.
Ventilation ducts create a ________________ which moves heated and cooled air and exhaust fumes to desired locations in the plant. 

A.  Collection place


C.  Shortcut to other areas

B.  Complex network


D.  None of the above
Tanks

119.
Tanks are ______________________ that are used for a variety of purposes, including the storage of water and chemicals.

A.  Nitrogen purge locations

C.  Another type of confined workspace

B.  Collection places


D.  None of the above
Sumps

120.
Workers may encounter __________________ when entering sumps. 

A. Nitrogen purge or dry air 

C. An oxygen-deficient atmosphere

B.  Problems with pumps

D.  None of the above
Containment Cavities

121.
Welding and other gases may easily collect in containment cavities, creating ___________________.

A.  Toxic atmospheres

C.  Confined workspaces
B.  Poor ventilation


D.  None of the above
Electrical Transformers

122.
Before electrical transformers are opened, they must be ________________ by pumping in air.

A.  Nitrogen purged


C.  Well vented

B.  Collection places


D.  None of the above
Unusual Conditions

Confined Space within a Confined Space
123.
One of the most hazardous confined spaces of all is a confined space within a confined space.

A.  True

B. False

Hazards in One Space Entering another Space

124.
According to the text, during an examination of ________________, situations are often encountered which are not always easy to evaluate or control. 

A.  Tanks 



C.  Confined spaces in construction
B.  Excavations


D.  None of the above
125.  
A room that classifies as a confined space may be relatively safe for work.  However, access passages from other areas outside or adjacent to the room could at some point, allow the transfer of ___________________ into the "safe" room.  

A.  Hazardous agents



C.  Unauthorized workers

B.  Equipment and tools


D.  None of the above
126.
Welding fumes and other _____________ generated in one room may easily travel through a pipe into another area, causing that area to change from a safe to an unsafe workplace. 

A.  Toxic materials


C.  Noise

B.  Construction debris

D.  None of the above
127.
In a situation where hazards in one space may enter another, a serious problem is that workers working in the "safe" area are not aware of the ____________________.

A.  Oxygen Level


C.  Hazards leaking into their area
B.  Access passages


D.  None of the above
Permitted Confined Space Entry Program

128.
Subpart P (of OSHA’s Construction Regulations – refer to page 60) applies to all ____________ in the earth's surface.

A.  Open excavations

C.  Pits

B.  Vaults


D.  None of the above
129.
According to the text, all trenches are _____________.

A.  Too narrow for work

C.  Safe for short-term work

B.  Excavations


D.  None of the above
Irritant (Corrosive) Atmospheres

130.
Chlorine, ozone, hydrochloric acid, hydrofluoric acid, sulfuric acid, nitrogen dioxide, ammonia, and sulfur dioxide are examples of _________________.

A.  Primary irritants


C.  Detector responses

B.  Combustible gases

D.  None of the above
131.
_________________ may produce systemic toxic effects in addition to surface irritation.

A.  A secondary irritant


C.  Corrosive atmospheres

B.  Evaluation of all serious hazards

D.  None of the above
Oxygen Deprivation 

132.
Oxygen deprivation is a form of ______________.

A.  Oxygen deprivation
C.  Combustion

B. Asphyxiation

D.  None of the above
133.
Nausea, vomiting, _________________, and unconsciousness are the physiological effects that occur when oxygen level is between 6-10%. Less than 6%, the effects are spasmodic breathing, convulsive movements, and death in minutes.

A.  Oxygen deprivation

C.  Inability to perform
B.  Problems



D.  None of the above
Excavation and Trenching Section

134.
The performance criteria in the new standard provides employers with options when classifying soil and when selecting methods to protect the _____________ from cave-ins.

A.  Competent person 
C.  Construction equipment

B.  Employee


D.  None of the above

135.
Although employers have options when meeting some of the requirements, __________ must realize that the employee must be protected at all times.

A.  Competent persons 
C.  Contractors

B.  Employers


D.  None of the above

136.  According to the text, the _____________________ was revised because excavating is the most dangerous of all construction operations. 

A.  Competent rule


C.  Emergency rule

B.  OSHA excavation standard
D.  None of the above
137.
OSHA also revised the __________________ to clarify the requirements.

A.  Competent rule


C.  Protective equipment standard

B.  Existing standard


D.  None of the above
138.
Professional engineers will be required in some situations to plan or design the excavation and/or method of protecting the worker.

A.  True
B.  False

Competent Person

139.
Competent person means one who is capable of identifying existing hazards in the surroundings or working conditions which are unsanitary, hazardous, or dangerous to employees. The __________________ has authorization to take prompt corrective measures to eliminate identified hazards.

A.  Competent person 

C.  Watchman

B.  Contractor



D.  None of the above
140.
A _______________ must have specific training in and be knowledgeable about soils analysis, the use of protective systems and the requirements of 29 CFR Part 1926.650-652 Subpart P.

A.  Competent person 

C.  Watchman

B.  Contractor 



D.  None of the above
141.
Everyone is required to practice _____________________ one a year. 

A.  Competent person training
C.  Emergency procedures
B.  Rescue training exercises

D.  None of the above
Competent Person Duties

142.
The competent person performs daily inspections of the protective equipment, ________________, safety equipment, and adjacent areas.  

A.  Work progress


C.  Trench conditions

B.  Construction Crew


D.  None of the above
143.
The competent person shall make ______________ prior to the start of work and as needed throughout the shift. 

A.  Personnel assignments

C.  Inspections
B.  Training available


D.  None of the above
Scope of Work

144.
According to the text, during excavation work a competent person shall be on the job site at all times when personnel are working within or around the _____________.

A.  Competent person 

C.  Excavation


B.  Contractors


D.  None of the above
145.
When excavations are made in vehicular traffic areas, _______________ shall wear a warning vest made with reflective material or highly visibility material.

A.  Competent persons

C.  Rescue personnel

B.  Each employee


D.  None of the above
146.
The air shall be tested in excavations where __________________ exist, or could be reasonably expected to exist.

A.  Limited visibilities


C.  Oxygen deficiency or gaseous conditions
B.  Employees



D.  None of the above
147.
When the atmosphere contains less than 19.5 percent oxygen, the area must be continuously ventilated until the _____________________.

A.  Excavation is closed

C.  Oxygen levels are above 19.5 percent

B.  Employees enter the space
D.  None of the above
148.
Where a _____________________, the area shall be ventilated until the flammable gas concentration is below 20 percent of the LFL (lower flammable limit).

A.  Competent person requires monitoring
C.  Worker encounters fumes
B.  Gaseous condition exists


D.  None of the above
149.
Whenever ___________________ exist or could reasonably exist, the air must be monitored continuously to assure that workers are protected.

A.  Traffic conditions



C.  Oxygen deficiency or gaseous conditions
B.  Excavations



D.  None of the above
150.
Where the stability of adjoining buildings, walls or other structures are ______________, shoring, bracing, or underpinning shall be provided to ensure the stability of such structures for the protection of employees.

A.  Not a concern



C.  Endangered by excavation operations
B.  Not mentioned in the specifications
D.  None of the above
151.
In situations where sidewalks, pavement and appurtenant structures may be undermined, a support system such as shoring must be provided to protect ____________ from the possible collapse of such structures.

A.  Unauthorized persons

C.  Vehicles

B.  Employees



D.  None of the above
Personnel Protective Systems

152.
According to the text, employees in _______________ shall be protected from cave-ins by an adequate protective system, which shall be inspected by a competent person.

A.  Excavations


C.  Protective systems

B.  Vehicles



D.  None of the above
153.
The use of ________________ is required for all excavations deeper than five (5') feet, except when excavation is within stable rock.

A.  Tables 



C.  Protective systems
B.  Tabulated data


D.  None of the above
154.
Requirements for sloping, benching or protective systems are found in ______________. 

A.  Safety Manuals

C.  CFR 1926.652 (OSHA Construction Standards)

B.  Tabulated data

D.  None of the above
155.
Whenever support systems, _________________, or other protective systems are being used, a written copy of the manufacturer's specifications, recommendations, and limitations sheet shall be available at the job site.

A.  Shield systems


C.  Ramps

B.  Tabulated data


D.  None of the above
Excavation Protection Systems

156.
There are three basic protective systems for excavations and trenches. They are sloping and benching systems, _____________, and shields.

A.  Shoring


C.  Attendants

B.  Ramps


D.  None of the above
157.
Every employee in an excavation or trench shall be protected from _______________ by an adequate protective system.

A.  Unauthorized persons
C.  Polluted air

B.  Cave-ins


D.  None of the above
Sloping and Benching Systems


158.
An option for sloping is to slope to the angle required by OSHA Construction Standards for Type C, which is the most _______________.

A.  Unstable soil type


C.  Porous soil type

B.  Stable soil type


D.  None of the above
159.
Another option for sloping is to first determine the soil type, then use the table provided in Appendix B of the standard to determine the _______________________. 

A.  Maximum allowable angle

C.  Protective system to be used

B.  Porosity



D.  None of the above
160.
Another option for sloping is to utilize _______________ prepared by a registered professional engineer. 

A.  Instructions

C.  Standards



B.  Tabulated data

D.  None of the above
161.
According to the text, a registered professional engineer can design a _______________ for a specific job. 

A.  Table 

C.  Protective system

B.  Sloping plan
D.  None of the above
162.
______________________ for excavations five (5) to twenty (20) feet in depth must be constructed in accordance with the instructions of a designated competent person.
A.  Sloping and benching systems
C.  Trench excavation limits 

B.  Tabulated data


D.  None of the above
163.
A registered professional engineer must design and stamp the sloping and benching systems for excavations _____________________.

A.  Greater than twenty (20) feet deep
C.  To be made by contractors

B.  In traffic areas



D.  None of the above
Shoring Systems

164.
____________ is another protective system that utilizes a framework of vertical members, horizontal members, and cross braces to support the sides of the excavation to prevent a cave-in.

A.  Shoring


C.  Lateral support

B.  Tabulated data

D.  None of the above
Shield Systems (Trench Boxes)

165.
Shielding is the third method of providing a safe workplace in excavations.  Unlike sloping and shoring, _______________ does not prevent a cave-in.

A.  Shielding 


C.  Soil testing
B.  Tabulated data

D.  None of the above
166.
Shields are designed to ________________________, thereby protecting the employees working inside the structure.

A.  Withstand the soil forces caused by a cave-in
C.  Bend but not break

B.  Keep water out of the excavation
D.  None of the above
167.
Design and construction of _______________ is not covered in the OSHA Standards.

A.  Sloping and benching systems
C.  Protective systems

B.  Shielding



D.  None of the above
Safety Precautions for Shield Systems 

168.
There must not be any lateral movement of ___________ when installed.

A.  Sloping and benching systems
C.  Ladders

B.  Shields



D.  None of the above
169.
To protect employees from cave-ins when entering and exiting the shield, a ladder within the ____________ or a properly sloped ramp at the end shall be provided.

A.  Shield

C.  Tabulated data

B.  Jobsite

D.  None of the above
170.  According to the text, employees are not allowed in the ________________ during installation, removal, or during any vertical movement. 

A.  Sloping and benching systems
C.  Vicinity of the excavation

B.  Shield



D.  None of the above
171.
Shields can be installed 2 ft. above the bottom of an excavation, provided that they are designed to ______________________. 

A.  Tabulated data


C.  Be easily removed

B.  Resist loads at the full depth
D.  None of the above
172.
The exposed excavation wall at the __________________ must be sloped, shored, or shielded.

A.  Excavation site


C.  Traffic side of the excavation

B.  Open end of the shield

D.  None of the above
Personal Protective Equipment

173.
______________ requires that employees wear a hard hat, safety glasses, and work boots on the jobsite.

A.  The contractor 

C.  Recommended practice
B.  OSHA policy

D.  None of the above


Excavation & Trenching Guidelines

174.
Procedures and guidelines for the protection of employees working in and around excavations and trenches must be in compliance with OSHA Standards described in Subpart P (CFR 1926.650) for the construction industry.

A.  True
B.  False

175.
According to the text, the competent person(s) must be trained in accordance with the OSHA Excavation Standard, and all other programs that may apply, and must demonstrate a thorough understanding and knowledge of the programs and the hazards associated.

A.  True
B.  False

176.
All other employees working in and around the excavation must be trained to recognize the hazards associated with ____________________.

A.  OSHA Standards


C.  Personal protective equipment

B.  Trenching and excavating

D.  None of the above


Hazard Controls

177.
Knowing the location of underground installations is a good idea because it could make the work go faster. 

A.  True
B.  False

178.
All overhead hazards (surface encumbrances) must be removed or supported to __________________.

A.  Meet OSHA Standards


C.  Eliminate the hazard
B.  Make trenching and excavating easier
D.  None of the above


179.
If ____________ will be over 20 feet deep, it must be designed by a registered professional engineer.

A.  An excavation


C.  Construction equipment

B.  A means of access or egress
D.  None of the above


180.
_______________________, such as sloping, shoring, or shielding, will be utilized to protect employees.

A.  Adequate protective systems
C.  Soil testing

B.  Soil classifications


D.  None of the above
181.
When excavations and trenches 4 feet or deeper have the potential for toxic substances or _________________, the air will be tested at least daily.

A.   Cave-ins



C.  Hazardous atmospheres

B.   Unauthorized workers

D.  None of the above


182.
If work is in or around traffic, __________________ must be utilized to ensure the safety of employees, vehicular traffic, and pedestrians.

A.  Signs and barricades

C.  Additional personnel

B.  Soil classifications


D.  None of the above
Excavation Safety Plan

183.
A written excavation safety plan is required. This plan is to be developed to the level necessary to ensure complete compliance with the ____________________ and state and local safety standards.

A.   Professional engineer’s requirements
C.   Protective systems 

B.   OSHA Excavation Safety Standard
D.  None of the above


Soil Classification and Identification

184.
The Simplified Soil Classification System defined by OSHA Standards consists of four categories: ___________, Type A, Type B, and Type C.  

A.  Stable rock


C.  Stiff clay

B.  Gravel


D.  None of the above


Soil Test & Identification

185.
Soil classification tests should be run on freshly excavated samples from the excavation and are designed to determine soil stability based on a number of criteria.

A.  True
B.  False

186.
Clay, silt, and sand are __________________. Clay particles are the smallest, silt particles are intermediate, and sand particles are the largest.

A.  Very cohesive


C.  Size classifications
B.  Corrosive



D.  None of the above 

187.
The degree of ______________ and plasticity of a soil depend on the amounts of clay, silt, sand, and water present.

A.  Compatibility

C.  Durability

B.  Cohesiveness

D.  None of the above 

188.
The soil in an excavation is subject to change several times within the scope of a project and the __________________ will vary with weather and job conditions.

A.  Shields 


C.  Moisture content

B.  Shoring


D.  None of the above 

Shielding

189.
Shielding does not prevent cave-ins. Instead, it protects the workers in the event of a cave-in.

A.  True
B.  False

190.
When placed in an excavation, shields have sufficient structural strength to support the _____________________, thereby protecting the employees in the trench.

A.  Nearby structures


C.  Force of a cave-in should one occur
B.  Construction vehicles

D.   None of the above 

191. 
Most ____________ have two flat, parallel metal walls which are held apart by metal cross braces which are placed at the ends of the “box.” This allows for the installation of pipe within the interior dimensions of the shield.

A.  Shields 



C.  Shoring systems

B.  Reputable manufacturers

D.  None of the above 

192.
Workers must be protected when entering or leaving the shield by using a ____________ within the shield or a properly sloped ramp at the end.

A.  Shield 


C.  Support
B.  Ladder


D.  None of the above 

193.
Workers must exit the shield during its installation, removal, or _________________.

A.  Inclement weather


C.  During vertical movement 

B.  Soil testing



D.  None of the above 

194.
The excavation wall at the __________________ should be sloped, shored or shielded off to prevent a cave-in from the end.

A.  Side of the shield


C.  Open end of the shield

B.  End of the job


D.  None of the above 

195.
If the excavation will be deeper than the ________________, attached shields of the correct specifications may be used. As an alternative, the excavation may be sloped back to the maximum allowable angle from a point 18 inches below the top of the shield.

A.  Planned depth


C.  Designed depth 

B.  Shield is tall


D.  None of the above 

Inspections

196.
The excavations, adjacent areas, and protective systems shall be inspected daily by the _________________.

A.  Contractor


C.  Competent person

B.  Employees


D.  None of the above 

197.
During inspections, the competent person shall look for evidence of a situation that could result in a cave-in, indications of ______________________, hazardous atmospheres or other hazardous conditions.

A.  Failure of protective systems
C.  OSHA compliance
B.  Poor workmanship


D.  None of the above 

(S) Means the answer can be plural or singular in nature
198.
All _____________ shall be conducted by the competent person prior to the start of work, as needed throughout the shift, and after every rainstorm or other increasing hazard. 

A.  Inspections 


C.  OSHA compliance inspections
B.  Writing of excavation reports
D.  None of the above 

Water Quality Section

Three Types of Public Water Systems 

​199.  Provides water to the same population year-round for example: homes, apartment buildings.

A.  TNCWS
C.  NTNCWSs 

B.  CWSs 
D.  None of the above

200.  Approximately 85,000 systems

A.  TNCWS
C.  NTNCWSs 

B.  CWSs 
D.  None of the above

201.  Provides water where people do not remain for long periods of time for example: gas stations, campgrounds.

A.  TNCWS
C.  NTNCWSs 

B.  CWSs 
D.  None of the above

Surface Water Properties

202.  Water is accepted as the ____________________ because will dissolve most substances that comes in contact. 

A.  Universal solvent

C. Surface water 

B.  Water quality

D.  None of the above

203.  Depending on the region, some lakes and rivers receive _____________ from sewer facilities or defective septic tanks. 

A.  Excess nutrients

C.  Discharge

B.  Biological actions 

D.  None of the above
204.  Runoff could produce mud, leaves, decayed vegetation, and human and animal refuse. The discharge from industry could increase________________. Some lakes and reservoirs may experience seasonal turnover. 

A.  Volatile organic compounds
C.  Excess nutrients
B.  Water quality


D.  None of the above

205.  Adjustments in the dissolved oxygen, algae, temperature, suspended solids, turbidity, and carbon dioxide will change because of ________________. 

A.  Excess nutrients

C.  Discharge

B.  Biological actions 

D.  None of the above
Managing Water Quality at the Source

206. Contingent upon the region, source water may have several restrictions of use as part of a Water Shed Management Plan. In some areas, it may be restricted from recreational use, discharge or runoff from agriculture, or________________________ . 

A.  Excess nutrients

C.  Industrial and wastewater discharge
B.  Biological actions 

D.  None of the above
207.  Another characteristic of quality control is aquatic plants. The ecological equilibrium in lakes and reservoirs plays a natural part in purifying and sustaining the life of the lake.  Certain vegetation removes the excess nutrients that would promote the growth of algae. Too much algae will imbalance the lake and kill fish.

A.  True
B.  False

Physical Characteristics of Water
208.  Physical characteristics are the elements found that are considered alkali, metals, and non-metals such as carbonates, fluoride,___________________. The consumer relates it to scaling of faucets or staining. 

A.  pH and alkalinity

C.  Powdered activated carbon and chlorine
B.  Sulfides or acids

D.  None of the above
209.  Total Dissolved Solids (TDS) is not a primary pollutant; it is a gauge of appealing water characteristics such as hardness and an indication of an assortment of chemical contaminants that might be present, such as? 

A.  Turbidity

C.  Arsenic

B.  Colloids

D.  None of the above

210.  pH is the negative logarithm of the hydrogen ion concentration, [H+], a measure of the degree to which a solution is______________________________ .  

A.  Alkalinity

C.  Hydrogen ion (H+)
B.  Acidic or alkaline
D.  None of the above
211.  _________________ is a substance that can give up a hydrogen ion (H+); a base is a substance that can accept H+. 

A.  Acid

C.  Acidic or alkaline
B.  Base
 
D.  None of the above
Alkalinity 
212.  Alkalinity of water is its acid-neutralizing capacity.  It is the sum of all the titratable bases. The measured value may vary significantly with the end-point pH used.  

A.  True
B.  False

213.  __________________ with an overabundance of alkaline earth metal concentrations is significant in determining the suitability of water for irrigation.  

A.  Alkalinity

C.  Hydrogen ion (H+)
B.  Acid

D.  None of the above
214.  Alkalinity measurements are used in the interpretation and control of water and wastewater treatment processes
A.  True
B.  False

Turbidity Introduction 

215.  One physical feature of water is turbidity. A measure of the cloudiness of water caused by___________________. The cloudy appearance of water caused by the presence of tiny particles. 

A.  Suspended particles
C.  Temperature fluctuation 

B.  Variations


D.  None of the above
216.  High levels of turbidity may inhibit proper water treatment and monitoring.  If high quality raw water is low in turbidity, there will be a reduction in water treatment costs. Turbidity is unwanted because it causes health hazards. 

A.  True
B.  False

217.  The turbidity in natural surface waters is composed of a large number of sizes of particles. The sizes of particles can be changing constantly, depending on precipitation and _____________ factors. 

A.  MCL

C.  Temperature 

B.  Manmade

D.  None of the above
218.  ___________________may be existing in a water supply due to pollution, and these colloids can be difficult to remove in the coagulation process. In this situation, higher coagulant dosages are generally required. 

A.  Turbidity

C.  Total Dissolved Solids (TDS)

B.  Organic colloids
D.  None of the above

Turbidity MCL 

219.  An MCL for turbidity established by the EPA because _________________interferes with disinfection. This characteristic of water changes the most rapidly after heavy rainfall. 

A.  Conductivity
C.  Temperature 

B.  Turbidity

D.  None of the above
220.  The temperature variation of a sample, a scratched or unclean sample tube in the nephelometer and selecting an incorrect wavelength of a light path may be conditions caused by an inaccurate ____________ measurement.

A.  Conductivity
C.  Temperature 

B.  Turbidity

D.  None of the above
Dissolved Oxygen
221.  The level of dissolved oxygen in natural waters is often a direct indication of quality, since aquatic plants produce oxygen, while microorganisms generally consume it as they feed on _______________. 

A.  Pollutants

C.  E. coli bacteria 

B.  Organic matter
D.  None of the above
222.  At low temperatures, the _________________is increased, so that in winter, concentrations as high as 20 ppm may be found in natural waters; during summer, saturation levels can be as low as 4 or 5 ppm. 

A.  Dissolved oxygen

C.  Solubility of oxygen



B.  Thermal stratification
D.  None of the above

pH Testing Section

223.  When an atom loses ___________and thus has more protons than electrons, the atom is a positively-charged ion or cation. 

A.  A proton

C.  An electron 

B.  Charge

D.  None of the above

224.  In chemistry, pH is a measure of the acidity or basicity of an aqueous solution. Solutions with a pH greater than 7 are said to be acidic and solutions with a pH less than 7 are basic or alkaline. 

A.  True
B.  False
225.  Pure water has a pH very close to?

A.  7

C.  7.7

B. 7.5

D.  None of the above

226. _____________________________ are determined using a concentration cell with transference, by measuring the potential difference between a hydrogen electrode and a standard electrode such as the silver chloride electrode.

A.  Primary pH standard values
C.  pH measurement(s)
B.  Alkalinity



D.   None of the above
227.  Mathematically, pH is the negative logarithm of the activity of the (solvated) hydronium ion, more often expressed as the measure of the?

A.  Electron concentration
C.  Hydronium ion concentration
B.  Alkalinity concentration
D.   None of the above
228.  Which of the following terms for aqueous solutions can be done with a glass electrode and a pH meter, or using indicators?

A.  Primary sampling

C.  Determining values
B.  Measurement of pH
D.  None of the above
229.  pH is defined as the decimal logarithm of the reciprocal of the_____________, aH+, in a solution. 

A.  Hydrogen ion activity

C. Brønsted–Lowry acid–base theory

B.  Acid-base behavior

D.  None of the above

230.  Which of the following terms may be used to measure pH, by making use of the fact that their color changes with pH?

A. Indicators


C.  A set of non-linear simultaneous equations

B. Spectrophotometer

D.  None of the above
231.  Alkalinity is the name given to the quantitative capacity of an aqueous solution to neutralize an? 

A.  Acid

C.  Bond formation
B.  Base

D.  None of the above
232. Which of the following terms of the color of a test solution with a standard color chart provides a means to measure pH accurately to the nearest whole number? 

A. Universal indicator

C.  Visual comparison 

B. Colorwheel measurement 
D.  None of the above
233.   The pH scale is traceable to a set of standard solutions whose pH is established by US EPA.

A.  True
B.  False
234.  Alkalinity in excess of which term is significant in determining the suitability of water for irrigation?  

A. 8

C.  Alkaline earth metal concentrations
B. pH of 7
D.  None of the above
235.  The calculation of the pH of a solution containing acids and/or bases is an example of a ______________ calculation, that is, a mathematical procedure for calculating the concentrations of all chemical species that are present in the solution
A.  Chemical speciation
C.  Visual comparison 

B. Spectrophotometer

D.  None of the above
236.  Since pH is a logarithmic scale, a difference of one pH unit is equivalent to _______________   fold difference in hydrogen ion concentration
A.  1
C.  10

B. .1
D.  None of the above
237.  Which of the following terms measurements is used in the interpretation and control of water and wastewater treatment processes?  

A.  Acid
C.  Hydrogen bond formation
B.  Alkalinity
D.  None of the above
238.  Which of the following terms are compounds that, for practical purposes, are completely dissociated in water.

A. Strong acids and bases
C.  Strong bases and weak acids

B. Chemical ions in chains
D.  None of the above

239.  The pH of a solution containing a ____________ may require the solution of a cubic equation. 

A. Strong acids and bases
C. Weak base

B. Strong base

D.  None of the above

240.  Sodium hydroxide, NaOH, is an example of a?

A. Weak base

C.  Strong acid

B. Strong base
D.  None of the above

Objections to Hard Water

Scale Formation

241.  Hard water forms scale, usually__________________, which causes a variety of problems. Left to dry on the surface of glassware and plumbing fixtures, including showers doors, faucets, and sink tops; hard water leaves unsightly white scale known as water spots. 

A.  Magnesium carbonate
C.  Calcite


B.  Calcium carbonate
D.  None of the above

Secondary Standard
242.  TDS is most often measured in parts per million (ppm) or milligrams per liter of water (mg/L). The normal TDS level ranges from ________________________ 

A.  50 ppm to 1,000 ppm
C. 50 ppm to 100 ppm

B.  5 ppm to 10 ppm 

D.  None of the above

Langelier Saturation Index 

243.  The Langelier Saturation index (LSI) is an evenness scale derived from the theoretical concept of saturation and provides an indicator of the degree of saturation of water with respect to calcium carbonate. It can be shown that the Langelier saturation index (LSI) approximates the base 10 logarithm of the _____________saturation level. 

A.  Magnesium carbonate
C.  Calcite



B.  Calcium carbonate
D.  None of the above

More on the Stage 2 DBP Rule 

244.  Which of the following rules focuses on public health protection by limiting exposure to DBPs, specifically total trihalomethanes and five haloacetic acids, which can form in water through disinfectants used to control microbial pathogens?

A.  Stage 2 DBP rule

C. Long Term 2 Enhanced Surface Water Treatment Rule

B.  Stage 4 DBPR

D.  None of the above
245.  The Stage 1 Disinfectants and Disinfection Byproducts Rule and___________, promulgated in December 1998. 

A.  Stage 5 DBPR
C.  Interim Enhanced Surface Water Treatment Rule
B.  Stage 2 DBPR  
D.  None of the above
246.  Which of the following rules will reduce potential cancer and reproductive and developmental health risks from disinfection byproducts?

A.  Stage 1 DBPR



C. Long Term 2 Enhanced Surface Water Rule

B.  Stage 2 DBPR



D.  None of the above
What are Disinfection Byproducts (DBPs)? 
247.  Which of the following forms when disinfectants used to treat drinking water react with naturally occurring materials in the water?

A.  Chloramines

C.  Disinfection byproducts (DBPs)
B.  Humic and fulvic acids
D.  None of the above
248.  Total trihalomethanes and haloacetic acids are widely occurring _____________ formed during disinfection with chlorine and chloramine. 

A.  Gases


C.  Classes of DBPs

B.  Substances

D.  None of the above
Are THMs and HAAs the only disinfection byproducts? 
249.  The presence of TTHM and HAA5 is representative of the occurrence of many other chlorination DBPs; thus, an increase of TTHM and HAA5 generally indicates an increase of DBPs from chlorination. 

A.  True
B.  False 

All disinfectants form DBPs in one of two reactions: 

250.  Chorine and chlorine-based compounds (halogens) react with organics in water causing the hydrogen atom to substitute other atoms, resulting in halogenated by-products. 

A.  True
B.  False 

251.  Secondary by-products are also formed when multiple disinfectants are used.
A.  True
B.  False 

252.  The EPA Surface Water Treatment Rule (SWTR) requires systems using public water supplies from either surface water or groundwater under the direct influence of surface water to disinfect. 

A.  True
B.  False 

Public Health Concerns 

253.  Results from toxicology studies have shown several DBPs (e.g., bromodichloromethane, bromoform, chloroform, dichloroacetic acid, and bromate) to be inert to laboratory animals. 

A.  True
B.  False 

Disinfection Byproduct Research and Regulations Summary

254.  _________________is unquestionably the most important step in the treatment of water for drinking water supplies. 

A. DBP(s)


C.  Disinfection
B. Turbidity (particle)

D.  None of the above
255.  The ______________________should not be compromised because of concern over the potential long-term effects of disinfectants and DBPs. 

A. DBP(s)


C.  Microbial quality of drinking water
B. Turbidity (particle)

D.  None of the above
256.  The risk of illness and death resulting from exposure to pathogens in drinking water is very much greater than the risks from______________. 

A. Disinfectants and DBPs
C.  Natural organic matter precursors 
B. Turbidity (particle)

D.  None of the above
Controlling Disinfection Byproducts

257.  Treatment techniques are available that provide water suppliers the opportunity to maximize potable water safety and quality while minimizing the risk of _____________ _. 

A. DBP risks


C.  Disinfectants and DBPs
B. Turbidity (particle)

D.  None of the above
258.  Generally, the best approach to reduce ________________is to remove natural organic matter precursors prior to disinfection. 

A. DBP(s)


C.  DBP formation
B. Turbidity (particle)

D.  None of the above
Bacteriological Monitoring Section

Organisms Descriptors and Meanings 

259.  Aerobic means...

A.  Without air

C. Self (Inorganic carbon)

B.  With air 

D.  None of the above

260.  Photo means...

A.  Feed or nourish

C.  Light

B.  Other (Organic carbon) 
D.  None of the above

261.  Troph means...

A.  Feed or nourish

C.  Light

B.  Other (Organic carbon) 
D.  None of the above

262.  Litho means...

A.  Rock
C.  Light

B.  Organic 
D.  None of the above

263.  Organo means...

A.  Rock
C.  Light

B.  Organic 
D.  None of the above

264.  Auto means...

A.  Without air

C. Self (Inorganic carbon)

B.  With air 

D.  None of the above

265.  Chemo means...

A.  Rock
C.  Chemical

B.  Organic 
D.  None of the above

266.  Hetero means...
A.  Feed or nourish

C.  Light

B.  Other (Organic carbon) 
D.  None of the above

267.  Anaerobic means...

A.  Without air

C. Self (Inorganic carbon)

B.  With air 

D.  None of the above

Contaminants that may be present in sources of drinking water include:  

268.  Which of the following like salts and metals, which can be naturally occurring or result from urban stormwater runoff, industrial or domestic wastewater discharges, oil and gas production, mining or farming?

A.  Radioactive contaminants   
C. Inorganic contaminants

B.  Pesticides and herbicides   
D. Microbial contaminants

269.  Which of the following may come from a variety of sources such as agriculture, urban stormwater run-off, and residential uses?

A.  Radioactive contaminants   
C. Inorganic contaminants

B.  Pesticides and herbicides   
D. Microbial contaminants

270.  Which of the following can naturally occur or be the result of oil and gas production and mining activities?

A.  Radioactive contaminants   
C. Inorganic contaminants

B.  Pesticides and herbicides   
D. Microbial contaminants
Background

271.  Coliform bacteria and chlorine residual are the only routine sampling and monitoring requirements for small ground water systems with chlorination. The coliform bacteriological sampling is governed by the Coliform Reduction amendment of the SDWA. 

A.  True
B.  False 

TCR 

272.  Coliform contamination may occur anywhere in the system, possibly due to problems such as; high pressure conditions, line fluctuations, or wells, and therefore routine monitoring is required. 

A.  True
B.  False 

273.  The TCR recommends most of the Public Water Systems (PWS) to monitor their distribution system for bacteria according to the written sample sitting plan for that system. 

A.  True
B.  False 

274.  The sample sitting plan identifies sampling frequency and locations throughout the distribution system that are selected to be representative of conditions in the entire system. 

A.  True
B.  False 

Routine Sampling Requirements 

275.  Each total coliform-positive (TC+) routine sample must be tested for the presence of heterotrophic bacteria. 

A.  True
B.  False 

276.  If any TC+ sample is also E. coli-positive (EC+), then the EC+ sample result must be reported to the state by the end of the month that the PWS is notified. 

A.  True
B.  False 

277.  Total coliform samples must be collected by PWSs at sites which are representative of water quality throughout the distribution system according to a written sample siting plan subject to state review and revision. 

A.  True
B.  False 

278.  For PWSs collecting more than one sample per month, collect total coliform samples at regular intervals throughout the month, except that ground water systems serving 4,900 or fewer people may collect all required samples on a single day if the samples are taken from different sites.

A.  True
B.  False 

279. If any routine sample is TC+, repeat samples are required. – PWSs on quarterly or annual monitoring must take a minimum of one additional routine samples (known as additional routine monitoring) the quarter following a TC+ routine or repeat sample. 

A.  True
B.  False 

280.  Reduced monitoring is generally available for PWSs using only surface water and serving 1,000 or fewer persons that meet certain additional PWS criteria.

A.  True
B.  False 

Dangerous Waterborne Microbes 

281.  Which of the following is a parasite that enters lakes and rivers through sewage and animal waste. It causes gastrointestinal illness (e.g. diarrhea, vomiting, and cramps)?

A.  Coliform Bacteria 
C.  Protozoa

B.  Cryptosporidium
D.  None of the above

282.  Which of the following are bacteria whose presence indicates that the water may be contaminated with human or animal wastes? Microbes in these wastes can cause short-term effects, such as diarrhea, cramps, nausea, headaches, or other symptoms.  

A.  Fecal Coliform and E. coli

C.  Shigella dysenteriae
B.  Cryptosporidium


D.  None of the above
Bacteriological Monitoring Introduction

283.  Which of the following are usually harmless, occur in high densities in their natural environment and are easily cultured in relatively simple bacteriological media? 

A.  Indicator bacteria 
C.  Viruses 

B.  Amoebas   
D.  None of the above

284.  Indicators in common use today for routine monitoring of drinking water include total coliforms, fecal coliforms, and?

A.  Cryptosporidium 
C.  Escherichia coli (E. coli)



B.  Protozoa   

D.  None of the above

Bacteria Sampling

285.  Water samples for _________________ must always be collected in a sterile container. 

A.  Amoebas
 
C.  Viruses 

B.  Bacteria tests   
D.  None of the above

Basic Types of Water Samples 

286. It is important to properly identify the type of sample you are collecting. 

A.  True

B.  False 

The three (3) primary types of samples are:

287.  Samples collected following a coliform present routine sample. The number of repeat samples to be collected is based on the number of ____________ samples you normally collect.

A.  Repeat
C.  Routine

B.  Special
D.  None of the above

288.  A PWS fails to take every required repeat sample after any single TC+ sample

A.  Trigger: Level 1 Assessment 
C.  All of the above

B.  Trigger: Level 3 Assessment 
D.  None of the above

(S) Means the answer can be plural or singular in nature
289.  A PWS incurs an E. coli MCL violation. 

A.  Trigger: Level 4 Assessment 
C.  All of the above

B.  Trigger: Level 2 Assessment 
D.  None of the above

Positive or Coliform Present Results

290.  If you are notified of a positive coliform test result you need to contact either the Drinking Water Program or your local county health department within 72 hours, or by the next business day after the MCL compliance violation

A.  True
B.  False 

291.  With a positive total coliform sample, after you have contacted an agency for assistance, you will be instructed as to the proper repeat sampling procedures and possible corrective measures for solving the problem. It is very important to initiate the _______________as the corrective measures will be based on those results.

A.  Perform routine procedures
C.  Corrective measures

B.  Repeat sampling immediately
D.  None of the above

Total Coliforms

292.  This MCL is based on the presence of total coliforms, and compliance is on a daily or weekly basis, depending on your water system type and state rule. 

A.  True

B.  False
293.  For systems which collect fewer than ______________ samples per month, no more than one sample per month may be positive. In other words, the second positive result (repeat or routine) in a month or quarter results in a MCL violation. 

A.  40

C.  200

B.  100

D.  None of the above

The following are acute violations:

294.  Which determines a violation of nitrate?

A.  Presence
C.  MCLG


B.  MCL
D.  None of the above

Revised Total Coliform Rule (RTCR) Summary

295.  EPA published the Revised Total Coliform Rule (RTCR) in the Federal Register (FR) on February 13, 2013 (78 FR 10269). It is the revision to the 1989 Total Coliform Rule (TCR). 
A.  True

B.  False

296.  The RTCR upholds the purpose of the 1989 TCR to protect public health by ensuring the duplicity of the drinking water distribution system and monitoring for the absence of microbial contamination.

A.  True
B.  False 

297.  The RTCR establishes criteria for systems to qualify for and stay on for special increased monitoring, which could reduce water system problems for better system operation.

A.  True
B.  False 

298.  The water provider shall develop and follow a sample-siting plan that designates the PWS's collection schedule. This includes location of___________.

A.  Routine and repeat water samples
C.  Microbial contamination
B.  Reduced monitoring


D.  Repeat water samples

299.  The water provider shall collect _______________________on a regular basis (monthly, quarterly, annually). Have samples tested for the presence of total coliforms by a state certified laboratory.

A.  Routine water samples
C.  Microbial contamination
B.  Reduced monitoring
D.  Repeat water samples

300.  PN is required for violations incurred. Within required timeframes, PWS must use the required health effects language and notify the public if they did not comply with certain requirements of the RTCR. The type of ____________ depends on the severity of the violation.

A.  CCR(s)
C.  MCL violation

B.  PN

D.  TC+ routine or repeat sample

301.  The RTCR requires public water systems that are vulnerable to microbial contamination to identify and fix problems. 

A.  True
B.  False 

302.  The water provider shall collect repeat samples (at least 3) for each TC+ positive routine sample.

A.  True
B.  False 

303.  For PWSs on quarterly or annual routine sampling, collect additional routine samples (at least 3) in the month after a ______________________ .
A.  CCR(s)
C.  Total coliform positive samples

B.  PN

D.  TC+ routine or repeat sample

304.  PWSs incur violations if they do not comply with the requirements of the RTCR. The violation types are essentially the same as under the TCR with few changes. The biggest change is no acute or monthly MCL violation for ______________only.

A.  CCR(s)
C.  Total coliform positive samples

B.  PN

D.  TC+ routine or repeat sample

305.  Community water systems (CWSs) must use specific language in their CCRs when they must conduct an assessment or if they incur________________.

A.  CCR(s)
C.  An E. coli MCL violation

B.  PN

D.  TC+ routine or repeat sample

306.  The water provider shall analyze all ________________ that are total coliform positive (TC+) for E. coli.

A.  Routine or repeat water samples
C.  Microbial contamination
B.  Reduced monitoring

D.  Repeat water samples

307.  The RTCR requires public water systems (PWSs) to meet a legal limit for E. coli, as demonstrated by required monitoring.

A.  True
B.  False 

308.  The RTCR suggests the frequency and timing of required microbial testing based on public water type and source water type.

A.  True
B.  False 

Disinfection Key
309.  The RTCR requires 99.99% or 4 log inactivation of _____________ .
A.  Enteric viruses
C.  Giardia lamblia cysts

B.  Crypto

D.  None of the above

310.  The RTCR requires 99% or 2 log inactivation of _________________ .
A.  Enteric viruses
C.  Giardia lamblia cysts

B.  Crypto

D.  None of the above

311.  The RTCR requires 99.9% or 3 log inactivation of ___________________. 
A.  Enteric viruses
C.  Giardia lamblia cysts

B.  Crypto

D.  None of the above

312.  The RTCR requires chlorine residual leaving the plant must be = or __________ mg/L and measurable throughout the system.

A. > 0.2  
C. 0.2

B.  2.0

D.  None of the above

Waterborne Pathogen Section - Introduction  

Pathogen Section    

313.  Most pathogens are generally associated with diseases that _________and affect people in a relatively short amount of time, generally a few days to two weeks. 

A. Cause intestinal illness

C.  Will cause fatalities

B. Are mild in nature


D.  None of the above

How Diseases are Transmitted.

314.  Waterborne pathogens are primarily spread by the?

A. Fecal-oral, or feces-to-mouth route
C.  Oral to fecal route
B. Dermal to fecal route


D.  None of the above

Protozoan Caused Diseases

315.  Which of the following bugs is larger than bacteria and viruses but still microscopic; they invade and inhabit the gastrointestinal tract?

A.  Hepatitis A

C.  Protozoan pathogens

B.  E.coli  

D.  None of the above 

316.  Some of the parasites enter the environment in a dormant form, with a protective cell wall, called a? 

A.  Lamblia 
C.  Cyst 

B.  Shell
D.  None of the above

Giardia lamblia 

317.  Which of the following bugs has been responsible for more community-wide outbreaks of disease in the U.S. than any other, and drug treatment are not 100% effective?

A.  Giardia lamblia

C.  Giardiasis

B.  Cryptosporidiosis

D.  None of the above 

318.  All of these diseases, with the exception of ___________________, have one symptom in common: diarrhea. They also have the same mode of transmission, fecal-oral, whether through person-to-person or animal-to-person contact.

A.  HIV infection 
C.  Hepatitis A

B.  Giardiasis 

D.  None of the above 

Primary Waterborne Diseases Section 

319.  Campylobacter is primarily associated with poultry, animals, and humans. 

A.  True
B.  False
320.  Vibrio cholerae, the basics. It's a virus. It causes diarrheal illness, also known as cholera. It is typically associated with aquatic environments, shell stocks, and humans. Vibrio cholerae has also been associated with ship ballast water. 

A.  True
B.  False
321.  Legionnaire's disease, which causes severe pneumonia, and the second, _____________, which is a non-pneumonia illness; it's typically an influenza-like illness, and it's less severe. 

A.  Pontiac fever 
C.  Typhoid fever

B.  Yellow fever
D.  None of the above
322.  Legionella, prevention. Legionella in water systems. Hot water in tanks should be maintained between _____________degrees Centigrade. 

A.  81 to 100


C. 71 and 77
B.  110 to 210


D.  None of the above
323.  Which of the following is typically associated with soil and water?

A. Hepatitis A virus
C.  Pseudomonas

B. Legionella

D.  None of the above

324.  Humans are the reservoir for the Salmonella typhi pathogen, which causes diarrheal illness, and also known as?

A.  Campylobacter

C.  Typhoid fever

B.  Shigella dysenteriae
D.  None of the above
325.  Hepatitis A virus is resistant to combined chlorines, so it is important to have an adequate free chlorine residual. Fecal matter can shield Hepatitis A virus from chlorine. 

A.  True
B.  False

326.  Humans are the reservoir for the Norovirus. Prevention strategies for this pathogen include?

A.  Internal protection

C.  Containment protection
B.  Source protection

D.  None of the above
327.  Cryptosporidium is typically associated with animals and humans, and it can be acquired through consuming fecally contaminated food, contact with fecally contaminated soil and water. 

A.  True
B.  False
328.  Shigella species, in the United States two-thirds of the shigellosis in the U.S. is caused by Shigella dysenteriae and the remaining one-third is caused by Shigella Campylobacter. 

A.  True
B.  False
329.  Campylobacter, the basics. It's a bacterium. It causes diarrheal illness. 

A.  True
B.  False
330.  Cryptosporidium, prevention. Prevention strategies for this pathogen include source protection. A CT value of 50 is required when dealing with fecally accidents. CT equals a concentration, in parts per million, while time equals a contact time in minutes. 

A.  True
B.  False
331.  Giardia prevention strategies for this pathogen include _____________; filtration, coagulation, and halogenation of drinking water.

A.  Internal protection

C.  Containment protection
B.  Source protection

D.  None of the above
332.  Schistosomatidae, the basics. It is a parasite. It is acquired through dermal contact, cercarial dermatitis. It is commonly known as?

A.  Swimmer's itch

C.  Hemorrhagic colitis

B.  Beaver fever

D.  None of the above
333.  Schistosomatidae prevention strategies for this pathogen include Placing boric acid on berms or interrupting the life cycle of the parasite by treating birds with a lead.
A.  True
B.  False
Waterborne Bacterial Diseases

334.  Campylobacteriosis outbreaks have most often been associated with food, especially chicken and un-pasteurized milk, as well as un-chlorinated water. These organisms are also an important cause of “travelers’ diarrhea.” Medical treatment generally is not prescribed for campylobacteriosis because recovery is usually rapid.

A.  True
B.  False
335.  Cholera, Legionellosis, salmonellosis, shigellosis, yersiniosis, are other bacterial diseases that can be transmitted through water. All bacteria in water are readily killed or inactivated with chlorine or other disinfectants.

A.  True
B.  False
336.  Campylobacteriosis is the most common diarrheal illness caused by bacteria. Other symptoms include abdominal pain, malaise, fever, nausea and vomiting; and begin three to five days after exposure. The illness is frequently over within two to five days and usually lasts no more than 10 days.  

A.  True
B.  False
Chain of Custody Procedures 

337.  If both parties involved in the transfer must sign, date and note the time on the chain of custody record, this is known as? 

A.  TC Plan 


C.  Samples transfer possession

B.  Sample siting plan 
D.  None of the above

338.  The recipient will then attach the _______________showing the transfer dates and times to the custody sheets. If the samples are split and sent to more than one laboratory, prepare a separate chain of custody record for each sample.

A.  Shipping invoices

C.  Sample siting plan

B.  Chain of custody release
D.  None of the above

Factors in Chlorine Disinfection: Concentration and Contact Time 

339.  Based on the work of several researchers, CXT values [ final free chlorine concentration (mg/L) multiplied by minimum contact time (minutes)], offer water operators guidance in computing an effective combination of chlorine concentration and ___________________required to achieve disinfection of water at a given temperature. 

A.  Chlorine concentration
C.  Higher strength chlorine solutions

B.  Chlorine contact time
D.  None of the above
340.  The CXT formula demonstrates that if an operator chooses to decrease the chlorine concentration, the required _____________must be lengthened. 

A.  Chlorine concentration
C.  Contact time

B.  Temperature

D.  None of the above
(S) Means the answer can be plural or singular in nature
341.  As ___________________ are used, contact times may be reduced.

A.  Chlorine concentration
C.  Higher strength chlorine solutions

B.  Temperature

D.  None of the above
Factors in Chlorine Disinfection: Concentration and Contact Time 

342.  Based on the work of several researchers, CXT values [ final free chlorine concentration (mg/L) multiplied by minimum contact time (minutes)], offer water operators guidance in computing an effective combination of chlorine concentration and ___________________required to achieve disinfection of water at a given temperature. 

A.  Chlorine


C.  Higher strength chlorine solutions

B.  Chlorine contact time
D.  None of the above
Advanced Water Treatment Section 

343.  Water contains _________________ of which impart a quality known as hardness? 

A.  TDS

C.  Various amounts of dissolved minerals

B.  Conductivity 
D.  None of the above   

Occurrence of Hard Water

344. Which of the following is caused by soluble, divalent, metallic cations, (positive ions having valence of 2)? 

A.  Hard water


C. Carbonate hardness

B.  Permanent hardness
D.  None of the above   

345.  Water hardness varies considerably and is due to different geologic formations, and is also a function of the contact time between water and?

A.  Low pH



C.  Limestone deposits

B.  Carbonate-noncarbonate

D.  None of the above   

346.  Magnesium is dissolved as water passes over and through ____________and other magnesium-bearing minerals. 

A.  Hardness ions


C. Dolomite

B.  Calcium and magnesium

D.  None of the above   

Types of Hardness

347.  Hardness can be categorized by either of two methods: calcium versus magnesium hardness and?

A.  Carbonate hardness
C. Carbonate versus non-carbonate hardness 

B.  Temporary hardness 
D.  None of the above   

348.  Which of the following is caused by magnesium is called magnesium hardness? 

A.  Hardness


C. Carbonate hardness

B.  Permanent hardness
D.  None of the above   

Carbonate-Noncarbonate Distinction 

349.  According to the text, the carbonate-noncarbonate distinction is based on hardness from either the bicarbonate salts of calcium or the ______________involved in causing water hardness. 

A.  CaCO3


C.  Normal salts of calcium and magnesium

B.  Water hardness

D.  None of the above   

350.  Which of the following is caused primarily by the bicarbonate salts of calcium and magnesium, which are calcium bicarbonate, Ca(HCO3)2, and magnesium bicarbonate Mg(HCO3)2?

A.  Softness ions

C.  Carbonate hardness

B.  Permanent softness
D.  None of the above   

351.  Which of the following when combined with carbonate (CO3) also contributes to carbonate hardness? 

A.  CaCO3



C.   Carbonate-noncarbonate

B.  Calcium and magnesium

D.  None of the above   

352.  Which of the following is a measure of calcium and magnesium salts other than carbonate and bicarbonate salts? 

A.  Hardness ions

C.  Noncarbonate hardness

B.  Permanent hardness
D.  None of the above   

353.  Which of the following are calcium sulfate, calcium chloride, magnesium sulfate (MgSO4), and magnesium chloride (MgCl2) known better as? 

A.  CaCO3


C.  Salts

B.  Water hardness

D.  None of the above   

354.  When hard water is boiled, _____________________is driven off, bicarbonate salts of calcium and magnesium then settle out of the water to form calcium and magnesium carbonate precipitates.

A.  Hardness ions

C.  Carbonate hardness

B.  Carbon dioxide (CO2)
D.  None of the above   

355.  Because it can be removed by heating, carbonate hardness is sometimes called?

A.  Carbonate hardness
C.  Temporary hardness

B.  Water hardness

D.  None of the above   

356.  Because noncarbonated hardness cannot be removed or precipitated by prolonged boiling, it is sometimes called?

A.  Temporary hardness
C.  Carbonate hardness

B.  Permanent hardness
D.  None of the above   

Types of Processes

357.  Which of the following terms operate without heating and therefore use less energy than conventional thermal separation processes such as distillation, sublimation or crystallization? 

A.  Thermal separation process(es)
C.  Membrane separation processes

B.  Fractional distillation

D.  None of the above
Nanofiltration

358.  Nanofiltration (NF) process has been used primarily for water softening and reduction of? 

A.  Process liquid


C.  Total dissolved solids (TDS)
B.  Bacterial and protozoan life
D.  None of the above
Electrodialysis

359.  Electrodialysis Reversal (EDR) is a process similar to ED, except that the polarity of the direct current is periodically reversed. The reversal in polarity _____________ the flow of ions between demineralizing compartments, which provides automatic flushing of scale-forming materials from the membrane surface. 

A.  Corrects

C.  De-ionizes

B.  Reverses 

D.  None of the above

Desalination Sub-Section

360.  Desalinated water can be produced from the diluted draw / osmotic agent solution, using a second process. This may be by membrane separation, thermal method, physical separation or __________________. 

A.  UV

C.  A combination of these processes

B.  Sand
D.  None of the above
361.  The desalination process has the feature of inherently low fouling because of the forward osmosis first step, unlike conventional reverse osmosis desalination plants where fouling is often a problem. 

A.  True
B.  False 

Landfill Leachate Treatment

362.  In the case where the desired product is fresh water that does not contain draw solutes, a second separation step is no longer required. 

A.  True
B.  False 

363.  The first separation step of FO, driven by an osmotic pressure gradient, does not require a significant energy input (only unpressurized stirring or pumping of the solutions involved). The second separation step, however, does typically require ______________ input. 

A.  Energy

C.  Chemical

B.  Mechanical
D.  None of the above
364.  One method used for the second separation step is to employ RO. This approach has been used, for instance, in the treatment of landfill leachate. An FO membrane separation is used to draw water from the leachate feed into a saline (________________) brine. 

A. H2SO4 
C.  NaCl

B. Na

D.  None of the above
365.  The diluted brine is then passed through a RO process to produce fresh water and a reusable brine concentrate. The advantage of this method is not a savings in ___________, but rather in the fact that the FO process is more resistant to fouling from the leachate feed than a RO process alone. 

A.  Money
 
C.  Chemicals

B.  Energy

D.  None of the above
Disinfection Section 
Chlorine’s Appearance and Odor 

366.  Chlorine is a greenish-yellow gas it will condense to an amber liquid at approximately _______________F or at high pressures. 

A.  -29.2 degrees

C.  29 degrees

B.  – 100 degrees

D.  None of the above
367.  Prolonged exposures to chlorine gas may result in?

A.  Moisture, steam, and water
C.  Olfactory fatigue
B.  Odor thresholds 


D.  None of the above
Chlorine Gas

Pathophysiology

368.  As far as chlorine safety and respiratory protection, the intermediate ___________of chlorine accounts for its effect on the upper airway and the lower respiratory tract. 

A.  Effects of Hydrochloric acid
C.  Water solubility
B.  Vapor from Chlorine gas

D.  None of the above
369.  Respiratory exposure to ____________ may be prolonged because its moderate water solubility may not cause upper airway symptoms for several minutes.

A.  Hydrochloric acid

C. Plasma exudation

B.  Chlorine gas

D.  None of the above
370.  The odor threshold for chlorine gas is approximately? 

A.  0.3-0.5 parts per million (ppm)
C.  3-5 parts per million (ppm)

B.  3 parts per million (ppm)
D.  None of the above
Mechanism of Activity 

371.  Chlorine gas feeds out of the cylinder through a gas regulator.  The cylinders are on a scale that operators use to measure the amount used each day.  The chains are used to prevent the tanks from falling over. 

A.  True
B.  False
Early Response to Chlorine Gas 

372.  If you mix ammonia with chlorine gas, this compound reacts to form___________. 

A.  Chloramine gas

C.  Sulfuric gas
B.  Chlorine gas

D.  None of the above
Reactivity

373.  Cylinders of chlorine may burst when exposed to elevated temperatures. When Chlorine is in solution, this forms?

A.  Hydrogen sulfide

C.  A corrosive material

B.  Oxomonosilane

D.  None of the above
374.  What is formed when chlorine is in contact with combustible substances (such as gasoline and petroleum products, hydrocarbons, turpentine, alcohols, acetylene, hydrogen, ammonia, and sulfur), reducing agents, and finely divided metals? 

A.  Fires and explosions
C.  Moisture, steam, and water
B.  Odor thresholds 

D.  None of the above
375.  Contact between chlorine and arsenic, bismuth, boron, calcium, activated carbon, carbon disulfide, glycerol, hydrazine, iodine, methane, oxomonosilane, potassium
, propylene, and silicon should be avoided. 

A.  True  
B.  False

376.  Chlorine reacts with hydrogen sulfide and water to form this substance? 

A.  Hydrogen sulfide

C.  Chlorinates 

B.  Hydrochloric acid

D.  None of the above
377.  According to the text, chlorine is also incompatible with? 

A.  Plastic

C.  Moisture, steam, and water 
B.  Palladium

D.  None of the above
Flammability

378.  When there is a fire that involves Chlorine, the firefight should be fought downwind from the minimum distance possible. 

A.  True  
B.  False

379.  Keep unnecessary people away; isolate the hazard area and deny entry. For a massive fire in a cargo area, use unmanned hose holders or monitor nozzles; if this is impossible, withdraw from the area and let the fire burn. Emergency personnel should stay out of low areas and Ventilate closed spaces before entering. 

A.  True  
B.  False

380.  The effectiveness of chlorination depends on the _______________ of the water, the concentration of the chlorine solution added, the time that chlorine is in contact with the organism, and water quality. 

A.  Chlorine residual

C.  Oxygen

B.  Chlorine demand

D.  None of the above
381.  Chlorine may not be available for disinfection because _____________ in the water (like iron, manganese, hydrogen sulfide, and ammonia). 

A.  pH increases 




C.  Required contact time

B.  Part of it combines with other chemicals

D.  None of the above
382.  The amount of chlorine required to achieve disinfection and that reacts with the other chemicals is the? 

A.  Chlorine residual

C.  Free chlorine residual

B.  Chlorine demand

D.  None of the above
383.  Which term is used when disinfection decreases, as the concentration of the chlorine increases? 

A.  pH increases 



C.  Required contact time

B.  Chlorine level and water quality

D.  None of the above
384.  Chlorination is more effective as? 

A.  Water temperature increases
C. Water cools down

B.  Chlorine demand


D. None of the above
385.  Chlorination becomes more alkaline and is less effective as the? 

A.  Water's pH increases

C.  Required contact time is maximized

B.  Water quality increases

D.  None of the above
386.  Chlorination is less effective in?

A.  Clear water


C.  Day time

B.  Cloudy (turbid) water

D.  None of the above
387.  By adding a little more chlorine to what is already sufficient, this action will generally result in ____________that can be measured easily. 

A.  pH increases 


C.  Required contact time

B.  A free chlorine residual

D.  None of the above
Chlorination Chemistry

388.  The hypochlorite ion is a much weaker disinfecting agent than Hypochlorous acid, about 100 times less effective.

A.  True  
B.  False

389.  According to the text, pH and temperature affect the ratio of hypochlorous acid to hypochlorite ions. As the temperature decreases, the __________________ increases. 

A.  Reduction Ratio


C. "CT" disinfection concept
B.  Ratio of hypochlorous acid
D.  None of the above
390.  Under normal water conditions, hypochlorous acid will also chemically react and break down into the hypochlorite ion. 

A.  True  
B.  False

391.  Hypochlorous acid is a strong acid but a weak disinfecting agent. The amount of hypochlorous acid depends on the pH and temperature of the water. 

A.  True  
B.  False

Chlorine DDBP 
392.  These term means that chlorine is present as ClINCLUDEPICTURE "F:\\..\\..\\..\\Operator cert\\PDH\\wrap40.xbm" \* MERGEFORMAT \d \z", HOCl, and OCl¯ is called ______________, and that which is bound but still effective is ________________. 

A. Free available chlorine and Total


B. Free and Residual





C. Free available chlorine and Combined Chlorine

D.  None of the above
Types of Residual

393. Which of the following is all chlorine that is available for disinfection?

A. Chlorine residual
C.  Total chlorine

B. Chlorine demand
D.  None of the above

Chlorine Exposure Limits

394.  What is OSHA’s PEL?  

A.  10 PPM

C.  1,000 PPM

B.  1 PPM

D.  None of the above

395.  Liquid chlorine is about __________ times heavier than water 

A.  1.5

C.  2.5

B.  10 

D.  None of the above

Alternate Disinfectants - Chloramine

396.  It is recommended that Chloramine be used in conjunction with a stronger disinfectant. It is best utilized as a?

A. Chloramine 

C.  Stable distribution system disinfectant 

B.  T10 value disinfectant
D.  None of the above

Chlorine Dioxide

397.  Which term provides good Giardia and virus protection, but its use is limited by the restriction on the maximum residual of 0.5 mg/L ClO2/ chlorite / chlorate allowed in finished water?

A.  Chlorinated byproducts
C.  Ammonia residual(s) 

B.  Chlorine dioxide 

D.  None of the above 

Ozone

398. Ozone is a very effective disinfectant for both Giardia and viruses
A.  True   
B.  False

399.  When determining Ozone CT (contact time) values must be determined for the ozone basin alone; an accurate _____________ must be obtained for the contact chamber, and residual levels. 

A.  Residual 
C.  Contact time 

B.  T10 value
D.  None of the above

400.  Ozone does not provide a system residual and should be used as a primary disinfectant only in conjunction with? 

A.  Dry sodium chlorite 
C.  Free and/or combined chlorine

B.  Chlorine dioxide 

D.  None of the above 

When Finished with Your Assignment

REQUIRED DOCUMENTS

Please scan the Registration Page, Answer Key, Survey and Driver’s License and email these to info@TLCH2O.com.

IPhone Scanning Instructions

If you are unable to scan, take a photo of these documents with your iPhone and send these photos to TLC, info@TLCH2O.com.
34
44
Distribution 24 Hours Assignment                                                      TLC © 1/7/2026   www.abctlc.com


