Registration form

DISTRIBUTION 36 HOURS CEU COURSE  

48 HOUR RUSH ORDER PROCESSING FEE ADDITIONAL $50.00

Start and Finish Dates: ______________________________________________________
You will have 90 days from this date in order to complete this course




List number of hours worked on assignment must match State Requirement.  ______________
Name________________________________Signature_______________________________

I have read and understood the disclaimer notice on page 2.  Digitally sign XXX

Address____________________________________________________________________

City_______________________________State_____________________Zip______________

Email__________________________________ Fax (_____) __________________________

Phone:


Home (_____) ______________________       Work (_____) __________________________

Operator ID #_____________________________________________Exp. Date___________

Please circle/check which certification you are applying the course CEU’s.

Water Distribution ___    Water Treatment ___   Other ___________________________

Technical Learning College   TLC PO Box 3060, Chino Valley, AZ 86323
Toll Free (866) 557-1746    Fax (928) 272-0747   info@tlch2o.com 
If you’ve paid on the Internet, please write your Customer#_________________________

Please invoice me, my PO#____________________________________________________

Please pay with your credit card on our website under Bookstore or Buy Now.  Or call us and provide your credit card information.

We will stop mailing the certificate of completion, so we need either your fax number or e-mail address.  We will e-mail the certificate to you, if there is no e-mail address; we will fax it to you.  
DISCLAIMER NOTICE AND AFFIDAVIT OF EXAM COMPLETION

Technical Learning College CEU Course Policies

I understand that it is my responsibility to ensure that this Continuing Education Unit (CEU) course is either approved or accepted in my State for CEU credit. I acknowledge that State laws and rules change frequently, and I believe this course is currently accepted in my State for CEU or contact hour credit. If it is not, I will not hold Technical Learning College responsible. Furthermore, I recognize that this type of study program deals with dangerous conditions, and I will not hold Technical Learning College, Technical Learning Consultants, Inc. (TLC), The Love of Christ Bible College liable for any errors, omissions, or advice contained in this CEU education training course, nor for any violation, injury, neglect, or damage caused by this CEU education training, course material suggestion, or error. If I require assistance, I will contact TLC and double-check that my registration page and assignment have been received and graded.

State Approval Information

Please refer to the State Approval Listing Link to verify if your State accepts or has pre-approved this course. Note that not all States or courses are listed. If the course is not accepted for CEU credit, Technical Learning College will provide the course free of charge if you request your State to accept it for credit.

State Approval Listing URL: 

http://www.tlch2o.com/downloads/PDF/CEU%20State%20Approvals.pdf
Course Manual-Printed Version

You may obtain a printed version of the course manual from TLC for an additional $129.95, plus shipping charges.

Affidavit of Exam Completion

I affirm that I personally completed the entire text of the course. I also affirm that I completed the exam without assistance from any outside source. I understand that it is my responsibility to file or maintain my certificate of completion as required by the State or by the designation organization.

Grading Information

To maintain the integrity of our courses, we do not distribute test scores, percentages, or information on questions missed. Our exams are based on pass/fail criteria, with the benchmark for successful completion set at 70%. Once you pass the exam, your record will reflect a successful completion, and a certificate will be issued to you.

Rush Grading Service

If you need your assignment graded and results mailed to you within a 48-hour period, an additional rush service handling fee of $50.00 will apply. Please note that this fee may not cover postage costs. To request this service, write "RUSH" at the top of your Registration Form. We will prioritize your assignment in the grading and processing line.

For security purposes, please fax or e-mail a copy of your driver’s license and always call us to confirm we’ve received your assignment and to confirm your identity. 

CERTIFICATION OF COURSE PROCTOR
If required by your State, Technical Learning College requires that students who take a correspondence or home study program course must pass a proctored course reading, quiz and final examination.  The proctor must complete and provide the school a certification form approved by the commission for each examination administered by the proctor.

	Instructions.  When a student completes the course work, fill out the blanks in this section and provide the form to the proctor with the examination.


Name of Course:






 

Name of Licensee:






  

	Instructions to Proctor.  After an examination is administered, complete and return this certification and examination to the school in a sealed exam packet or in pdf format.


I certify that:

1.
I am a disinterested third party in the administration of this examination.  I am not related by blood, marriage or any other relationship to the licensee which would influence me from properly administering the examination.  

2.
The licensee showed me positive photo identification prior to completing the examination.

3.
The enclosed examination was administered under my supervision on 

.  The licensee received no assistance and had no access to books, notes or reference material.

4.
I have not permitted the examination to be compromised, copied, or recorded in any way or by any method.

5.  Provide an estimate of the amount of time the student took to complete the assignment. 

Time to complete the entire course and final exam. _____________________________

Notation of any problem or concerns:

Name and Telephone of Proctor (please print):

Signature of Proctor

Distribution 36 Hours CEU Course Answer Key
Name__________________________________________________
Phone _________________________________________________





Did you check with your State agency to ensure this course is accepted for credit?

You are responsible to ensure this course is accepted for credit. No refunds.
Method of Course acceptance confirmation. Please fill this section 

    Website __ Telephone Call___ Email____  Spoke to_____________________________

Did you receive the approval number, if applicable?  ___________________________

What is the course approval number, if applicable?  ____________________________

You can electronically complete this assignment in Adobe Acrobat DC.

Please Circle, Bold, Underline or X, one answer per question. A felt tipped pen works best.
1. A B C D 

2. A B C D 

3. A B C D 

4. A B C D 

5. A B C D 

6. A B C D 

7. A B C D 

8. A B C D 

9. A B C D

10. A B C D 

11. A B C D 

12. A B C D 

13. A B C D 

14. A B 

15. A B C D 

16. A B C D 

17. A B C D 

18. A B 

19. A B C D 

20. A B C D 

21. A B C D 

22. A B C D 

23. A B C D 

24. A B C D 

25. A B C D 

26. A B 

27. A B C D 

28. A B 

29. A B 

30. A B 

31. A B 

32. A B C D

33. A B C D 

34. A B 

35. A B C D 

36. A B C D 

37. A B 

38. A B C D 

39. A B C D 

40. A B 

41. A B 

42. A B C D 

43. A B C D 

44. A B 

45. A B 

46. A B C D 

47. A B 

48. A B 

49. A B C D 

50. A B 

51. A B 

52. A B C D 

53. A B C D 

54. A B C D 

55. A B C D

56. A B C D 

57. A B C D 

58. A B 

59. A B 

60. A B C D 

61. A B C D 

62. A B C D 

63. A B C D 

64. A B C D 

65. A B C D 

66. A B C D 

67. A B C D 

68. A B 

69. A B 

70. A B C D 

71. A B C D 

72. A B C D 

73. A B C D 

74. A B C D 

75. A B C D 

76. A B C D 

77. A B C D 

78. A B C D

79. A B C D 

80. A B C D 

81. A B 

82. A B C D 

83. A B C D 

84. A B C D 

85. A B C D 

86. A B C D 

87. A B C D 

88. A B C D 

89. A B 

90. A B C D 

91. A B C D 

92. A B C D

93. A B 

94. A B C D 

95. A B C D 

96. A B C D 

97. A B C D 

98. A B C D 

99. A B C D 

100. A B C D 

101. A B C D

102. A B 

103. A B C D 

104. A B C D 

105. A B 

106. A B C D 

107. A B 

108. A B C D 

109. A B 

110. A B C D 

111. A B C D 

112. A B C D 

113. A B C D 

114. A B C D 

115. A B C D 

116. A B 

117. A B C D 

118. A B C D 

119. A B C D 

120. A B 

121. A B C D 

122. A B C D 

123. A B C D 

124. A B C D

125. A B C D 

126. A B C D 

127. A B C D 

128. A B C D 

129. A B C D 

130. A B C D 

131. A B C D 

132. A B C D 

133. A B 

134. A B C D 

135. A B C D 

136. A B C D 

137. A B C D 

138. A B 

139.  A B C D 

140. A B C D 

141. A B C D 

142. A B C D 

143. A B C D 

144. A B C D 

145. A B C D 

146. A B C D 

147. A B C D

148. A B C D 

149. A B 

150. A B 

151. A B C D 

152. A B 

153. A B 

154. A B C D 

155. A B 

156. A B C D 

157. A B C D 

158. A B C D 

159. A B C D 

160. A B C D 

161. A B C D 

162. A B C D 

163. A B C D 

164. A B C D 

165. A B 

166. A B C D 

167. A B C D 

168. A B C D 

169. A B C D 

170. A B C D

171. A B C D 

172. A B C D 

173. A B 

174. A B C D 

175. A B C D 

176. A B 

177. A B C D 

178. A B 

179. A B C D 

180. A B C D 

181. A B C D 

182. A B C D 

183. A B C D 

184. A B C D 

185. A B C D 

186. A B C D 

187. A B C D 

188. A B C D 

189. A B C D 

190. A B C D 

191. A B C D 

192. A B C D 

193. A B C D

194. A B C D 

195. A B C D 

196. A B C D 

197. A B C D 

198. A B C D 

199. A B C D 

200. A B C D 

201. A B C D 

202. A B C D 

203. A B C D 

204. A B 

205. A B C D 

206. A B C D 

207. A B C D 

208. A B C D 

209. A B C D
210. A B C D 

211. A B C D 

212. A B C D 

213. A B C D 

214. A B C D 

215. A B C D 

216. A B C D

217. A B 

218. A B C D 

219. A B 

220. A B C D 

221. A B C D 

222. A B C D 

223. A B C D 

224. A B C D 

225. A B C D 

226. A B C D 

227. A B C D 

228. A B C D 

229. A B C D 

230. A B C D 

231. A B C D 

232. A B C D 

233. A B C D 

234. A B C D 

235. A B C D
236. A B C D 

237. A B C D 

238. A B C D 

239. A B C D

240. A B C D 

241. A B C D 

242. A B C D 

243. A B C D 

244. A B C D 

245. A B C D 

246. A B C D 

247. A B C D 

248. A B C D 

249. A B C D 

250. A B C D
251. A B 

252. A B C D 

253. A B 

254. A B C D 

255. A B C D 

256. A B C D 

257. A B 

258. A B C D 

259. A B C D 

260. A B C D 

261. A B C D 

262. A B C D

263. A B C D 

264. A B C D 

265. A B C D 

266. A B C D 

267. A B C D 

268. A B C D 

269. A B C D 

270. A B 

271. A B C D 

272. A B C D 

273. A B C D 

274. A B C D 

275. A B 

276. A B C D 

277. A B C D 

278. A B C D 

279. A B C D 

280. A B C D 

281. A B C D 

282. A B C D 

283. A B C D 

284. A B C D 

285. A B C D

286. A B C D 

287. A B C D 

288. A B C D 

289. A B C D 

290. A B C D 

291. A B C D 

292. A B C D 

293. A B C D 

294. A B C D 

295. A B 

296. A B C D 

297. A B C D 

298. A B C D 

299. A B C D 

300. A B C D 

301. A B C D 

302. A B 

303. A B 

304. A B C D 

305. A B C D 

306. A B C D 

307. A B C D 

308. A B C D 

309. A B C D 

310. A B C D

311. A B C D 

312. A B C D 

313. A B C D 

314. A B C D 

315. A B 

316. A B 

317. A B 

318. A B 

319. A B 

320. A B 

321. A B 

322. A B 

323. A B 

324. A B C D 

325. A B 

326. A B C D 

327. A B C D 

328. A B C D 

329. A B C D 

330. A B 

331. A B C D 

332. A B 

333. A B 

334. A B 

335. A B C D 

336. A B C D

337. A B C D 

338. A B C D 

339. A B 

340. A B 

341. A B C D 

342. A B C D 

343. A B C D 

344. A B C D 

345. A B C D 

346. A B C D 

347. A B C D 

348. A B C D 

349. A B C D 

350. A B C D 

351. A B C D 

352. A B C D 

353. A B C D 

354. A B C D 

355. A B C D 

356. A B C D 

357. A B C D 

358. A B 

359. A B C D 

360. A B C D 

361. A B C D 

362. A B 

363. A B C D

364. A B C D 

365. A B 

366. A B 

367. A B C D 

368. A B C D 

369. A B C D 

370. A B C D 

371. A B C D 

372. A B C D 

373. A B C D 

374. A B C D 

375. A B 

376. A B C D 

377. A B 

378. A B C D 

379. A B C D 

380. A B 

381. A B 

382. A B C D 

383. A B C D 

384. A B C D 

385. A B C D 

386. A B 

387. A B C D 

388. A B C D 

389. A B C D 

390. A B C D 

391. A B C D 

392. A B C D 

393. A B C D 

394. A B C D 

395. A B 

396. A B 

397. A B 

398. A B 

399. A B C D 

400. A B C D 

I understand that I am 100 percent responsible for ensuring that TLC receives the Assignment and Registration Key.   I will not hold TLC liable for any errors or damages caused and will abide by the rules on page 2. I understand that TLC has a zero tolerance towards not following their rules, cheating or hostility towards staff or instructors.  I need to complete the entire assignment for credit.  There is no credit for partial assignment completion.  My exam was proctored. I will contact TLC if I do not hear back from them within 2 days of assignment submission. I will forfeit my purchase costs and will not receive credit or a refund if I do not abide by TLC’s rules.  I will not hold TLC liable for any errors, injury, death or non-compliance with rules.  I will abide with all federal and state rules and rules found on page 2.  

Please Sign that you understand and will abide with TLC’s Rules.

______________________________________________________

Signature

Please write down any questions you were not able to find the answers or that have errors.  

Please e-mail or fax this survey along with your final exam

DISTRIBUTION 36 HOURS CEU COURSE

CUSTOMER SERVICE RESPONSE CARD

NAME: __________________________________________________________ 

E-MAIL_______________________________PHONE_______________________

PLEASE COMPLETE THIS FORM BY CIRCLING THE NUMBER OF THE APPROPRIATE ANSWER IN THE AREA BELOW.

Please rate the difficulty of your course.

Very Easy  
0
1
2
3
4
5     Very Difficult

Please rate the difficulty of the testing process.

 Very Easy  
0
1
2
3
4
5     Very Difficult

Please rate the subject matter on the exam to your actual field or work.

Very Similar  
0
1
2
3
4
5     Very Different

How did you hear about this Course? _________________________________________

What would you do to improve the Course?

________________________________________________________________________ 

Any other concerns or comments. 

When Finished with Your Assignment

REQUIRED DOCUMENTS

Please scan the Registration Page, Answer Key, Survey and Driver’s License and email these documents to info@TLCH2O.com.

IPhone Scanning Instructions

If you are unable to scan, take a photo of these documents with your iPhone and send these photos to TLC, info@TLCH2O.com.

FAX

If you are unable to scan and email, please fax these to TLC, if you fax, call to confirm that we received your paperwork. (928) 468-0675

Rush Grading Service

If you need this assignment graded and the results mailed to you within a 48-hour period, prepare to pay an additional rush service handling fee of $50.00.  

This course contains general EPA’s SDWA federal rule requirements.  Please be aware that each state implements water / sampling procedures/ safety / environmental / SDWA regulations that may be more stringent than EPA’s regulations.  Check with your state environmental/health agency for more information. These rules change frequently and are often difficult to interpret and follow. Be careful to be in full compliance with your regulatory agencies and do not follow this course for any compliance concerns. 

Distribution 36 Hours CEU Training Course Assignment

The Distribution 36 Hours CEU course assignment is available in Word on the Internet for your convenience, please visit www.ABCTLC.com and download the assignment and e-mail it back to TLC.  

You will have 90 days from receipt of this manual to complete it in order to receive your Professional Development Hours (PDHs) or Continuing Education Unit (CEU).  A score of 70 % or better is necessary to pass this course.  If you should need any assistance, please email or fax all concerns and the completed ANSWER KEY to info@tlch2o.com. 

Select one answer per question.  Please utilize the answer key.  
(s) on the answer will indicate either plural or singular tenses.  

Hyperlink to the Glossary and Appendix

http://www.abctlc.com/downloads/PDF/WTGlossary.pdf

Cross-Connection Section

What is Backflow? 

1.  Which of the following can result from an increase in downstream pressure, a reduction in the potable water supply pressure, or a combination of both? 

A.  Backwater

C.  Backsiphonage

B.  Backpressure
D.  None of the above

2.  Which of the following can have two forms-backpressure and backsiphonage?  

A.  Backflow

C.  Tee-connection

B.  Backpressure
D.  None of the above

3.  Backflow is the undesirable reversal of flow of nonpotable water or other substances through a ____________________and into the piping of a public water system or consumer’s potable water system. 

A.  Backwater


C.  Cross-connection

B.  Indirect connection
D.  None of the above

4.  Which of the following can occur when there is a stoppage of water supply due to nearby firefighting, a break in a water main? 

A.  Backsiphonage

C.  Cross-identification
B.  Backpressure

D.  None of the above

5.  Which of the following is a type of backflow caused by downstream pressure that is greater than the upstream or supply pressure in a public water system or consumer’s potable water system?

A.  Backflow

C.  Indirect connection

B.  Backpressure
D.  None of the above

6. The basic mechanism for preventing backflow is a mechanical _____________, which provides a physical barrier to backflow. 

A.  Air gap


C.  Backflow

B.  Backflow preventer 
D.  None of the above

7. The principal types of mechanical backflow preventer are the reduced-pressure principle assembly, the _________________, and the double check valve assembly. 

A.  Vacuum breaker
C.  Backflow check

B.  Air gaper

D.  None of the above

8. Which of the following is a means or mechanism to prevent backflow? 

A.  Check device or method

C.  Backflow check valve

B.  Backflow preventer 

D.  None of the above

9. According to the text, basic means of preventing backflow is a(n) ______________, which either eliminates a cross-connection or provides a barrier to backflow. 

A.  Vacuum breaker
C.  Backflow check

B.  Air gap

D.  None of the above

10.  Which of the following is any temporary or permanent connection between a public water system or consumer’s potable water system and any source or system containing nonpotable water or other substances? 

A.  Indirect connection
C.  Cross-connection

B.  Jumper


D.  None of the above

11.  Which of the following is a type of backflow caused by negative pressure (i.e., a vacuum or partial vacuum) in a public water system or consumer’s potable water system? 

A.  Backsiphonage

C.  Cross-connection

B.  Backpressure

D.  None of the above

12. Which of the following can occur whenever the amount of water being used exceeds the amount of water being supplied, such as during water line flushing, firefighting, or breaks in water mains?

A.  Backsiphonage

C.  Cross-connection

B.  Backpressure

D.  None of the above

Types of Backflow Prevention Methods and Assemblies

13.  Which of the following must either be physically disconnected or have an approved backflow prevention device installed to protect the public water system? 

A.  Indirect connection
C.  Cross-connection

B.  Jumper


D.  None of the above

14.  The type of device selected for a particular backflow installation depends on several factors.

A.  True
B.  False

15.  When the ________________is restricted, such as the case of an air gap located near a wall, the air gap separation must be increased. 

A.  Air break


C.  Airflow

B.  Barrier to backflow 
D.  None of the above

16.  An air gap is a physical disconnection between the free-flowing discharge end of a potable water pipeline and the top of a(n)? 

A.  Open receiving vessel
C.  Barrier to backflow

B.  Air break


D.  None of the above

17.  Which of the following must be at least two times the diameter of the supply pipe and not less than one inch?

A.  Open receiving vessel
C.  Air gap

B.  Air break


D.  None of the above

18.  An air break is a physical separation between the free-flowing discharge end of a potable water supply pipeline, and the overflow rim of an open or non-pressure receiving vessel. 

A.  True
B.  False

19.  According to the text, air gap separations must be vertically orientated at a distance of at least twice the inside diameter of the supply, but never less than? 

A.  1 inch 

C.  12 inches

B.  2 inches

D.  None of the above

20.  An obstruction around or near an _________________ may restrict the flow of air into the outlet pipe and nullify the effectiveness of the air gap to prevent backsiphonage. 

A.  Open receiving vessel
C.  Air gap

B.  Air break


D.  None of the above

21.  An air gap is acceptable for _________________ and is theoretically the most effective protection. 

A.  High hazard installations

C.  Low pollutional hazards

B.  High pollutional concerns

D.  None of the above

Vacuum Breakers

22.  Which of the following devices can have two primary types: atmospheric and pressure. 

A.  Vacuum breaker(s)


C.  Hazard application(s)

B.  Atmospheric vacuum breakers

D.  None of the above

23.  Both vacuum breakers devices are only suitable for?

A.  High hazard installations

C.  Low hazard conditions

B.  High pollutional concerns

D.  None of the above

24.  Which of the following may not be installed downstream of atmospheric vacuum breakers but are allowed on pressure vacuum breakers?

A.  Valve assembly
C.  Air inlet valve

B.  Shut offs

D.  None of the above

25.  The devices must be installed above the highest?

A.  Downstream piping

C.  Hazard applications

B.  Vacuum breakers


D.  None of the above

26. The double check valve assembly is designed to prevent backflow caused by backpressure and backsiphonage from high health hazards.   

A.  True
B.  False

27.  The double check valve should be installed in an ___________________and protected from freezing.  

A.  Permit Required Confined Space

C.  Room
B.  Accessible location


D.  None of the above

28.  Reduced Pressure Backflow Assembly (RP) consists of two independently acting spring loaded check valves separated by a Spring-loaded differential pressure relief valve, two resilient seated full ported shutoff valves, and four properly located resilient seated test cocks. 

A.  True
B.  False

29.  During normal operation, the pressure between the two check valves, referred to as the air inlet zone, is maintained at a higher pressure than the supply pressure. 

A.  True
B.  False

30.  If either reduced pressure backflow assembly check valve leaks, the differential pressure relief valve maintains a differential pressure of at least two (2) psi between the supply pressure and the zone between the two check valves by discharging water to atmosphere. 

A.  True
B.  False

31.  According to the text, the reduced pressure backflow assembly or RP is designed to prevent backflow caused by backpressure and backsiphonage from low to high health hazards. 

A.  True
B.  False

Water Distribution Section



System Elements

32.   In the distribution system, storage reservoirs are structures used to store water and _____________ the supply or pressure. 

A.  Increase water pressure
C.  Provide a reserve pressure for

B.  Equalize


D.  None of the above

33.  Booster stations are used to _____________ from storage tanks for low-pressure mains.

A.  Increase water pressure
C.  Provide a reserve pressure

B.  Equalize


D.  None of the above

34.  Globe valves should only the only valve used in an Arterial system for main line isolation.  

A.  True
B.  False

Butterfly Valve

35.  Butterfly valves are rotary type of valves usually found on large transmission lines, and may also have an additional valve beside it known as a___________ to prevent water hammer.

A.  Regulator


C.  PRV

B.  Bypass


D.   None of the above

Water Distribution Valves

36.  According to the text, at intersections of distribution mains, the number of valves required is normally one less than the number of?

A.  Ties

C.  Depends on customers

B.  Radiating mains
D.  None of the above

37.  All buried small- and medium-sized valves shall be installed in the sidewalk for safety.

A.  True
B.  False 

38.  For large shutoff valves, it is necessary to surround the valve operator or entire valve within a vault or manhole to allow?

A.  Bluestakes

C.  Repair or replacement

B.  Testing

D.  None of the above

Gate Valves

39.  If the valve is wide open, the gate inside the valve is _______________ into the valve bonnet. 

A.  Fully drawn up

C.  Fully closed

B.  Fully down


D.  None of the above

Ball Valves

40.  Ball valves should be either fully-on or fully-off, some ball valves also contain a swing check located within the ball to give the valve a check valve feature. 

A.  True

B.  False

Valve Exercising 

41.  Valve exercising should be done once per year to locate inoperable valves due to freezing or build-up of rust or corrosion and to detect minimum flow restriction and to prevent valves from becoming frozen or damaged. 

A.  True

B.  False

Water Pressure

42.  20 psi is the minimum pressure required at any point in the water system, so that ____________________ is prevented.

A.  Cavitation

C.  Backflow and infiltration

B.  Back pressure
D.   None of the above
43.  Which of the following is provided from the direct force of the water, or by the height of the water? 

A.  Pressure

C.  Maximum daily use
B.  System integrity
D.   None of the above
44.  2.31 feet of water is equal to 1 psi, or 1 foot of water is equal to about a half a pound (.433 pounds to be exact).

A.  True
B.  False

45.  For ordinary domestic use, water pressure should be between 25 and 45 psi. 

A.  True
B.  False

Water Use or Demand

46.  Water system demand comes from many sources including residential, commercial, industrial and public consumers as well as waste and some? 

A.  Pressure

C.  Unavoidable loss

B.  System integrity
D.   None of the above

47.  The combination of storage reservoirs and distribution lines must be capable of meeting consumers’ needs for pressure at all times. 

A.  True
B.  False

48.  The quantity of water used in any community varies from 100 to 200 gallons per person per day.

A.  True
B.  False

49.  Which of the following is highly desired and represents a rather significant demand upon the system?

A.  Fire protection

C.  Surge protection

B.  Cavitation protection
D.   None of the above

50.  A common design usage assumption is to plan for the usage of 100 to 150 gallons per person per day for average domestic use. 

A.  True
B.  False

51.  The maximum daily use is approximately 3 to 5 times the average daily use. 

A.  True
B.  False

52.  Which of the following is usually encountered during the summer months and can vary widely depending on irrigation practices?

A.  Maximum daily use

C.  Unavoidable loss and waste

B.  Minimum daily use

  
D.   None of the above

Water Storage Introduction

53.  Which of the following prevents contamination of water as it travels to the customer, finished water storage facilities are an important component of the protective distribution system?

A.  Backwater protection
C.  Barrier
B.  Compaction protection
D.  None of the above  

Storage and Distribution

54.  Proper construction is important in maintaining system integrity and the distribution system must also protect? 

A.  The nearby environment 
C.  Water quality
B.  Vegetation


D.  None of the above  

Water Storage Facilities 

55. Water storage facilities and tanks vary in different types that are used in the water distribution systems, such as standpipes, elevated tanks and reservoirs, hydropneumatic tanks and?

A.  Surge tanks


C.  Storage reservoirs


B.  Water distribution systems 
D.  None of the above  

56.  Which of the following can be converted to pressure potential energy or kinetic energy for delivery to homes?

A.  Hydrostatic
 power

C.  Hydraulic power
B.  Stored energy

D.  None of the above  

Storage Reservoirs

57.  The text recommends that _____________ be located at a high enough elevation to allow the water to flow by gravity to the distribution system. 

A.  Storage reservoirs


C.  Tree systems
B.  Levelers


 
D.  None of the above  

Steel Reservoirs

58.  Steel reservoirs or tanks generally have higher construction and installation costs than concrete, and require less maintenance. 

A.  True
B.  False

59.  Steel tanks should be inspected once a year and repainted every 5-7 years.  

A.  True
B.  False

Groundwater Treatment/Production System Section 

Groundwater and Wells

60.  When toxic substances are spilled or dumped near a well, these can leach into _____________________and contaminate the groundwater drawn from that well.
A.  Karst

C.  Soil moisture

B.  Aquifer

D.  None of the above
61.  Which of the following flows slowly through water-bearing formations at different rates?

A.  Groundwater
C. Soil moisture

B.  Drinking water
D.  None of the above
62.  The level below which all the spaces in the ground are filled with water is called the? 

A.  Unconfined aquifer(s)
C.  Well(s)

B.  Water table

D.  None of the above
63.  The area above the water table lies the? 

A.  Unsaturated zone

C.  Saturated zone

B.  Karst


D.  None of the above
64.  The water in the saturated zone is called?

A.  Unconfined aquifer(s)
C.  Water table 

B.  Groundwater

D.  None of the above
65.  Which of the following terms are cracks, joints, or fractures in solid rock, through which groundwater moves? 

A.  Fractured aquifer(s)
C.  Soil moisture

B.  Karst


D.  None of the above
66.  Limestone is often located in which of the following?   

A.  Unconfined aquifer(s)
C.  Fractured aquifer(s)

B.  Soil moisture

D.  None of the above
67.  Which of the following may move in different directions below the ground than the water flowing on the surface? 

A.  Water table
C. Soil moisture

B.  Groundwater
D.  None of the above
68.  Unconfined aquifers are those that are bound by the water table. Some aquifers lie beneath layers of impermeable materials. 

A.  True
B.  False

Cone of Depression 

69.  When well pumping begins, water begins to flow towards the well in contrast to the natural direction of groundwater movement.  

A.  True
B.  False

70.  During pumping, the water level in the well falls below the water table in the?

A.  Water table

C. Unconfined aquifer
B.  Surrounding aquifer
D.  None of the above
71. The movement of water from _________________ into a well results in the formation of a cone of depression. 

A.  Confined aquifer

C.  Water table

B.  An aquifer


D.  None of the above
72.  Which of the following describes a three-dimensional inverted cone surrounding the well that represents the volume of water removed as a result of pumping? 

A.  Water table
C. Cone of depression

B.  Groundwater
D.  None of the above
73.  Which of the following is the vertical drop in the height between the water level in the well prior to pumping and the water level in the well during pumping? 

A.  Drawdown

C. Cone of depression

B.  Groundwater
D.  None of the above
74.  When a water well is installed in ________________, water moves from the aquifer into the well through small holes or slits in the well casing or, in some types of wells, through the open bottom of the well?

A.  Confined aquifer

C.  Casing
B.  An unconfined aquifer
D.  None of the above
Where Is Ground Water Stored?

75.  Areas where ground water exists in sufficient quantities to supply wells or springs are called aquifers, that literally means?

A.  Water table
C. Cone of depression

B.  Water bearer
D.  None of the above
76.  Which of the following stores water in the spaces between particles of sand, gravel, soil, and rock as well as cracks, pores, and channels in relatively solid rocks? 

A.  Water table 
C.  Unconfined aquifer

B.  Aquifer(s)

D.  None of the above
77.  Which of the following is regulated largely by its porosity, or the relative amount of open space present to hold water?

A.  Water table

C.  An aquifer's storage capacity
B.  Groundwater

D.  None of the above
78.  Which of the following are frequently found at greater depths than unconfined aquifers? 

A.  Confined aquifer(s)
C.  Water table

B.  Unconfined aquifer(s)
D.  None of the above
Does Groundwater Move?

79.  Groundwater can move sideways as well as up or down. This movement is in response to gravity, differences in elevation, and?

A.  Permeable zones


C. Saturated zone

B.  Differences in pressure

D.  None of the above
80.  Groundwater can move even more quickly in karst aquifers, which are areas in ______________________ and similar rocks where fractures or cracks have been widened by the action of the ground water to form sinkholes, tunnels, or even caves?

A. Karst aquifer(s

C  Water soluble limestone
B. Saturated zone

D.  None of the above
Groundwater Quality

81.  The layers of soil and particles of sand, gravel, crushed rocks, and larger rocks were thought to act as filters, trapping contaminants before they could reach the ground water. 

A.  True
B.  False

82. It is known that some contaminants can pass through all  filtering layers into the __________________ to contaminate ground water.

A.  Permeable zones

C.  Saturated zone
B.  Unsaturated zone

D.  None of the above
How Does Ground Water Become Contaminated?

83.  Groundwater contamination can begin on the surface of the ground, in the ground above the water table, or in the ground below the?

A.  Water table
C.  Permeable zones

B.  Ground water
D.  None of the above
84.  If the contaminant is introduced straight into the area below _____________, the primary process that can affect the impact of the contaminant is dilution by the surrounding ground water. 

A.  Water table

C.  Unsaturated zone
B.  Saturated zone

D.  None of the above
What Kinds of Substances Can Contaminate Groundwater, and Where Do They Come from?

85.  Substances that can pollute _________________ can be divided into two basic categories: substances that occur naturally and substances produced or introduced by man's activities. 

A.  Synthetic organic chemical(s)
C.  Permeable zones 

B.  Groundwater


D.  None of the above
86. A substantial number of today's groundwater contamination problems stem from man's activities and can be introduced into ground water from?

A.  Contaminant(s)

C. A variety of sources
B. Saturated zone

D.  None of the above
Abandoned Wells

87.  If which of the following if abandoned without being properly sealed, it can act as a direct channel for contaminants to reach ground water?

A.  A well



C.  Supplies of clean ground water


B.  Alternative sources of water
D.  None of the above
What Can Be Done After Contamination Has Occurred?

88.  Rehabilitate the _______________ by either restaining or detoxifying the contaminants while they are still in the aquifer. 

A.   Aquifer     

C.  Supplies of clean ground water

B.   Contamination
D.  None of the above
Water Well Reports and Hydrogeology

Hydrogeologic Data

89.  For hydrogeologists to make reliable assessments about the current and future status of ground water, they need to know where ground water occurs in the subsurface, what the properties are of the various geologic units below the surface, and how fast and in what direction ground water is moving. 

A.  True
B.  False

Nature of the Aquifer

90.  An unconfined aquifer has the ______________ as its upper surface; there are no significant low-permeability layers between the water table and the surface.
A.  Hydraulic head

C.  Permeability area
B.  Water table

D.  None of the above
91.  According to the text, the top of the aquifer, can rise or fall depending on water use and amount of recharge to the aquifer and is called?

A.  Hydraulic head

C.  Permeability zone
B.  Water table

D.  None of the above
92.  Which of the following terms has a low-permeability geologic formation as its upper boundary?

A.  Hydraulic head

C.  A confined aquifer
B.  Water table

D.  None of the above
Hydraulic Head (h)

93.  The hydraulic head is a measure of the water at a certain depth because of its elevation and the pressure exerted through the weight of the water above it. 

A.  True
B.  False

94.  Which of the following has units of feet, and generally parallels to the elevation of water in the well? 

A.  Hydraulic head

C.  Permeability zone
B.  Water table

D.  None of the above
Permeability of the Aquifer (K)

95.  Which of the following ____________________ or the permeability of the aquifer is a measure of how fast ground water can move through the aquifer? 

A.  Hydraulic head

C.  Storage coefficient of the aquifer

B.  Hydraulic conductivity
D.  None of the above
96.  Which of the following terms has units of distance/time, e.g., feet/day, although it does not represent an actual speed?

A.  Hydraulic head

C.  Storage coefficient of the aquifer

B.  Hydraulic conductivity
D.  None of the above
In What Direction Is Groundwater Flowing?

97.  The direction of groundwater flow is from higher to lower?

A.  Hydraulic head

C.  Storage coefficient of the aquifer

B.  Hydraulic conductivity
D.  None of the above
98.  Which of the following can be measured by lowering a probe through the observation port of a number of wells, all within the same relative period?

A.  Hydraulic head

C.  Storage coefficient of the aquifer

B.  Hydraulic conductivity
D.  None of the above
What Is the Drawdown Associated with Pumping of a Well?

99.  There is a relationship between the pumping rate of the well, the transmissivity of the aquifer, the distance between wells, _____________, and the duration of the pumping event.

A.  Hydraulic head

C.  Storage coefficient of the aquifer

B.  Hydraulic conductivity
D.  None of the above
Depth to First Water-Bearing Zone

100.  Some report the depth at which water is first encountered in? 

A.  The drill hole

C.  Recharge and discharge zone(s)

B.  Static water level (SWL)
D.  None of the above
Static Water Level

101.  The driving force for ground water movement is the hydraulic head, and the ____________ is a measure of that force. 

A.  Hydrogeologic investigation(s)
C.  Recharge and discharge zone(s)

B.  Static water level (SWL)

D.  None of the above

(S) Means the answer can be plural or singular in nature
102.  Identifying where one aquifer ends and another begins is key to identifying the source of the yield for individual wells. Although this often can be determined by careful review of the lithologic log provided by the well constructor, the transition from one aquifer to the next can be indicated by a marked change in the recharge and discharge zones

A.  True
B.  False

103.  Which of the following is a better gauge that a different aquifer has been encountered than the lithologic description? 

A.  Water-bearing zone(s)

C.  Recharge and discharge zone(s)

B.  SWL



D.  None of the above
104. Which of the following have important effects in groundwater protection and identifying the relation between area groundwater and local streams?

A.  Water-bearing zone(s)

C.  Recharge and discharge zone(s)

B.  SWL



D.  None of the above

Water-Bearing Zones

105.  In some cases, the screened or perforated portions of cased wells provide a clue, but all too often, the screened interval is significantly less than the actual static water level. 

A.  True
B.  False

106.  Arriving at accurate approximations of aquifer parameters or calculating ground water velocity requires us to know the thickness of the?

A.  Water-bearing zone(s)

C.  Recharge and discharge zone(s)

B.  SWL



D.  None of the above

Contributions of Well Constructors to Hydrogeology
107.  The well report document stresses the importance of data that is recorded on well reports and how that data influences hydrogeologic investigations. 

A.  True
B.  False

108.  Well constructors can provide important inputs to the science by making careful observations and measurements when recording that data on the?

A.  Static water level

C.  Local ground water systems

B.  Well report


D.  None of the above
How Wells Are Drilled

109.  Drilling fluids are often used during drilling in order to keep the drill bit sharp while drilling is done. 

A.  True
B.  False

Basic Rotary Drilling Methods

110.  Rotary drilling uses two methods that include: direct and reverse mud rotary, direct air rotary, and?

A.  Advanced methods
C.  Drill through casing driver methods
B.  Typical drilling fluid(s) 
D.  None of the above
The Rotary Drill String

111.  Rotary drilling methods use a drill string, which typically consists of a bit, collar, drill pipe and?   

A.  The drill collar
C.  A kelly 

B.  A clevis

D.  None of the above
112.  Which of the following is a section of heavy walled pipe that can be hexagonal, square, or rounded with grooves?  

A.  The flighting
C.  A kelly

B.  The plug

D.   None of the above
113.  Which of the following are normally used in unconsolidated to semi-consolidated sand, silt, and clay-rich formations?  

A.  The drill collar
C.  Roller bit(s)

B.  Drag bit(s)

D.  None of the above
114.  Drag bits come in many shapes and sizes and cut with a shearing action aided by the jetting of drilling fluids from?

A.  The drill collar

C.  Shock absorber (floating sub)

B.  Nozzles or jets in the bit
D.  None of the above
Direct Rotary Method

115.  The drilling fluid that is pumped by __________________ and/or air compressor is jetted out of ports in the bit.  

A.  The drilling fluid

C.  The cutting’s containment systems
B.  The rig’s mud pump
D.   None of the above
116.  The drilling fluid carries cuttings up the annular space between the drill pipe and formation and into mud pits or containment recirculating systems on the surface. 

A.  True
B.  False

117.  Which of the following pressurizes the borehole and helps to keep the hole open while removing cuttings?  

A.  The drilling fluid

C.  The cutting’s containment systems

B.  The rig’s mud pump
D.   None of the above

118. Large drill rigs may utilize __________________ that separate the cuttings from the drilling fluid before a pickup pump recirculates the drilling fluid back down the borehole, where the process is then repeated.  

A.  The drilling fluid

C.  The cutting’s containment systems

B.  The rig’s mud pump
D.   None of the above

119.  Mud pits may be dug into the ground adjacent to the rig in order to contain and settle cuttings from this ____________ before recirculating.  

A.  The flighting

C.  The drilling fluid

B.  The borehole

D.   None of the above
Drill through Casing Driver Method

120.  The drill through casing driver method drives casing into the borehole as the telescoping kelly advances. 

A. True
B.  False

121.  Which of the following is a specially designed hardened steel ring that is installed on the casing end?   

A.  Auger boring method(s)


C. The casing driver method

B.  The cutting shoe



D.  None of the above
122.  Which of the following is inserted into the casing and the casing is attached to the casing driver?   

A.  A hammer or roller bit
C.  The rig
B.  The drill string

D.  None of the above
123.  Cuttings rise to the surface with _______________ through the casing and exit through the casing driver.  

A.  The injected air



C.  The casing driver method

B.  The solid stem auger boring method
D.  None of the above
124.  According to the text as the borehole is drilled, the cuttings are then collected near?  

A.  A hammer or roller bit
C.  The rig

B.  The drill string

D.  None of the above

125.  Which of the following can continue until competent formation is encountered?

A.  A hammer or roller bit
C.  The addition of casing and drill string
B.  The drill string

D.  None of the above
126.  Which of the following is often used to install temporary casing in order to permit the installation of a well in unstable aquifers?  

A.  Auger boring method(s)

C. A rotating blade or spiral flange
B.  The casing driver method

D.  None of the above
127.  Which of the following may be used as a puller to remove the temporary casing following well construction?  

A.  The flighting
C.  The casing driver

B.  The plug

D.   None of the above
Auger Boring Methods

128.  Auger boring methods make use of __________________, which may be attached to a pilot bit and cutter head.  

A.  Auger boring method(s)

C. A rotating blade or spiral flange
B.  The casing driver method

D.  None of the above

129.  Which of the following along with the rotating action of the blade and cutting action of the pilot and/or cutter bits facilitates the boring process?  

A.  The flighting
C.  Down-force applied by the rig
B.  The plug

D.   None of the above
130.  Soil samples may be collected as cuttings rise or are brought to the surface, or they may be collected with?  

A.  Augers



C.  The solid stem auger boring method 

B.  Split spoon type sampler(s)
D.  None of the above
131.  Which of the following are capable of boring large diameter holes in excess of four feet in diameter?  

A.  Augers



C.  The solid stem auger boring method 

B.  Split spoon type sampler(s)
D.  None of the above

132.  According to the text, there are three primary types of __________________: solid stem, bucket, and hollow stem. 

A.  Auger boring method(s)

C. The casing driver method

B.  The bucket auger method

D.  None of the above
Selecting an Appropriate Well Site

133.  Before a well can be drilled a permit is normally required.  The permit helps to ensure that an appropriate location of the well is selected which reduces the possibility of contamination. 

A.  True
B.  False

134.  The ideal well location has good drainage and is higher than?

A.  The quality of drinking water
C.  The surrounding ground surface

B.  The possibility of contamination
D.   None of the above
135.  Which of the following should be at a lower elevation than the well, and the distances to those contamination sources must be in accordance with the State or Local Water Well Construction Codes?  

A.  Surface drainage(s)


C.  All possible sources of contamination

B.  Preliminary aquifer parameters  

D.   None of the above
Common Well Construction Specifications

136.  Which of the following should always be located and constructed in such a manner that they yield safe water at all times and under all conditions?  

A.  Water wells
C.  A pumping test
B.  The aquifer
D.   None of the above
Choice of Casing 

137.  As with casing, the choice of well screen is as important as its placement, the size of the openings in the casing are dependent on the grain size of the filter or?

A. The anticipated flow rate

C. Gravel pack

B. The well



D.   None of the above

138.  According to the text, stainless steel casing and screens may be required for one situation, while PVC or low carbon steel may be acceptable in another.

A.  True
B.  False

Selecting an Optimum Pumping Rate

139.  Specific capacities for each of the pumping steps are compared.  The highest Sc observed is normally associated with?

A. The anticipated flow rate

C. The optimum pumping rate
B. The well



D.   None of the above
Pump and Motor Section  

Common Hydraulic Terms

140.  Which of the following definitions is the engineering science pertaining to liquid pressure and flow?

A.  Hydraulics
C.  Hydrokinetics

B.  Hydrology
D.  None of the above

141.  Which of the following definitions is the pressure exported by the atmosphere at any specific location? 

A.  Pressure, Atmospheric
C.  Pressure, Gauge

B.  Pressure, Static

D.  None of the above

142.  Which of the following definitions is pressure above zero absolute, i.e. the sum of atmospheric and gauge pressure?

A.  Pressure, Atmospheric
C.  Pressure, Gauge

B.  Pressure, Static

D.  None of the above

143.  Which of the following definitions is the force per unit area, usually expressed in pounds per square inch?

A.  Pressure, Absolute
C.  Pressure, Gauge

B.  Pressure


D.  None of the above

144.  Which of the following definitions is the pressure differential above or below ambient atmospheric pressure?

A.  Pressure, Absolute
C.  Pressure, Gauge

B.  Pressure


D.  None of the above

145.  Which of the following definitions is height of a column or body of fluid above a given point expressed in linear units? 

A.  Head, Friction 
C.  Head 


B.  Head, Static 
D.  None of the above

146.  Which of the following definitions is required to overcome the friction at the interior surface of a conductor and between fluid particles in motion? 

A.  Head, Friction 
C.  Head 


B.  Head, Static 
D.  None of the above

147.  Which of the following definitions is the pressure in a fluid at rest?

A.  Head, Friction 
C.  Head 


B.  Pressure, Static
D.  None of the above

148.  Which of the following definitions is the height of a column or body of fluid above a given point?

A.  Head, Friction 
C.  Head 


B.  Head, Static 
D.  None of the above

149.  Sea level pressure is approximately 2.31 pounds per square inch absolute, 1 bar = .433psi.

A.  True
B.  False
General Pumping Fundamentals

150.  Here are the important points to consider about suction piping when the liquid being pumped is below the level of the pump: Sometimes suction lift is also referred to as ‘positive suction head’.

A.  True
B.  False
151.  According to the text, suction lift is when the level of water to be pumped below the?

A.  Impeller
 
C.  Centerline of the pump

B.  Suction

D.  None of the above

152.  The suction side of pipe should be one diameter smaller than the pump inlet. 

A.  True
B.  False
153.  The required eccentric reducer should be turned so that the top is flat and the bottom tapered.

A.  True
B.  False
Pumps

154.  Pumps are excellent examples of? 

A.  Hydrostatics 


C.  Multi-stage pumps

B.  Quasi-static devices

D.  None of the above

155. Positive displacement pumps have a piston (or equivalent) moving in a closely-fitting cylinder and forces are exerted on the fluid by motion of the piston. 

A.  True
B.  False

156.  More complicated pumps have valves check valves that open to allow _________, and close automatically to prevent reverse flow. 

A.  Pistons 

C.  Passage in one direction

B.  Diaphragms
D.  None of the above

157. According to the text, the force pump has ___________________in the cylinder, one for supply and the other for delivery. 

A.  Two check valves

C.  Rotors

B.  Diaphragms 

D.  None of the above

158.  Ina positive displacement pump, supply valve opens when the cylinder  __________, the delivery valve when the cylinder volume decreases. 

A.  Volume increases

C.  Air space increases

B.  Volume decreases

D.  None of the above

Pump Categories

159.  The key to understanding a pump’s operation is that a pump is to move water and generate the ___________ we call pressure. 

A.  Delivery force
C.  Diaphragm pressure

B.  Impeller force
D.  None of the above

160.  With a centrifugal pump the pressure is not referred to in pounds per square inch but rather as the equivalent in elevation, called?

A.  Inward force 
C.  Delivery force


B.  Head

D.  None of the above

Basic Water Pump

161.  The centrifugal pumps work by spinning water around in a circle inside a?

A.  Vortex
 
C.  Cylindrical pump housing

B.  Cylinder

D.   None of the above

162.  According to the text, without an inward force, an object will travel in a straight line and will not complete the?

A.  Circle

C.  Center 

B.  Distance 

D.  None of the above

163.  In a centrifugal pump, the inward force is provided by high-pressure water near the outer edge of the?

A.  Pump housing 
C.  Base

B.  Impeller blade(s)
D.  None of the above

164.  In the operation of the pump, the water at the edge of the _____________ inward on the water between the impeller blades and makes it possible for that water to travel in a circle. 

A.  Inward force 

C.  Center of the impeller

B.  Pump pushes

D.  None of the above

Types of Water Pumps

165.  The water production well industry almost exclusively uses Turbine pumps, which are a type of centrifugal pump.  

A.  True
B.  False

166.  The most common type of water pumps used for municipal and domestic water supplies are?  

A.  Axial flow
 


C.  Rotary pumps


B.  Variable displacement pumps
D.  None of the above

167. Which of the following will produce at different rates relative to the amount of pressure or lift the pump is working against? 

A.  Pump’s lifting capacity
C.  Variable displacement pump

B.  Atmospheric pressure
D.   None of the above 

168.  Impellers are rotated by the pump motor, which provides the ______________ needed to overcome the pumping head.   

A.  Pump’s lifting capacity
C.  Horsepower

B.  Atmospheric pressure
D.  None of the above 

169.  The size and number of stages, horsepower of the motor and _____________are the key components relating to the pump’s lifting capacity.  

A.  Pumping head

C.  Horsepower

B.  Atmospheric pressure
D.  None of the above 

170.  Which of the following terms are variable displacement pumps that are by far used the most?  

A.  Axial flow
 

C.  Turbine pumps

B.  Centrifugal pumps

D.  None of the above

171.  According to the text, the turbine pump utilizes impellers enclosed in single or multiple bowls or stages to?  

A.  Pump head
C.  Horsepower

B.  Lift water

D.  None of the above 

172.  The shaft turns the impellers within the pump housing while the?  

A.  Desired pumping rate is obtained

C.  Water moves up the column

B.  Horsepower turns the shaft

D.  None of the above

173.  The rotating shaft in a line shaft turbine is housed within the column pipe that delivers the water to the surface.   

A.  True
B.  False

174.  The size of the ________________are selected based on the desired pumping rate and lift requirements.  

A.  Impeller(s)

C.  Column, impeller, and bowls

B.  Lantern ring 
D.  None of the above

175.  According to the text, column pipe sections can be threaded or coupled together while the drive shaft is coupled and suspended within the column by?

A.  Column pipe
C.  Lantern ring

B.  Spider bearings
D.  None of the above 

176.  The water passing through the column pipe serves as the lubricant for the bearings.  

A.  True
B.  False

177.  The second type of diaphragm pump works with volumetric positive displacement, but differs in that the prime mover of the diaphragm is neither oil nor air; but is? 

A.  Electro-mechanical

C.  Volumetric positive displacement

B.  Chamber pressure 

D.  None of the above 

Safety Section 
Confined Space Entry Program - Purpose

178.  The Confined Space Entry Program is provided to protect authorized employees that will enter confined spaces from safety or health hazards associated with confined spaces. 

A.  True
B.  False

Scope

179.  According to the text, you are required to recognize __________________ associated with confined spaces.

A.  Internal configurations 


C. The dangers and hazards

B.  Permit-Required Confined Spaces
D.  None of the above 

Definitions

Confined space:

180.  A confined space is large enough or so configured that an employee can ________________.

A.  Have sufficient oxygen


C.  Recognize serious safety or health hazards

B.  Bodily enter and perform work

D.   None of the above

181.  A confined space has limited or restricted means for _____________________.

A.  An internal configuration 

C.  Hazardous atmosphere
B.  Entry or exit


D.  None of the above

182.  A confined space is not designed for ______________________.

A.  An internal configuration

C.  Continuous employee occupancy 

B.  Hazardous atmospheres

D.  None of the above

183.  
A permit required confined space (permit space) contains or has a potential to contain a ____________________.

A.  Recognized external configuration 
C.  Entry or exit

B.  Hazardous atmosphere


D.  None of the above 

184.  A permit required confined space (permit space) contains a material that has __________________.

A. Unauthorized entrants

C. The potential for engulfing an entrant

B. Non-hazardous atmospheres
D.  None of the above

185.  
A permit required confined space (permit space) has an internal configuration such that _______________ could be trapped or asphyxiated by inwardly converging walls or by a floor which slopes downward and tapers to a smaller cross-section.

A.  An entrant 


C.  An internal configuration 



B.  Hazardous atmosphere
D.  None of the above

186.  
A permit required confined space (permit space) contains any other recognized serious safety or ________________.

A.  Engulfing an entrant 

C.  Health hazard

B.  Hazardous atmospheres

D.  None of the above

187.  
Each _______________________ must be marked "Confined Space - Entry Permit Required".

A.  Permit-Required Confined Space

C.  Entry or exit

B.  Hazardous atmosphere


D.  None of the above 

Confined Space Hazards

188. 
Fatalities and injuries constantly occur among construction workers who are required to enter __________________.

A.  An internal configuration 

C.  Confined spaces
B.  Hazardous atmosphere

D.  None of the above 

189.   Workers encounter both inherent and _______________ within confined workspaces.

A.  An internal configuration 

C. Hazardous atmosphere   
B.  Induced hazards


D.  None of the above 

Inherent Hazards

190.  
______________ are associated with specific types of equipment and the interactions among them.  These hazards can be electrical, thermal, chemical, mechanical, etc.

A.  Inherent hazards


C.  Recognized serious safety or health hazards

B.  Hazardous atmospheres

D.  None of the above

191.  
Inherent hazards include high voltage, radiation generated by equipment, ___________, omission of protective features, high or low temperatures, high noise levels, and high-pressure vessels and lines. 

A.  Defective design 


C.  An internal configuration 



B.  Hazardous atmosphere

D.  None of the above 

192.  
Inherent hazards usually cannot be eliminated without degrading or shutting down the system or equipment. Therefore, emphasis must be placed on __________________.

A.  Hazard control methods

C.  Continuous employee occupancy

B.  Hazardous atmospheres

D.  None of the above

Induced Hazards

193. 
________________ result from a multitude of incorrect decisions and actions that occur during the actual construction process.

A.  Induced hazards


C.  Build-up of explosive gases

B.  Below-grade locations

D.  None of the above

194. 
Some examples of induced hazards are: omission of protective features, physical arrangements that may cause unintentional worker contact with electrical energy sources, oxygen-deficient atmospheres created at the bottom of pits or shafts, lack of safety factors in structural strength, and ______________________.

A.  Common confined spaces

C.  Extreme temperatures 

B. Flammable atmospheres

D.  None of the above

Typical Examples of Confined Workspaces 

195.  
Confined workspaces in construction contain _____________________.

A.  Purging agents 


C.  Both inherent and induced hazards

B.  Below-grade location

D.  None of the above

Vaults

196.
Workers must enter ________________ found on the construction jobsite to perform a number of functions.

A.  Common confined spaces

C.  A variety of vaults

B.  Hazards



D.  None of the above

197.
The restricted nature of vaults and their frequently ________________ are reasons that vaults have an assortment of safety and health problems.

A.  Purged atmosphere 

C.  Explosive atmosphere

B.  Below-grade location

D.  None of the above

Oxygen-Deficient Atmosphere

198.
The ever-present possibility of ______________________ is one of the major problems confronting construction workers while working in vaults.

A.  A common confined space
C.  An oxygen-deficient atmosphere 

B.  Vaults



D.  None of the above

Explosive or Toxic Gases, Vapors, or Fumes

199.
__________________ produce toxic fumes which are confined in the limited atmosphere of a confined space.

A.  Purging agents 

C.  Welding and soldering


B.  Below-grade locations
D.  None of the above

Excavation and Trenching Section

200.  According to the text, the _____________________ was revised because excavating is the most dangerous of all construction operations. 

A.  Competent rule


C.  Emergency rule

B.  OSHA excavation standard
D.  None of the above

201.
OSHA also revised the __________________ to clarify the requirements.

A.  Competent rule

C.  Protective equipment standard

B.  Existing standard

D.  None of the above

202.
The performance criteria in the new standard provides employers with options when classifying soil and when selecting methods to protect the _____________ from cave-ins.

A.  Competent person 
C.  Construction equipment

B.  Employee


D.  None of the above

203.
Although employers have options when meeting some of the requirements, __________ must realize that the employee must be protected at all times.

A.  Competent persons 
C.  Contractors

B.  Employers


D.  None of the above

204.
Professional engineers will be required in some situations to plan or design the excavation and/or method of protecting the worker.

A.  True
B.  False

Competent Person

205.
Competent person means one who can identify existing hazards in the surroundings or working conditions which are unsanitary, hazardous, or dangerous to employees. The __________________ has authorization to take prompt corrective measures to eliminate identified hazards.

A.  Competent person 
C.  Watchman

B.  Contractor


D.  None of the above

206.
A _______________ must have specific training in and be knowledgeable about soils analysis, the use of protective systems and the requirements of 29 CFR Part 1926.650-652 Subpart P.

A.  Competent person 

C.  Watchman

B.  Contractor 



D.  None of the above

207.
Everyone is required to practice _____________________ one a year. 

A.  Competent person training
C.  Emergency procedures

B.  Rescue training exercises

D.  None of the above

Competent Person Duties

208.
The competent person performs daily inspections of the protective equipment, ________________, safety equipment, and adjacent areas.  

A.  Work progress

C.  Trench conditions

B.  Construction Crew

D.  None of the above

209.
The competent person shall make ______________ prior to the start of work and as needed throughout the shift. 

A.  Personnel assignments
C.  Inspections

B.  Training available

D.  None of the above

210.
The competent person shall make ______________ after every rainstorm or other hazard occurrence.

A.  Inspections

C.  Protective equipment available

B.  Training available

D.  None of the above

211.
The competent person must have knowledge of ______________________, telephone or radio dispatch.

A.  Personnel assignments

C.  Emergency contact methods

B.  Work schedules


D.  None of the above

212.
The competent person removes employees and ______________________ from hazardous conditions and makes all changes necessary to ensure their safety.

A.  Competent persons 
C.  Protective equipment

B.  All other personnel 
D.  None of the above

213.
The competent person makes sure that all _____________ have proper protective equipment, hard-hats, reflective vests, steel-toed boots, harnesses, eye protection, hearing protection and drinking water.

A.  Competent persons 
C.  Employees

B.  Contractors

D.  None of the above

Scope of Work

214.
According to the text, during excavation work a competent person shall be on the job site at all times when personnel are working within or around the _____________.

A.  Competent person 
C.  Excavation


B.  Contractors

D.  None of the above

215.
Prior to opening an excavation, the estimated locations of ______________________ that reasonably may be expected to be encountered during excavation work shall be determined.  

A.  Unauthorized persons 

C.  Underground utility installations

B.  Employees



D.  None of the above

216.
__________________ shall be taken to protect employees against the hazards posed by water accumulation in the excavation.

A.  Additional care


C.  Ladders

B.  Adequate precautions

D.  None of the above

217.
According to the text, employees shall be protected from excavations and other materials or equipment that could pose a hazard by falling or rolling into excavations.  

A. True
B.  False

218.
In trench excavations that are four (4') feet or more in depth, a stairway, ladder, or ramp shall be used as a ________________.

A.  Tool



C.  Bridge

B.  Means of access or egress
D.  None of the above

219.
The Ladder(s), stairway(s), or ramp shall be spaced so that no employee in the trench excavation is more than fifty (50') feet from a means of egress.

A.  True
B.  False

220.
When excavations are made in vehicular traffic areas, _______________ shall wear a warning vest made with reflective material or highly visibility material.

A.  Competent persons

C.  Rescue personnel

B.  Each employee


D.  None of the above

221.
The air shall be tested in excavations where __________________ exist, or could be reasonably expected to exist.

A.  Limited visibilities

C.  Oxygen deficiency or gaseous conditions

B.  Employees


D.  None of the above

222.
When the atmosphere contains less than 19.5 percent oxygen, the area must be continuously ventilated until the _____________________.

A.  Excavation is closed

C.  Oxygen levels are above 19.5 percent

B.  Employees enter the space
D.  None of the above

223.
Where a _____________________, the area shall be ventilated until the flammable gas concentration is below 20 percent of the LFL (lower flammable limit).

A.  Competent person requires monitoring
C.  Worker encounters fumes

B.  Gaseous condition exists


D.  None of the above

224.
Whenever ___________________ exist or could reasonably exist, the air must be monitored continuously to assure that workers are protected.

A.  Traffic conditions

C.  Oxygen deficiency or gaseous conditions

B.  Excavations

D.  None of the above

225.
Where the stability of adjoining buildings, walls or other structures are ______________, shoring, bracing, or underpinning shall be provided to ensure the stability of such structures for the protection of employees.

A.  Not a concern



C.  Endangered by excavation operations

B.  Not mentioned in the specifications
D.  None of the above

226.
In situations where sidewalks, pavement and appurtenant structures may be undermined, a support system such as shoring must be provided to protect ____________ from the possible collapse of such structures.

A.  Unauthorized persons

C.  Vehicles

B.  Employees



D.  None of the above

Personnel Protective Systems

227.
According to the text, employees in _______________ shall be protected from cave-ins by an adequate protective system, which shall be inspected by a competent person.

A.  Excavations


C.  Protective systems

B.  Vehicles



D.  None of the above

228.
The use of ________________ is required for all excavations deeper than five (5') feet, except when excavation is within stable rock.

A.  Tables 

C.  Protective systems
B.  Tabulated data
D.  None of the above

229.
For trench excavations less than five (5') feet deep, the use of _________________ may not be required unless there is evidence of a potential cave-in.  The competent person shall make this determination.

A.  Ladders


C.  Ramps  
B.  Protective systems
D.  None of the above

230.
Requirements for sloping, benching or protective systems are found in ______________. 

A.  Safety Manuals

C.  CFR 1926.652 (OSHA Construction Standards)

B.  Tabulated data

D.  None of the above

231.
Whenever support systems, _________________, or other protective systems are being used, a written copy of the manufacturer's specifications, recommendations, and limitations sheet shall be available at the job site.

A.  Shield systems

C.  Ramps

B.  Tabulated data

D.  None of the above

Excavation Protection Systems

232.
There are three basic protective systems for excavations and trenches. They are sloping and benching systems, _____________, and shields.

A.  Shoring

C.  Attendants

B.  Ramps

D.  None of the above

233.
Every employee in an excavation or trench shall be protected from _______________ by an adequate protective system.

A.  Unauthorized persons
C.  Polluted air

B.  Cave-ins


D.  None of the above

Sloping and Benching Systems


234.
An option for sloping is to slope to the angle required by OSHA Construction Standards for Type C, which is the most _______________.

A.  Unstable soil type


C.  Porous soil type

B.  Stable soil type


D.  None of the above

235.
Another option for sloping is to first determine the soil type, then use the table provided in Appendix B of the standard to determine the _______________________. 

A.  Maximum allowable angle

C.  Protective system to be used

B.  Porosity



D.  None of the above

236.
Another option for sloping is to utilize _______________ prepared by a registered professional engineer. 

A.  Instructions


C.  Standards



B.  Tabulated data


D.  None of the above

237.
According to the text, a registered professional engineer can design a _______________ for a specific job. 

A.  Table 

C.  Protective system

B.  Sloping plan
D.  None of the above

238.
______________________ for excavations five (5) to twenty (20) feet in depth must be constructed in accordance with the instructions of a designated competent person.
A.  Sloping and benching systems
C.  Trench excavation limits 

B.  Tabulated data


D.  None of the above

239.
A registered professional engineer must design and stamp the sloping and benching systems for excavations _____________________.

A.  Greater than twenty (20) feet deep
C.  To be made by contractors

B.  In traffic areas



D.  None of the above

Shoring Systems

240.
____________ is another protective system that utilizes a framework of vertical members, horizontal members, and cross braces to support the sides of the excavation to prevent a cave-in.

A.  Shoring


C.  Lateral support

B.  Tabulated data

D.  None of the above

Shield Systems (Trench Boxes)

241.
Shielding is the third method of providing a safe workplace in excavations.  Unlike sloping and shoring, _______________ does not prevent a cave-in.

A.  Shielding 


C.  Soil testing
B.  Tabulated data

D.  None of the above

242.
Shields are designed to ________________________, thereby protecting the employees working inside the structure.

A.  Withstand the soil forces caused by a cave-in
C.  Bend but not break

B.  Keep water out of the excavation
D.  None of the above

243.
Design and construction of _______________ is not covered in the OSHA Standards.

A.  Sloping and benching systems
C.  Protective systems

B.  Shielding



D.  None of the above

Safety Precautions for Shield Systems 

244.
There must not be any lateral movement of ___________ when installed.

A.  Sloping and benching systems
C.  Ladders

B.  Shields



D.  None of the above

245.
To protect employees from cave-ins when entering and exiting the shield, a ladder within the ____________ or a properly sloped ramp at the end shall be provided.

A.  Shield

C.  Tabulated data

B.  Jobsite

D.  None of the above

246.  According to the text, employees are not allowed in the ________________ during installation, removal, or during any vertical movement. 

A.  Sloping and benching systems
C.  Vicinity of the excavation

B.  Shield



D.  None of the above

(S) Means the answer can be plural or singular in nature
247.
Shields can be installed 2 ft. above the bottom of an excavation, if they are designed to ______________________. 

A.  Tabulated data


C.  Be easily removed

B.  Resist loads at the full depth
D.  None of the above

248.
The exposed excavation wall at the __________________ must be sloped, shored, or shielded.

A.  Excavation site


C.  Traffic side of the excavation

B.  Open end of the shield

D.  None of the above

Personal Protective Equipment

249.
______________ requires that employees wear a hard hat, safety glasses, and work boots on the jobsite.

A.  The contractor 
C.  Recommended practice

B.  OSHA policy
D.  None of the above


Excavation & Trenching Guidelines

250.
Procedures and guidelines for the protection of employees working in and around excavations and trenches must be in compliance with OSHA Standards described in Subpart P (CFR 1926.650) for the construction industry.

A.  True
B.  False

251.
According to the text, the competent person(s) must be trained in accordance with the OSHA Excavation Standard, and all other programs that may apply, and must demonstrate a thorough understanding and knowledge of the programs and the hazards associated.

A.  True
B.  False

252.
All other employees working in and around the excavation must be trained to recognize the hazards associated with ____________________.

A.  OSHA Standards


C.  Personal protective equipment

B.  Trenching and excavating

D.  None of the above


Hazard Controls

253.
Knowing the location of underground installations is a good idea because it could make the work go faster. 

A.  True
B.  False

254.
All overhead hazards (surface encumbrances) must be removed or supported to __________________.

A.  Meet OSHA Standards


C.  Eliminate the hazard

B.  Make trenching and excavating easier
D.  None of the above


255.
If ____________ will be over 20 feet deep, it must be designed by a registered professional engineer.

A.  An excavation


C.  Construction equipment

B.  A means of access or egress
D.  None of the above


256.
_______________________, such as sloping, shoring, or shielding, will be utilized to protect employees.

A.  Adequate protective systems
C.  Soil testing

B.  Soil classifications


D.  None of the above

257
An excavation safety plan must be developed to protect employees.

A.  True
B. False

258.
Workers must be supplied with, and wear, any __________________ deemed necessary to protect them while working in excavations. 

A.  Uniforms

C.  Personal protective equipment

B.  Apparel

D.  None of the above

259.
All ________________ must be stored at least two (2) feet from the sides of the excavation. The spoil pile must not block the safe means of egress.

A.   Safety plans
C.  Spoil piles

B.   Barricades
D.  None of the above


260.
If a trench or excavation is 4 feet or deeper, stairways, ramps, or ladders must be provided as a safe means of access and egress.  Employees working in trenches must not have to travel any more than 25 feet laterally to reach a ___________________.

A.  Stairway, ramp, or ladder

C.  Benched area

B.  Safe area



D.  None of the above

261.
No employee will be permitted to work in an excavation where _____________ is accumulating unless adequate protection measures are used to protect the employees.

A.  Construction debris
C.  Spoil

B.  Water


D.  None of the above


262.
All excavations and trenches must be inspected daily by a _______________, prior to employee exposure or entry. Trenches and excavations will also be inspected after any rainfall, soil change, or any other time needed during the shift.

A.  Professional engineer
C.  Competent person

B.  Supervisor


D.  None of the above

263.
When excavations and trenches 4 feet or deeper have the potential for toxic substances or _________________, the air will be tested at least daily.

A.   Cave-ins



C.  Hazardous atmospheres

B.   Unauthorized workers

D.  None of the above


264.
If work is in or around traffic, __________________ must be utilized to ensure the safety of employees, vehicular traffic, and pedestrians.

A.  Signs and barricades

C.  Additional personnel

B.  Soil classifications


D.  None of the above

Excavation Safety Plan

265.
A written excavation safety plan is required. This plan is to be developed to the level necessary to ensure complete compliance with the ____________________ and state and local safety standards.

A.   Professional engineer’s requirements
C.   Protective systems 


B.   OSHA Excavation Safety Standard
D.  None of the above


Soil Classification and Identification

266.
The Simplified Soil Classification System defined by OSHA Standards consists of four categories: ___________, Type A, Type B, and Type C.  

A.  Stable rock


C.  Stiff clay

B.  Gravel


D.  None of the above


267. Type A soils are _______________ with an unconfined compressive strength of 1.5 tons per square foot (TSF) or greater.  

A.   The least stable


C.  Field tested

B.   Cohesive soils


D.  None of the above


268.
Examples of Type A soils are _________________ like caliche and hardpan.

A.  Cemented soils

C.  Uncommon soils

B.  Soil classifications

D.  None of the above 

Soil Test & Identification

269.
The competent person will classify the _________________ according to the definitions in Appendix A of the OSHA standard based on at least one visual and one manual analysis. 

A.  Shields 

C.  Cohesion tests

B.  Soil type 

D.  None of the above 

270.
Soil classification tests should be run on freshly excavated samples from the excavation and are designed to determine soil stability based on a number of criteria.

A.  True
B.  False

271.
Clay, silt, and sand are __________________. Clay particles are the smallest, silt particles are intermediate, and sand particles are the largest.

A.  Very cohesive

C.  Size classifications

B.  Corrosive


D.  None of the above 

272.
The degree of ______________ and plasticity of a soil depends on the amounts of clay, silt, sand, and water present.

A.  Compatibility

C.  Durability

B.  Cohesiveness

D.  None of the above 

273.
The soil in an excavation is subject to change several times within the scope of a project and the __________________ will vary with weather and job conditions.

A.  Shields 

C.  Moisture content

B.  Shoring

D.  None of the above 

274.
According to the text, the competent person must also determine the level of protection based on what conditions exist at the time of the test, and _____________________.

A.  Available equipment 
C.  Allow for changing conditions

B.  Tabulated data

D.  None of the above 

Shielding

275.
Shielding does not prevent cave-ins. Instead, it protects the workers in the event of a cave-in.

A.  True
B.  False

276.
When placed in an excavation, shields have sufficient structural strength to support the _____________________, thereby protecting the employees in the trench.

A.  Nearby structures


C.  Force of a cave-in should one occur

B.  Construction vehicles

D.   None of the above 

277. 
Most ____________ have two flat, parallel metal walls which are held apart by metal cross braces which are placed at the ends of the “box.” This allows for the installation of pipe within the interior dimensions of the shield.

A.  Shields 



C.  Shoring systems

B.  Reputable manufacturers

D.  None of the above 

278.
An operation where a contractor excavates just enough trench to install the shield, then sets a joint of pipe, then excavates further, then pulls the shield forward to install another joint while the first is being backfilled, is known as “________________”. 

A.  Shielding


C.  Standard practice

B.  Cut and cover

D.  None of the above 

279.
Shields in trenches must be installed so as to prevent __________________ in the event of a cave-in

A.  Lateral movement


C.  Cohesion tests

B.  Damage to equipment

D.  None of the above 

280.
According to the text, shields may ride two feet above the bottom of an excavation, provided they are calculated to support the full depth of the excavation and there is no ______________ under or behind the shield.

A.  Caving

C.  Spoil



B.  Material

D.  None of the above 

281.
Workers must be protected when entering or leaving the shield by using a ____________ within the shield or a properly sloped ramp at the end.

A.  Shield 

C.  Support

B.  Ladder

D.  None of the above 

282.
Workers must exit the shield during its installation, removal, or _________________.

A.  Inclement weather

C.  During vertical movement 

B.  Soil testing


D.  None of the above 

283.
The excavation wall at the __________________ should be sloped, shored or shielded off to prevent a cave-in from the end.

A.  Side of the shield

C.  Open end of the shield


B.  End of the job

D.  None of the above 

284.
If the excavation is deeper than the ________________, attached shields of the correct specifications may be used. As an alternative, the excavation may be sloped back to the maximum allowable angle from a point 18 inches below the top of the shield.

A.  Planned depth
C.  Designed depth 

B.  Shield is tall
D.  None of the above 

Inspections

285.
The excavations, adjacent areas, and protective systems shall be inspected daily by the _________________.

A.  Contractor


C.  Competent person

B.  Employees


D.  None of the above 

286.
During inspections, the competent person shall look for evidence of a situation that could result in a cave-in, indications of ______________________, hazardous atmospheres or other hazardous conditions.

A.  Failure of protective systems
C.  OSHA compliance

B.  Poor workmanship


D.  None of the above 

(S) Means the answer can be plural or singular in nature
287.
All _____________ shall be conducted by the competent person prior to the start of work, as needed throughout the shift, and after every rainstorm or other increasing hazard. 

A.  Inspections 


C.  OSHA compliance inspections

B.  Writing of excavation reports
D.  None of the above 

Water Quality Section

Three Types of Public Water Systems 

​288.  Approximately 52,000 systems serving the majority of the U.S. population

A.  TNCWS
C.  NTNCWSs 

B.  CWSs 
D.  None of the above
​289.  Provides water to the same people at least six months a year, but not all year (for example: schools, factories, churches, office buildings that have their own water system)

A.  TNCWS
C.  NTNCWSs 

B.  CWSs 
D.  None of the above

290.  Approximately 18,000 water systems

A.  TNCWS
C.  NTNCWSs 

B.  CWSs 
D.  None of the above

291.  Provides water to the same population year-round for example: homes, apartment buildings.

A.  TNCWS
C.  NTNCWSs 

B.  CWSs 
D.  None of the above

292.  Approximately 85,000 systems

A.  TNCWS
C.  NTNCWSs 

B.  CWSs 
D.  None of the above

293.  Provides water where people do not remain for long periods of time, for example: gas stations, campgrounds.

A.  TNCWS
C.  NTNCWSs 

B.  CWSs 
D.  None of the above

Managing Water Quality at the Source

294.   Contingent upon the region, source water may have several restrictions of use as part of a Water Shed Management Plan. In some areas, it may be restricted from recreational use, discharge or runoff from agriculture, or________________________ . 
A.  Excess nutrients

C.  Industrial and wastewater discharge
B.  Biological actions 

D.  None of the above
295.  Another characteristic of quality control is aquatic plants. The ecological equilibrium in lakes and reservoirs plays a natural part in purifying and sustaining the life of the lake.  Certain vegetation removes the excess nutrients that would promote the growth of algae. Too much algae will imbalance the lake and kill fish.

A.  True
B.  False

Physical Characteristics of Water
296.  Physical characteristics are the elements found that are considered alkali, metals, and non-metals such as carbonates, fluoride,___________________. The consumer relates it to scaling of faucets or staining. 
A.  pH and alkalinity

C.  Powdered activated carbon and chlorine
B.  Sulfides or acids

D.  None of the above
297.  Total Dissolved Solids (TDS) is not a primary pollutant; it is a gauge of appealing water characteristics such as hardness and an indication of an assortment of chemical contaminants that might be present, such as? 

A.  Turbidity

C.  Arsenic
B.  Colloids

D.  None of the above

298.  pH is the negative logarithm of the hydrogen ion concentration, [H+], a measure of the degree to which a solution is______________________________ .  
A.  Alkalinity

C.  Hydrogen ion (H+)
B.  Acidic or alkaline
D.  None of the above
299.  _________________ is a substance that can give up a hydrogen ion (H+); a base is a substance that can accept H+. 

A.  Acid

C.  Acidic or alkaline
B.  Base
 
D.  None of the above
300.  The more acidic a solution the greater the hydrogen ion concentration and the lower the pH; a pH of 7.0 indicates neutrality, a pH of less than 7 indicates acidity, and a pH of more than 7 indicates ____________________.  

A.  Acid

C.  Alkalinity
B.  Base
 
D.  None of the above
pH Testing Section

301.  When an atom loses ___________and thus has more protons than electrons, the atom is a positively-charged ion or cation. 

A.  A proton


C.  An electron 

B.  Charge


D.  None of the above

302.  Measurement of pH for aqueous solutions can be done with a glass electrode and a pH meter, or using indicators like strip test paper.

A.  True
B.  False
303.  In chemistry, pH is a measure of the acidity or basicity of an aqueous solution. Solutions with a pH greater than 7 are said to be acidic and solutions with a pH less than 7 are basic or alkaline. 

A.  True
B.  False
304.  Pure water has a pH very close to?

A.  7

C.  7.7

B. 7.5

D.  None of the above

305. _____________________________ are determined using a concentration cell with transference, by measuring the potential difference between a hydrogen electrode and a standard electrode such as the silver chloride electrode.

A.  Primary pH standard values
C.  pH measurement(s)
B.  Alkalinity



D.   None of the above
306.  Mathematically, pH is the negative logarithm of the activity of the (solvated) hydronium ion, more often expressed as the measure of the?

A.  Electron concentration
C.  Hydronium ion concentration
B.  Alkalinity concentration
D.   None of the above
307.  Which of the following terms for aqueous solutions can be done with a glass electrode and a pH meter, or using indicators?

A.  Primary sampling

C.  Determining values
B.  Measurement of pH
D.  None of the above
308.  pH is defined as the decimal logarithm of the reciprocal of the_____________, aH+, in a solution. 

A.  Hydrogen ion activity

C. Brønsted–Lowry acid–base theory

B.  Acid-base behavior

D.  None of the above

309.  Which of the following terms may be used to measure pH, by making use of the fact that their color changes with pH?

A. Indicators


C.  A set of non-linear simultaneous equations

B. Spectrophotometer

D.  None of the above
310.  Alkalinity is the name given to the quantitative capacity of an aqueous solution to neutralize an? 

A.  Acid

C.  Bond formation
B.  Base

D.  None of the above
Objections to Hard Water

Scale Formation

311.  Hard water forms scale, usually__________________, which causes a variety of problems. Left to dry on the surface of glassware and plumbing fixtures, including showers doors, faucets, and sink tops; hard water leaves unsightly white scale known as water spots. 
A.  Magnesium carbonate
C.  Calcite


B.  Calcium carbonate
D.  None of the above

What are Disinfection Byproducts (DBPs)? 
312.  Which of the following form when disinfectants used to treat drinking water react with naturally occurring materials in the water?

A.  Chloramines

C.  Disinfection byproducts (DBPs)
B.  Humic and fulvic acids
D.  None of the above
313.  Total trihalomethanes and haloacetic acids are widely occurring _____________ formed during disinfection with chlorine and chloramine. 

A.  Gases


C.  Classes of DBPs

B.  Substances

D.  None of the above
Disinfection Byproduct Research and Regulations Summary

314._________________is unquestionably the most important step in the treatment of water for drinking water supplies. 
A. DBP(s)


C.  Disinfection
B. Turbidity (particle)

D.  None of the above
Bacteriological Monitoring Section

TCR 

315.  The TCR recommends most of the Public Water Systems (PWS) to monitor their distribution system for bacteria according to the written sample sitting plan for that system. 
A.  True
B.  False 

316.  The sample sitting plan identifies sampling frequency and locations throughout the distribution system that are selected to be representative of conditions in the entire system. 

A.  True
B.  False 

317.  Coliform contamination may occur anywhere in the system, possibly due to problems such as; high pressure conditions, line fluctuations, or wells, and therefore routine monitoring is required. 

A.  True
B.  False 

Routine Sampling Requirements 

318.  For PWSs collecting more than one sample per month, collect total coliform samples at regular intervals throughout the month, except that ground water systems serving 4,900 or fewer people may collect all required samples on a single day if the samples are taken from different sites.

A.  True
B.  False 

319.  Each total coliform-positive (TC+) routine sample must be tested for the presence of heterotrophic bacteria. 

A.  True
B.  False 

320.  Total coliform samples must be collected by PWSs at sites which are representative of water quality throughout the distribution system according to a written sample sitting plan subject to state review and revision. 

A.  True
B.  False 

321.  If any TC+ sample is also E. coli-positive (EC+), then the EC+ sample result must be reported to the state by the end of the month that the PWS is notified. 

A.  True
B.  False 

322.  If any routine sample is TC+, repeat samples are required. – PWSs on quarterly or annual monitoring must take a minimum of one additional routine samples (known as additional routine monitoring) the quarter following a TC+ routine or repeat sample. 

A.  True
B.  False 

323.  Reduced monitoring is general available for PWSs using only surface water and serving 1,000 or fewer persons that meet certain additional PWS criteria.
A.  True
B.  False 

Dangerous Waterborne Microbes 
324.  Which of the following is a parasite that enters lakes and rivers through sewage and animal waste. It causes cryptosporidiosis, a mild gastrointestinal disease. The disease can be severe or fatal for people with severely weakened immune systems. 

A.  Coliform Bacteria 
C.  Giardia lamblia

B.  Cryptosporidium
D.  None of the above
Basic Types of Water Samples 

325. It is important to properly identify the type of sample you are collecting. 

A.  True

B.  False 

The three (3) primary types of samples are:

326.  Samples collected following a coliform present routine sample. The number of repeat samples to be collected is based on the number of ____________ samples you normally collect.

A.  Repeat
C.  Routine

B.  Special
D.  None of the above

327.  A PWS fails to take every required repeat sample after any single TC+ sample
A.  Trigger: Level 1 Assessment 
C.  All of the above

B.  Trigger: Level 5 Assessment 
D.  None of the above

328.  A PWS on state-approved annual monitoring has a Level 1 Assessment trigger in 2 consecutive years.

A.  Trigger: Level 3 Assessment 
C.  All of the above

B.  Trigger: Level 2 Assessment 
D.  None of the above

329.  A PWS collecting fewer than 40 samples per month has 2 or more TC+ routine/ repeat samples in the same month. 

A.  Trigger: Level 1 Assessment 
C.  All of the above

B.  Trigger: Level 5 Assessment 
D.  None of the above

Positive or Coliform Present Results

330.  If you are notified of a positive coliform test result you need to contact either the Drinking Water Program or your local county health department within 72 hours, or by the next business day after the MCL compliance violation

A.  True
B.  False 

331.  With a positive total coliform sample, after you have contacted an agency for assistance, you will be instructed as to the proper repeat sampling procedures and possible corrective measures for solving the problem. It is very important to initiate the _______________as the corrective measures will be based on those results.

A.  Perform routine special procedures
C.  Corrective samples
B.  Repeat sampling immediately

D.  None of the above
Revised Total Coliform Rule (RTCR) Summary

332.  EPA published the Revised Total Coliform Rule (RTCR) in the Federal Register (FR) on February 13, 2013 (78 FR 10269). It is the revision to the 1989 Total Coliform Rule (TCR). 
A.  True

B.  False

333.  The RTCR upholds the purpose of the 1989 TCR to protect public health by ensuring the duplicity of the drinking water distribution system and monitoring for the absence of microbial contamination.

A.  True
B.  False 

334.  The RTCR establishes criteria for systems to qualify for and stay on for special increased monitoring, which could reduce water system problems for better system operation.

A.  True
B.  False 

335.  The water provider shall develop and follow a sample-sitting plan that designates the PWS's collection schedule. This includes location of___________.

A.  Routine and repeat water samples
C.  Microbial contamination
B.  Reduced monitoring


D.  Repeat water samples

336.  The water provider shall collect _______________________on a regular basis (monthly, quarterly, annually). Have samples tested for the presence of total coliforms by a state certified laboratory.

A.  Routine water samples
C.  Microbial contamination
B.  Reduced monitoring
D.  Repeat water samples

337.  PN is required for violations incurred. Within required timeframes, PWS must use the required health effects language and notify the public if they did not comply with certain requirements of the RTCR. The type of ____________ depends on the severity of the violation.

A.  CCR(s)
C.  MCL violation

B.  PN

D.  TC+ routine or repeat sample

338.  The water provider shall analyze all ________________ that are total coliform positive (TC+) for E. coli.

A.  Routine or repeat water samples
C.  Microbial contamination
B.  Reduced monitoring

D.  Repeat water samples

339.  The RTCR requires public water systems (PWSs) to meet a legal limit for E. coli, as demonstrated by required monitoring.

A.  True
B.  False 

340.  The RTCR suggests the frequency and timing of required microbial testing based on, public water type and source water type.

A.  True
B.  False 

Disinfection Key
341.  The RTCR requires 99.99% or 4 log inactivation of _____________ .
A.  Enteric viruses
C.  Giardia lamblia cysts

B.  Crypto

D.  None of the above

342.  The RTCR requires 99% or 2 log inactivation of _________________ .
A.  Enteric viruses
C.  Giardia lamblia cysts

B.  Crypto

D.  None of the above

343.  The RTCR requires 99.9% or 3 log inactivation of ___________________. 
A.  Enteric viruses
C.  Giardia lamblia cysts

B.  Crypto

D.  None of the above

344.  The RTCR requires the chlorine residual leaving the plant must be = or __________ mg/L and measurable throughout the system.

A. > 0.2  
C. 0.2

B.  2.0

D.  None of the above

Chain of Custody Procedures 

345.  If both parties involved in the transfer must sign, date and note the time on the chain of custody record, this is known as? 

A.  TC Plan 


C.  Samples transfer possession

B.  Sample siting plan 
D.  None of the above
346.  The recipient will then attach the _______________showing the transfer dates and times to the custody sheets. If the samples are split and sent to more than one laboratory, prepare a separate chain of custody record for each sample.

A.  Shipping invoices

C.  Sample sitting plan

B.  Chain of custody release
D.  None of the above
(S) Means the answer can be plural or singular in nature
Factors in Chlorine Disinfection: Concentration and Contact Time 

347.  Based on the work of several researchers, CXT values [ final free chlorine concentration (mg/L) multiplied by minimum contact time (minutes)], offer water operators guidance in computing an effective combination of chlorine concentration and ___________________required to achieve disinfection of water at a given temperature. 

A.  Chlorine concentration
C.  Higher strength chlorine solutions
B.  Chlorine contact time
D.  None of the above
348.  The CXT formula demonstrates that if an operator chooses to decrease the chlorine concentration, the required _____________must be lengthened. 
A.  Chlorine concentration
C.  Contact time

B.  Temperature

D.  None of the above
349.  As ___________________ are used, contact times may be reduced.

A.  Chlorine concentration
C.  Higher strength chlorine solutions

B.  Temperature

D.  None of the above
Advanced Water Treatment Section 
350.  Water contains _________________ of which impart a quality known as hardness? 

A.  TDP

C.  Various amounts of dissolved minerals

B.  Conductivity 
D.  None of the above   

Occurrence of Hard Water

351. Which of the following is caused by soluble, divalent, metallic cations, (positive ions having valence of 2)? 

A.  Hard water


C. Carbonate softness
B.  Permanent softness
D.  None of the above   

352.  Water hardness varies considerably and is due to different geologic formations, and is also a function of the contact time between water and?

A.  Low pH



C.  Limestone deposits

B.  Carbonate-noncarbonate

D.  None of the above   

Types of Hardness

353.  Hardness can be categorized by either of two methods: calcium versus magnesium hardness and?

A.  Carbonate softness
C. Carbonate versus non-carbonate hardness 

B.  Temporary hardness 
D.  None of the above   

Disinfection Section 
Chlorine’s Appearance and Odor 

354.  Chlorine is a greenish-yellow gas it will condense to an amber liquid at approximately ______________F or at high pressures. 

A.  -29.2 degrees

C.  29 degrees

B.  – 100 degrees

D.  None of the above
Chlorine Gas

Pathophysiology

355.  As far as chlorine safety and respiratory protection, the intermediate ___________of chlorine accounts for its effect on the upper airway and the lower respiratory tract. 

A.  Effects of Hydrochloric acid
C.  Water solubility
B.  Vapor from Chlorine gas

D.  None of the above
356.  Respiratory exposure to ____________ may be prolonged because its moderate water solubility may not cause upper airway symptoms for several minutes.

A.  Hydrochloric acid

C. Plasma exudation

B.  Chlorine gas

D.  None of the above
357.  The odor threshold for chlorine gas is approximately? 

A.  0.3-0.5 parts per million (ppm)
C.  3-5 parts per million (ppm)

B.  3 parts per million (ppm)

D.  None of the above
Mechanism of Activity 

358.  Chlorine gas feeds out of the cylinder through a gas regulator.  The cylinders are on a scale that operators use to measure the amount used each day.  The chains are used to prevent the tanks from falling over. 

A.  True
B.  False
Early Response to Chlorine Gas 

359.  If you mix ammonia with chlorine gas, this compound reacts to form___________. 

A.  Chloramine gas

C.  Sulfuric gas
B.  Chlorine gas

D.  None of the above
Reactivity

360.  Cylinders of chlorine may burst when exposed to elevated temperatures. When Chlorine is in solution, this forms?

A.  Hydrogen sulfide

C.  A corrosive material

B.  Oxomonosilane

D.  None of the above
361.  What is formed when chlorine is in contact with combustible substances (such as gasoline and petroleum products, hydrocarbons, turpentine, alcohols, acetylene, hydrogen, ammonia, and sulfur), reducing agents, and finely divided metals? 

A.  Fires and explosions
C.  Moisture, steam, and water
B.  Odor thresholds 

D.  None of the above
362.  Contact between chlorine and arsenic, bismuth, boron, calcium, activated carbon, carbon disulfide, glycerol, hydrazine, iodine, methane, oxomonosilane, potassium
, propylene, and silicon should be avoided. 

A.  True  
B.  False

363.  Chlorine reacts with hydrogen sulfide and water to form which substance? 

A.  Hydrogen sulfide

C.  Chlorinates 

B.  Hydrochloric acid

D.  None of the above
364.  According to the text, chlorine is also incompatible with? 

A.  Plastic

C.  Moisture, steam, and water 
B.  Palladium

D.  None of the above
Flammability

365.  When there is a fire that involves Chlorine, the firefight should be fought downwind from the minimum distance possible. 

A.  True  
B.  False

366.  Keep unnecessary people away; isolate the hazard area and deny entry. For a massive fire in a cargo area, use unmanned hose holders or monitor nozzles; if this is impossible, withdraw from the area and let the fire burn. Emergency personnel should stay out of low areas and Ventilate closed spaces before entering. 

A.  True  
B.  False

367.  The effectiveness of chlorination depends on the _______________ of the water, the concentration of the chlorine solution added, the time that chlorine is in contact with the organism, and water quality. 

A.  Chlorine residual

C.  Oxygen

B.  Chlorine demand

D.  None of the above
368.  Chlorine may not be available for disinfection because _____________ in the water (like iron, manganese, hydrogen sulfide, and ammonia). 

A.  pH increases 




C.  Required contact time

B.  Part of it combines with other chemicals

D.  None of the above
369.  The amount of chlorine required to achieve disinfection and that reacts with the other chemicals is the? 

A.  Chlorine residual

C.  Free chlorine 

B.  Chlorine demand

D.  None of the above
370.  Which term is used when disinfection decreases, as the concentration of the chlorine increases? 

A.  pH increases 



C.  Required contact time

B.  Chlorine level and water quality

D.  None of the above
371.  Chlorination is more effective as? 

A.  Water temperature increases
C. Water cools down

B.  Chlorine demand


D. None of the above
372.  Chlorination becomes more alkaline and is less effective as the? 

A.  Water's pH increases

C.  Required contact time is maximized

B.  Water quality increases

D.  None of the above
373.  Chlorination is less effective in?

A.  Clear water


C.  Day time

B.  Cloudy (turbid) water

D.  None of the above
374.  By adding a little more chlorine to what is already sufficient, this action will generally result in ____________that can be measured easily. 

A.  pH increases 


C.  Required contact time

B.  A free chlorine residual

D.  None of the above
Chlorination Chemistry

375.  The hypochlorite ion is a much weaker disinfecting agent than Hypochlorous acid, about 100 times less effective.

A.  True  
B.  False

376.  According to the text, pH and temperature affect the ratio of hypochlorous acid to hypochlorite ions. As the temperature decreases, the ___________________increases. 

A.  Reduction Ratio


C. "CT" disinfection concept
B.  Ratio of hypochlorous acid
D.  None of the above
377.  Under normal water conditions, hypochlorous acid will also chemically react and break down into the hypochlorite ion. 

A.  True  
B.  False

378.  Although the ratio of _____________ is greater at lower temperatures, pathogenic organisms are actually harder to kill. 

A.  Hypochlorous acid

C. Total chlorine
B.  The amount of chlorine 
D.  None of the above
379.  If all other things were equal, _________ and a lower pH are more conducive to chlorine disinfection.

A.  Lower pH


C.  Higher water temperatures

B.  Hypochlorous acid

D.  None of the above
380.  All three forms of chlorine produce Sodium hypochlorite when added to water. 

A.  True  
B.  False

381.  Hypochlorous acid is a strong acid but a weak disinfecting agent. The amount of hypochlorous acid depends on the pH and temperature of the water. 

A.  True  
B.  False

Chlorine DDBP 
382.  These term means that chlorine is present as ClINCLUDEPICTURE "F:\\..\\..\\..\\Operator cert\\PDH\\wrap40.xbm" \* MERGEFORMAT \d \z", HOCl, and OCl¯ is called ______________, and that which is bound but still effective is ________________. 

A. Free available chlorine and Total


B. Free and Residual





C. Free available chlorine and Combined Chlorine
D.  None of the above
383.  Chloramines are formed by reactions with?

A.  Acid and Cl2

C. Folic Acid and Cl2

B.  Ammonia and Cl2

D.  None of the above


Types of Residual

384. Which of the following is all chlorine that is available for disinfection?

A. Chlorine residual
C.  Total chlorine

B. Chlorine savings
D.  None of the above
Chlorine Exposure Limits

385.  What is OSHA’s PEL?  

A.  10 PPM

C.  1,000 PPM

B.  1 PPM

D.  None of the above

386.  Chlorine’s Physical and chemical properties: A yellowish green, nonflammable and liquefied gas with an unpleasant and irritating smell.  

A.  True

B.  False

387.  Liquid chlorine is about __________ times heavier than water 

A.  1.5

C.  2.5

B.  10 

D.  None of the above

388.  Gaseous chlorine is about _____________ times heavier than air.
A.  1.5

C.  2.5

B.  10 

D.  None of the above

Alternate Disinfectants - Chloramine

389.  It is recommended that Chloramine be used in conjunction with a stronger disinfectant. It is best utilized as a?
A. Chloramine 

C.  Stable distribution system disinfectant 

B.  T10 value disinfectant
D.  None of the above
390.  In the production of ____________________, the ammonia residuals in the finished water, when fed in excess of stoichiometric amount needed, should be limited to inhibit growth of nitrifying bacteria.

A.  Dry sodium chlorite 

C.  Ammonia residual(s) 

B.  Chloramines


D.  None of the above 

Chlorine Dioxide

391.  Which term provides good Giardia and virus protection, but its use is limited by the restriction on the maximum residual of 0.5 mg/L ClO2/chlorite/chlorate allowed in finished water?

A.  Chlorinated byproducts
C.  Ammonia residual(s) 

B.  Chlorine dioxide 

D.  None of the above 

392.  If chlorine dioxide is being used as an oxidant, the preferred method of generation is to entrain or ____________________ into a packed reaction chamber with a 25% aqueous solution of sodium chlorite (NaClO2).

A.  Chloramine 

C.  Chlorine dioxide 

B.  Chlorine gas

D.  None of the above
393.  Which chemical is explosive and can cause fires in feed equipment if leaking solutions or spills are allowed to dry out?

A.  Dry sodium chlorite 
C.  Ammonia 

B.  Chlorine dioxide 

D.  None of the above 

394.  Chlorine dioxide may be used for either taste or odor control or as a?

A.  Chloramine 
D.  Gas  

B.  Pre-disinfectant
D.  None of the above
395.  Total residual oxidants (including chlorine dioxide and chlorite but excluding Chlorine dioxide) shall not exceed 0.50 mg/L during normal operation or 0.30 mg/L (including chlorine dioxide, chlorite and chlorate) during periods of extreme variations in the raw water supply.

A.  True   
B.  False

Ozone

396. Ozone is a very effective disinfectant for both Giardia and viruses
A.  True   
B.  False

397.  Ozone does not produce chlorinated byproducts (such as trihalomethanes) but it may cause an increase in such byproduct formation if it is fed ahead of free chlorine; ozone may also produce its own oxygenated byproducts such as Cl2 + NH4. 

A.  True   
B.  False

398.  Ozonation must include adequate ozone leak detection alarm systems, and an ozone off-gas destruction system.

A.  True   
B.  False

399.  When determining Ozone CT (contact time) values must be determined for the ozone basin alone; an accurate _____________ must be obtained for the contact chamber, and residual levels. 

A.  Residual 
C.  Contact time 

B.  T10 value
D.  None of the above

400.  Ozone does not provide a system residual and should be used as a primary disinfectant only in conjunction with? 

A.  Dry sodium chlorite 
C.  Free and/or combined chlorine

B.  Chlorine dioxide 

D.  None of the above
When Finished with Your Assignment

REQUIRED DOCUMENTS

Please scan the Registration Page, Answer Key, Survey and Driver’s License and email these documents to info@TLCH2O.com.

IPhone Scanning Instructions

If you are unable to scan, take a photo of these documents with your iPhone and send these photos to TLC, info@TLCH2O.com.

FAX

If you are unable to scan and email, please fax these to TLC, if you fax, call to confirm that we received your paperwork. (928) 468-0675

34
5
Distribution 36 Hours Assignment                                                      TLC © 1/7/2026    www.abctlc.com


