## Registration form

WATER MONITORING COURSE

48 HOUR RUSH ORDER PROCESSING FEE ADDITIONAL $50.00

Start and Finish Dates: ________________________________________________________

You will have 90 days from this date in order to complete this course

List number of hours worked on assignment must match State Requirement.  ______________

Name________________________________Signature_______________________________

I have read and understood the disclaimer notice on page 2.  Digitally sign XXX

Address____________________________________________________________________

City_____________________________________State_________________Zip___________

Email________________________________________ Fax (_____) _____________________

Phone:

Home (_____) _______________________       Work (_____) __________________________

Operator ID #________________________________________________Exp. Date________

# Please circle/check which certification you are applying the course CEU’s.

Water Treatment ___   Water Distribution ___    Other ___________________________

Technical Learning College   TLC PO Box 3060, Chino Valley, AZ 86323

Toll Free (866) 557-1746    Fax (928) 272-0747   info@tlch2o.com

If you’ve paid on the Internet, please write your Customer#________________________

Please invoice me, my PO#___________________________________________________

Please pay with your credit card on our website under Bookstore or Buy Now.  Or call us and provide your credit card information.

We will stop mailing the certificate of completion so we need either your fax number or e-mail address.  We will e-mail the certificate to you, if no e-mail address; we will fax it to you.

DISCLAIMER NOTICE

I understand that it is my responsibility to ensure that this CEU course is either approved or accepted in my State for CEU credit. I understand State laws and rules change on a frequent basis and I believe this course is currently accepted in my State for CEU or contact hour credit, if it is not, I will not hold Technical Learning College responsible.  I also understand that this type of study program deals with dangerous conditions and that I will not hold Technical Learning College, Technical Learning Consultants, Inc. (TLC) liable for any errors or omissions or advice contained in this CEU education training course or for any violation or injury or neglect or damage caused by this CEU education training or course material suggestion or error.  I will call or contact TLC if I need help or assistance and double-check to ensure my registration page and assignment has been received and graded.

State Approval Listing Link, check to see if your State accepts or has pre-approved this course.  Not all States are listed. Not all courses are listed.  If the course is not accepted for CEU credit, we will give you the course free if you ask your State to accept it for credit.

Professional Engineers; Most states will accept our courses for credit but we do not officially list the States or Agencies. Please check your State for approval.

State Approval Listing URL…

http://www.abctlc.com/downloads/PDF/CEU%20State%20Approvals.pdf

You can obtain a printed version of the course manual from TLC for an additional $169.95 plus shipping charges.

AFFIDAVIT OF EXAM COMPLETION

I affirm that I personally completed the entire text of the course.  I also affirm that I completed the exam without assistance from any outside source.  I understand that it is my responsibility to file or maintain my certificate of completion as required by the state or by the designation organization.

Grading Information

In order to maintain the integrity of our courses we do not distribute test scores, percentages or questions missed. Our exams are based upon pass/fail criteria with the benchmark for successful completion set at 70%. Once you pass the exam, your record will reflect a successful completion and a certificate will be issued to you.

Rush Grading Service

If you need this assignment graded and the results mailed to you within a 48-hour period, prepare to pay an additional rush service handling fee of $50.00.  This fee may not cover postage costs.  If you need this service, simply write RUSH on the top of your Registration Form.  We will place you in the front of the grading and processing line.

For security purposes, please fax or e-mail a copy of your driver’s license and always call us to confirm we’ve received your assignment and to confirm your identity.

CERTIFICATION OF COURSE PROCTOR

Technical Learning College requires that our students who takes a correspondence or home study program course must pass a proctored course reading, quiz and final examination.  The proctor must complete and provide to the school a certification form approved by the commission for each examination administered by the proctor.

Instructions. When a student completes the course work, fill out the blanks in this section and provide the form to the proctor with the examination.

Name of Course:

Name of Licensee:

Instructions to Proctor. After an examination is administered, complete and return this certification and examination to the school in a sealed exam packet or in pdf format.

I certify that:

1.	I am a disinterested third party in the administration of this examination.  I am not related by blood, marriage or any other relationship to the licensee which would influence me from properly administering the examination.

2.	The licensee showed me positive photo identification prior to completing the examination.

3.	The enclosed examination was administered under my supervision on 		.  The licensee received no assistance and had no access to books, notes or reference material.

4.	I have not permitted the examination to be compromised, copied, or recorded in any way or by any method.

5.  Provide an estimate of the amount of time the student took to complete the assignment.

Time to complete the entire course and final exam. _____________________________

Notation of any problem or concerns:

Name and Telephone of Proctor (please print):

Signature of Proctor

Water Monitoring Answer Key

Name____________________________________

Phone ___________________________________

Did you check with your State agency to ensure this course is accepted for credit?

No refunds

You are responsible to ensure this course is accepted for credit.

Method of Course acceptance confirmation. Please fill this section

Website __ Telephone Call___ Email____  Spoke to_________________________

Did you receive the approval number, if applicable?  ________________________

What is the course approval number, if applicable?  _________________________

You can electronically complete this assignment in Adobe Acrobat DC.

Please Circle, Bold, Underline or X, one answer per question. A felt tipped pen works best.

- A B C D

- A B

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B

- A B

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B

- A B

- A B

- A B

- A B

- A B

- A B

- A B

- A B

- A B

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B

- A B

- A B

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B

- A B

- A B

- A B

- A B

- A B C D

- A B

- A B C D

- A B

- A B C D

- A B C D

- A B

- A B

- A B C D

- A B

- A B

- A B C D

- A B C D

- A B

- A B C D

- A B C D

- A B C D

- A B C D

- A B

- A B

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B

- A B C D

- A B

- A B

- A B

- A B C D

- A B C D

- A B

- A B C D

- A B C D

- A B

- A B C D

- A B C D

- A B

- A B

- A B

- A B

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B

- A B C D

- A B C D

- A B C D

- A B

- A B C D

- A B C D

- A B C D

- A B

- A B C D

- A B C D

- A B C D

- A B C D

- A B C D

- A B

- A B

- A B

- A B

- A B C D

- A B C D

Please e-mail or fax this survey along with your final exam

WATER MONITORING CEU COURSE

# CUSTOMER SERVICE RESPONSE CARD

NAME: ________________________________________________________________

E-MAIL__________________________________PHONE_______________________

PLEASE COMPLETE THIS FORM BY CIRCLING THE NUMBER OF THE APPROPRIATE ANSWER IN THE AREA BELOW.

Please rate the difficulty of your course.

Very Easy  	0	1	2	3	4	5     Very Difficult

Please rate the difficulty of the testing process.

Very Easy  	0	1	2	3	4	5     Very Difficult

Please rate the subject matter on the exam to your actual field or work.

Very Similar  	0	1	2	3	4	5     Very Different

How did you hear about this Course? ___________________________________________

What would you do to improve the Course?

_________________________________________________________________________

Any other concerns or comments.

Disclaimer Notice

I understand that I am 100 percent responsible to ensure that TLC receives the Assignment and Registration Key and that it is accepted for credit by my State or Providence.   I understand that TLC has a zero tolerance towards not following their rules, cheating or hostility towards staff or instructors.  I need to complete the entire assignment for credit.  There is no credit for partial assignment completion.  My exam was proctored. I will contact TLC if I do not hear back from them within 2 days of assignment submission. I will forfeit my purchase costs and will not receive credit or a refund if I do not abide with TLC’s rules.  I will not hold TLC liable for any errors, injury, death or non-compliance with rules.  I will abide with all federal and state rules and rules found on page 2.

Please Sign that you understand and will abide with TLC’s Rules.

______________________________________________________

Signature

### Please write down any questions you were not able to find the answers or that have errors.

When Finished with Your Assignment...

REQUIRED DOCUMENTS

Please scan the Registration Page, Answer Key, Proctoring report, Survey and Driver’s License and email these documents to info@TLCH2O.com.

IPhone Scanning Instructions

If you are unable to scan, take a photo of these documents with your iPhone and send these photos to TLC, info@TLCH2O.com.

FAX

If you are unable to scan and email, please fax these documents to TLC, if you fax, call to confirm that we received your paperwork. (928) 468-0675

Water Monitoring CEU Training Course Assignment

The Water Monitoring CEU course assignment is available in Word on the Internet for your convenience, please visit www.ABCTLC.com and download the assignment and e-mail it back to TLC.

You will have 90 days from receipt of this manual to complete it in order to receive your Professional Development Hours (PDHs) or Continuing Education Unit (CEU).  A score of 70 % or better is necessary to pass this course.  If you should need any assistance, please email or fax all concerns and the completed ANSWER KEY to info@tlch2o.com.

Select one answer per question.  Please utilize the answer key.  (s) on the answer will indicate either plural and singular tenses.

Hyperlink to the Glossary and Appendix

http://www.abctlc.com/downloads/PDF/WTGlossary.pdf

Water Quality Section

Surface (Raw) Water Introduction

1.  Operators need to appropriately treat surface water is never pure of____________, it.  Most of the earth’s water sources obtain their water supplies through precipitation.

A.  Excess nutrients		C.  Pollution

B.  Biological actions 		D.  None of the above

2.  Raw water generally contains varying amounts of dissolved minerals including calcium, magnesium, sodium, chlorides, sulfates and bicarbonates, depending on its source.

A.  True	B.  False

Surface Water Properties

3.  Water is accepted as the ____________________ because will dissolve most substances that comes in contact.

A.  Universal solvent		C.  Surface water

B.  Water quality		D.  None of the above

4.  Runoff could produce mud, leaves, decayed vegetation, and human and animal refuse. The discharge from industry could increase________________. Some lakes and reservoirs may experience seasonal turnover.

A.  Volatile organic compounds	C.  Excess nutrients

B.  Water quality			D.  None of the above

5.  Adjustments in the dissolved oxygen, algae, temperature, suspended solids, turbidity, and carbon dioxide will change because of ________________.

A.  Excess nutrients		C.  Discharge

B.  Biological actions 		D.  None of the above

Managing Water Quality at the Source

6.  Contingent upon the region, source water may have several restrictions of use as part of a Water Shed Management Plan. In some areas, it may be restricted from recreational use, discharge or runoff from agriculture, or________________________ .

A.  Excess nutrients		C.  Industrial and wastewater discharge

B.  Biological actions 		D.  None of the above

7.  The ________________ of the water will govern how these chemicals will react.

A.  pH and alkalinity		C.  Powdered activated carbon and chlorine

B.  Metals, and non-metals	D.  None of the above

Physical Characteristics of Water

8.  Physical characteristics are the elements found that are considered alkali, metals, and non-metals such as carbonates, fluoride,___________________. The consumer relates it to scaling of faucets or staining.

A.  pH and alkalinity		C.  Powdered activated carbon and chlorine

B.  Sulfides or acids		D.  None of the above

9.  _________________ is a substance that can give up a hydrogen ion (H+); a base is a substance that can accept H+.

A.  Acid		C.  Acidic or alkaline

B.  Base	 	D.  None of the above

10.  The more acidic a solution the greater the hydrogen ion concentration and the lower the pH; a pH of 7.0 indicates neutrality, a pH of less than 7 indicates acidity, and a pH of more than 7 indicates ____________________.

A.  Acid		C.  Alkalinity

B.  Base	 	D.  None of the above

11.  Total Dissolved Solids (TDS) is not a primary pollutant; it is a gauge of appealing water characteristics such as hardness and an indication of an assortment of chemical contaminants that might be present, such as?

A.  Turbidity		C.  Arsenic

B.  Colloids		D.  None of the above

12.  pH is the negative logarithm of the hydrogen ion concentration, [H+], a measure of the degree to which a solution is______________________________ .

A.  Alkalinity		C.  Hydrogen ion (H+)

B.  Acidic or alkaline	D.  None of the above

Alkalinity 
13.  Alkalinity is a measure of ___________________and can be interpreted in terms of specific substances only when the chemical composition of the sample is known.

A.  Hydrogen ion (H+)		C.  An aggregate property of water

B.  Alkaline earth metal 	D.  None of the above

14.  __________________ with an overabundance of alkaline earth metal concentrations is significant in determining the suitability of water for irrigation.

A.  Alkalinity		C.  Hydrogen ion (H+)

B.  Acid		D.  None of the above

Turbidity Introduction

15.  One physical feature of water is turbidity. A measure of the cloudiness of water caused by___________________. The cloudy appearance of water caused by the presence of tiny particles.

A.  Suspended particles	C.  Temperature fluctuation

B.  Variations			D.  None of the above

16.  The turbidity in natural surface waters is composed of a large number of sizes of particles. The sizes of particles can be changing constantly, depending on precipitation and _____________ factors.

A.  MCL		C.  Temperature

B.  Manmade		D.  None of the above

17.  Generally, higher turbidity levels require higher coagulant dosages. However, seldom is the relationship between turbidity level and ____________________linear.

A.  Coagulant dosage			C.  Temperature

B.  Total Dissolved Solids (TDS)	D.  None of the above

18.  Usually, the extra coagulant required is relatively small when turbidities are much higher than normal due to higher collision probabilities of the _______________ during high turbidities.

A.  Turbidity		C.  Total Dissolved Solids (TDS)

B.  Colloids		D.  None of the above

Turbidity MCL

19. An MCL for turbidity established by the EPA because _________________interferes with disinfection. This characteristic of water changes the most rapidly after a heavy rainfall.

A.  Conductivity	C.  Temperature

B.  Turbidity		D.  None of the above

20.  The temperature variation of a sample, a scratched or unclean sample tube in the nephelometer and selecting an incorrect wavelength of a light path may be conditions caused by an inaccurate ____________ measurement.

A.  Conductivity	C.  Temperature

B.  Turbidity		D.  None of the above

Dissolved Oxygen

21.  The level of dissolved oxygen in natural waters is often a direct indication of quality, since aquatic plants produce oxygen, while microorganisms generally consume it as they feed on _______________.

A.  Pollutants		C.  E. coli bacteria

B.  Organic matter	D.  None of the above

22.  Thermal stratification is possible as water becomes less dense when heated, meaning water weighs less per unit volume. Therefore, warmer water will be lighter and colder water will be heavier. Due to this, there will always be a level of “self-induced” ______________ in a water storage.

A.  Saturation level(s)		C.  Permanent hardness

B.  Thermal stratification	D.  None of the above

Objections to Hard Water

Scale Formation

23.  Hard water forms scale, usually__________________, which causes a variety of problems. Left to dry on the surface of glassware and plumbing fixtures, including showers doors, faucets, and sink tops; hard water leaves unsightly white scale known as water spots.

A.  Magnesium carbonate	C.  Calcite

B.  Calcium carbonate	D.  None of the above

Secondary Standard

24.  TDS is most often measured in parts per million (ppm) or milligrams per liter of water (mg/L). The normal TDS level ranges from ________________________

A.  50 ppm to 1,000 ppm	C. 50 ppm to 100 ppm

B.  5 ppm to 10 ppm 		D.  None of the above

Langelier Saturation Index

25.  The Langelier Saturation index (LSI) is an evenness scale derived from the theoretical concept of saturation and provides an indicator of the degree of saturation of water with respect to calcium carbonate. It can be shown that the Langelier saturation index (LSI) approximates the base 10 logarithm of the _____________saturation level.

A.  Magnesium carbonate	C.  Calcite

B.  Calcium carbonate	D.  None of the above

More on the Stage 2 DBP Rule

26.   Which of the following rules focuses on public health protection by limiting exposure to DBPs, specifically total trihalomethanes and five haloacetic acids, which can form in water through disinfectants used to control microbial pathogens?

A.  Stage 2 DBP rule		C. Long Term 2 Enhanced Surface Water Treatment Rule

B.  Stage 1 DBPR		D.  None of the above

27.  Safe Drinking Water Act (SDWA) has been highly effective in protecting public health and has evolved to respond to new and emerging threats to safe drinking water.

A.  True	B.  False

28.  Which of the following is one of the major public health advances in the 20th century?

A.  Disinfection of drinking water	C.  Amendments to the SDWA

B.  Water distribution			D.  None of the above

29.  There are specific microbial pathogens, such as__________________, which can cause illness, and are highly resistant to traditional disinfection practices.

A.  Cryptosporidium		C. Protozoa

B.  E. coli host culture  	D.  None of the above

30.  The Stage 1 Disinfectants and Disinfection Byproducts Rule and___________, promulgated in December 1998.

A.  Stage 1 DBPR	C.  Interim Enhanced Surface Water Treatment Rule

B.  Stage 2 DBPR  	D.  None of the above

31.  Which of the following rules will reduce potential cancer and reproductive and developmental health risks from disinfection byproducts?

A.  Stage 1 DBPR				C. Long Term 2 Enhanced Surface Water Rule

B.  Stage 2 DBPR				D.  None of the above

What are Disinfection Byproducts (DBPs)?

32.  Which of the following form when disinfectants used to treat drinking water react with naturally occurring materials in the water?

A.  Chloramines		C.  Disinfection byproducts (DBPs)

B.  Humic and fulvic acids	D.  None of the above

33.  Total trihalomethanes and haloacetic acids are widely occurring _____________ formed during disinfection with chlorine and chloramine.

A.  Gases			C.  Classes of DBPs

B.  Substances		D.  None of the above

All disinfectants form DBPs in one of two reactions:

34.  The EPA Surface Water Treatment Rule (SWTR) requires systems using public water supplies from either surface water or groundwater under the direct influence of surface water to disinfect.

A.  True	B.  False

## Public Health Concerns

35.  Results from toxicology studies have shown several DBPs (e.g., bromodichloromethane, bromoform, chloroform, dichloroacetic acid, and bromate) to be inert to laboratory animals.

A.  True	B.  False

Disinfection Byproduct Research and Regulations Summary

36.  _________________is unquestionably the most important step in the treatment of water for drinking water supplies.

A. DBP(s)			C.  Disinfection

B. Turbidity (particle)		D.  None of the above

37.  The ______________________should not be compromised because of concern over the potential long-term effects of disinfectants and DBPs.

A. DBP(s)			C.  Microbial quality of drinking water

B. Turbidity (particle)		D.  None of the above

38.  The risk of illness and death resulting from exposure to pathogens in drinking water is very much greater than the risks from______________.

A. Disinfectants and DBPs	C.  Natural organic matter precursors

B. Turbidity (particle)		D.  None of the above

Controlling Disinfection Byproducts

39.  Treatment techniques are available that provide water suppliers the opportunity to maximize potable water safety and quality while minimizing the risk of _____________ _.

A. DBP risks			C.  Disinfectants and DBPs

B. Turbidity (particle)		D.  None of the above

Coagulation and Clarification

40.  Most treatment plants optimize their coagulation process for ___________________removal.

A.  Inorganic coagulants	C.  Turbidity (particle)

B.  Most contaminants	D.  None of the above

41.  Coagulation processes can also be optimized for natural organic matter removal with higher doses of ____________________(such as alum or iron salts), and optimization of pH.

A.  THMs and HAAs		C.  Natural organic matter

B.  Inorganic coagulants	D.  None of the above

#### (S) Means the answer can be plural or singular in nature

Absorption

42.  Activated carbon can be used to absorb ______________ that react with disinfectants to form byproducts.

A.  Inorganic coagulants	C.  Soluble organics

B.  Most contaminants	D.  None of the above

Organisms Descriptors and Meanings

43.  Photo means...

A.  Feed or nourish		C.  Light

B.  Other (Organic carbon) 	D.  None of the above

44.  Organo means...

A.  Rock	C.  Light

B.  Organic 	D.  None of the above

45.  Auto means...

A.  Without air		C. Self (Inorganic carbon)

B.  With air 		D.  None of the above

46.  Facultative means...

A.  Without air			C. Self (Inorganic carbon)

B.  With air or without air	D.  None of the above

47.  Aerobic means...

A.  Without air		C. Self (Inorganic carbon)

B.  With air 		D.  None of the above

48.  Chemo means...

A.  Rock	C.  Chemical

B.  Organic 	D.  None of the above

49.  Hetero means...

A.  Feed or nourish		C.  Light

B.  Other (Organic carbon) 	D.  None of the above

50.  Troph means...

A.  Feed or nourish		C.  Light

B.  Other (Organic carbon) 	D.  None of the above

51.  Litho means...

A.  Rock	C.  Light

B.  Organic 	D.  None of the above

52.  Anaerobic means...

A.  Without air		C. Self (Inorganic carbon)

B.  With air 		D.  None of the above

Contaminants that may be present in sources of drinking water include:

53.  Which of the following can be synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and can come from gas stations, urban stormwater run-off, and septic systems?

A.  Organic chemical contaminants	C. Inorganic contaminants

B.  Pesticides and herbicides   	D. Microbial contaminants

54.  Which of the following can be naturally occurring or be the result of oil and gas production and mining activities?

A.  Radioactive contaminants   	C. Inorganic contaminants

B.  Pesticides and herbicides   	D. Microbial contaminants

55.  Which of the following like salts and metals, which can be naturally occurring or result from urban stormwater runoff, industrial or domestic wastewater discharges, oil and gas production, mining or farming?

A.  Radioactive contaminants   	C. Inorganic contaminants

B.  Pesticides and herbicides   	D. Microbial contaminants

56.  Which of the following may come from a variety of sources such as agriculture, urban stormwater run-off, and residential uses?

A.  Radioactive contaminants   	C. Inorganic contaminants

B.  Pesticides and herbicides   	D. Microbial contaminants

57.  Which of the following, such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations and wildlife?

A.  Microbial contaminants		C. Inorganic contaminants

B.  Pesticides and herbicides   	D. All of the above

Background

58.  Coliform bacteria and chlorine residual are the only routine sampling and monitoring requirements for small ground water systems with chlorination. The coliform bacteriological sampling is governed by the Coliform Reduction amendment of the SDWA.

A.  True	B.  False

TCR

59.  The sample sitting plan identifies sampling frequency and locations throughout the distribution system that are selected to be representative of conditions in the entire system.

A.  True	B.  False

60.  Coliform contamination may occur anywhere in the system, possibly due to problems such as; high pressure conditions, line fluctuations, or wells, and therefore routine monitoring is required.

A.  True	B.  False

61.  The TCR recommends most of the Public Water Systems (PWS) to monitor their distribution system for bacteria according to the written sample sitting plan for that system.

A.  True	B.  False

Routine Sampling Requirements

62.  Total coliform samples must be collected by PWSs at sites that are representative of water quality throughout the distribution system according to a written sample siting plan subject to state review and revision.

A.  True	B.  False

63.  For PWSs collecting more than one sample per month, collect total coliform samples at regular intervals throughout the month, except that ground water systems serving 4,900 or fewer people may collect all required samples on a single day if the samples are taken from different sites.

A.  True	B.  False

64.  Each total coliform-positive (TC+) routine sample must be tested for the presence of autotrophic bacteria.

A.  True	B.  False

65.  Reduced monitoring is general available for PWSs using only surface water and serving 1,000 or fewer persons that meet certain additional PWS criteria.

A.  True	B.  False

66.  If any TC+ sample is also E. coli-positive (EC+), then the EC+ sample result must be reported to the state by the end of the month that the PWS is notified.

A.  True	B.  False

67.  If any routine sample is TC+, repeat samples are required. – PWSs on quarterly or annual monitoring must take a minimum of one additional routine samples (known as additional routine monitoring) the quarter following a TC+ routine or repeat sample.

A.  True	B.  False

Dangerous Waterborne Microbes

68.  Which of the following is a parasite that enters lakes and rivers through sewage and animal waste. It causes cryptosporidiosis, a mild gastrointestinal disease. The disease can be severe or fatal for people with severely weakened immune systems.

A.  Coliform Bacteria 	C.  Giardia lamblia

B.  Cryptosporidium	D.  None of the above

69.  Which of the following are not necessarily agents of disease may indicate the presence of disease-carrying organisms?

A.  Fecal coliform bacteria	C.  Shigella dysenteriae

B.  Cryptosporidium		D.  None of the above

70.  Which of the following is a parasite that enters lakes and rivers through sewage and animal waste. It causes gastrointestinal illness (e.g. diarrhea, vomiting, and cramps)?

A.  Coliform Bacteria 	C.  Protozoa

B.  Cryptosporidium	D.  None of the above

71.  Which of the following is a species of the rod-shaped bacterial genus Shigella?

A.  Fecal coliform bacteria	C.  Shigella dysenteriae

B.  Cryptosporidium		D.  None of the above

72.  Which of the following can cause bacillary dysentery?

A.  Fecal coliform bacteria	C.  Shigella

B.  Cryptosporidium		D.  None of the above

73.  Which of the following are microscopic organisms that live in the intestines of warm-blooded animals? They also live in the waste material, or feces, excreted from the intestinal tract. When fecal coliform bacteria are present in high numbers in a water sample, it means that the water has received fecal matter from one source or another.

A.  Fecal coliform bacteria	C.  Shigella dysenteriae

B.  Cryptosporidium		D.  None of the above

74.  Which of the following are common in the environment and are generally not harmful? However, the presence of these bacteria in drinking water are usually a result of a problem with the treatment system or the pipes which distribute water, and indicates that the water may be contaminated with germs that can cause disease.

A.  Coliform Bacteria 	C.  Giardia lamblia

B.  Cryptosporidium	D.  None of the above

75.  Which of the following are bacteria whose presence indicates that the water may be contaminated with human or animal wastes? Microbes in these wastes can cause short-term effects, such as diarrhea, cramps, nausea, headaches, or other symptoms.

A.  Fecal Coliform and E. coli		C.  Shigella dysenteriae

B.  Cryptosporidium			D.  None of the above

Bacteriological Monitoring Introduction

76.  Which of the following are usually harmless, occur in high densities in their natural environment and are easily cultured in relatively simple bacteriological media?

A.  Indicator bacteria 	C.  Viruses

B.  Amoebas   	D.  None of the above

77.  Indicators in common use today for routine monitoring of drinking water include total coliforms, fecal coliforms, and?

A.  Cryptosporidium 	C.  Escherichia coli (E. coli)

B.  Protozoa   		D.  None of the above

78.  According to the text, the routine microbiological analysis of your water is for?

A.  Contamination	C.  Coliform bacteria

B.  Colloids	   	D.  None of the above

Bacteria Sampling

79.  Water samples for _________________ must always be collected in a sterile container.

A.  Amoebas	 	C.  Viruses

B.  Bacteria tests   	D.  None of the above

Methods

80. The MMO-MUG test, a product marketed as ____________, is the most common. The sample results will be reported by the laboratories as simply coliforms present or absent.

A.  Colilert 		C.  Total coliform analysis

B.  Coliform 		D.  None of the above

Microbial Regulations

81.  One of the key regulations developed and implemented by the United States Environmental Protection Agency (USEPA) to counter pathogens in drinking water is the Surface Water Treatment Rule.

A.  True		B.  False

82.  The Surface Water Treatment Rule suggests treatment criteria to assure that performance recommendations are met; these may include turbidity limits, disinfectant residual and disinfectant contact time conditions.

A.  True		B.  False

#### (S) Means the answer can be plural or singular in nature

Basic Types of Water Samples

83. It is important to properly identify the type of sample you are collecting.

A.  True		B.  False

The three (3) types of samples are:

84.  Samples collected following a coliform present routine sample. The number of repeat samples to be collected is based on the number of ____________ samples you normally collect.

A.  Repeat	C.  Routine

B.  Special	D.  None of the above

85.  A PWS fails to take every required repeat sample after any single TC+ sample

A.  Trigger: Level 1 Assessment 	C.  All of the above

B.  Trigger: Level 2 Assessment 	D.  None of the above

86.  A PWS has a second Level 1 Assessment within a rolling 12-month period.

A.  Trigger: Level 1 Assessment 	C.  All of the above

B.  Trigger: Level 2 Assessment 	D.  None of the above

87.  A PWS on state-approved annual monitoring has a Level 1 Assessment trigger in 2 consecutive years.

A.  Trigger: Level 1 Assessment 	C.  All of the above

B.  Trigger: Level 2 Assessment 	D.  None of the above

88.  A PWS collecting fewer than 40 samples per month has 2 or more TC+ routine/ repeat samples in the same month.

A.  Trigger: Level 1 Assessment 	C.  All of the above

B.  Trigger: Level 2 Assessment 	D.  None of the above

89.  A PWS incurs an E. coli MCL violation.

A.  Trigger: Level 1 Assessment 	C.  All of the above

B.  Trigger: Level 2 Assessment 	D.  None of the above

90.  A PWS collecting at least 40 samples per month has greater than 5.0 percent of the routine/repeat samples in the same month that are TC+.

A.  Trigger: Level 1 Assessment 	C.  All of the above

B.  Trigger: Level 2 Assessment 	D.  None of the above

91.  Noncommunity and nontransient, noncommunity water systems with less than 10,000 daily population and groundwater as a source will sample on an annual basis.

A.  True		B.  False

Maximum Contaminant Levels (MCLs)

92.  State and federal laws establish standards for drinking water quality. Under normal circumstances when these standards are being met, the water is safe to drink with no threat to human health. These standards are known as maximum contaminant levels (MCL). When a particular contaminant exceeds its MCL a potential health threat may occur.

A.  True		B.  False

93.  The MCLs are based on extensive research on toxicological properties of the contaminants, risk assessments and factors, short-term (acute) exposure, and long-term (chronic) exposure. You conduct the monitoring to make sure your water is in compliance with the MCL.

A.  True		B.  False

94.  There are two types of MCL violations for coliform bacteria. The first is for total coliform; the second is an acute risk to health violation characterized by the confirmed presence of fecal coliform or E. coli.

A.  True		B.  False

Positive or Coliform Present Results

95.  If you are notified of a positive coliform test result you need to contact either the Drinking Water Program or your local county health department within 72 hours, or by the next business day after the MCL compliance violation

A.  True		B.  False

96.  With a positive total coliform sample, after you have contacted an agency for assistance, you will be instructed as to the proper repeat sampling procedures and possible corrective measures for solving the problem. It is very important to initiate the _______________as the corrective measures will be based on those results.

A.  Perform routine procedures	C.  Corrective measures

B.  Repeat sampling immediately	D.  None of the above

Heterotrophic Plate Count   HPC

97.  Heterotrophic Plate Count (HPC) --- formerly known as the Bac-T plate, is a procedure for estimating the number of live heterotrophic bacteria and measuring changes during water treatment and distribution in water or in swimming pools.

A.  True		B.  False

Heterotrophic Plate Count (Spread Plate Method)

98.  Which of the following provides a technique to quantify the bacteriological activity of a sample?

A.  Colonies	C.  Heterotrophic Plate Count

B.  Agar	D.  None of the above

Total Coliforms

99.  This MCL is based on the presence of total coliforms, and compliance is on a daily or weekly basis, depending on your water system type and state rule.

A.  True	B.  False

100.  For systems which collect fewer than ______________ samples per month, no more than one sample per month may be positive. In other words, the second positive result (repeat or routine) in a month or quarter results in a MCL violation.

A.  40		C.  200

B.  100		D.  None of the above

The following are acute violations:

101.  Which determines a violation of nitrate?

A.  Presence	C.  MCLG

B.  MCL	D.  None of the above

Revised Total Coliform Rule (RTCR) Summary

102.  EPA published the Revised Total Coliform Rule (RTCR) in the Federal Register (FR) on February 13, 2013 (78 FR 10269). It is the revision to the 1989 Total Coliform Rule (TCR). 
A.  True	B.  False

#### (S) Means the answer can be plural or singular in nature

103.  The RTCR upholds the purpose of the 1989 TCR to protect public health by ensuring the duplicity of the drinking water distribution system and monitoring for the absence of microbial contamination.

A.  True	B.  False

104.  PN is required for violations incurred. Within required timeframes, the PWS must use the required health effects language and notify the public if they did not comply with certain requirements of the RTCR. The type of ____________ depends on the severity of the violation.

A.  CCR(s)	C.  MCL violation

B.  PN		D.  TC+ routine or repeat sample

105.  The RTCR requires public water systems that are vulnerable to microbial contamination to identify and fix problems.

A.  True	B.  False

106.  The RTCR establishes criteria for systems to qualify for and stay on for special increased monitoring, which could reduce water system problems for better system operation.

A.  True	B.  False

107.  The water provider shall develop and follow a sample-siting plan that designates the PWS's collection schedule. This includes location of___________.

A.  Routine and repeat water samples	C.  Microbial contamination

B.  Reduced monitoring			D.  Repeat water samples

108.  The water provider shall collect _______________________on a regular basis (monthly, quarterly, annually). Have samples tested for the presence of total coliforms by a state certified laboratory.

A.  Routine water samples	C.  Microbial contamination

B.  Reduced monitoring	D.  Repeat water samples

109.  The water provider shall collect repeat samples (at least 3) for each TC+ positive routine sample.

A.  True	B.  False

110.  For PWSs on quarterly or annual routine sampling, collect additional routine samples (at least 3) in the month after a ______________________.

A.  CCR(s)	C.  Total coliform positive samples

B.  PN		D.  TC+ routine or repeat sample

111.  PWSs incur violations if they do not comply with the requirements of the RTCR. The violation types are essentially the same as under the TCR with few changes. The biggest change is no acute or monthly MCL violation for ______________only.

A.  CCR(s)	C.  Total coliform positive samples

B.  PN		D.  TC+ routine or repeat sample

112.  Community water systems (CWSs) must use specific language in their CCRs when they must conduct an assessment or if they incur________________.

A.  CCR(s)	C.  An E. coli MCL violation

B.  PN		D.  TC+ routine or repeat sample

#### (S) Means the answer can be plural or singular in nature

113.  The water provider shall analyze all ________________ that are total coliform positive (TC+) for E. coli.

A.  Routine or repeat water samples	C.  Microbial contamination

B.  Reduced monitoring		D.  Repeat water samples

114.  The RTCR requires public water systems (PWSs) to meet a legal limit for E. coli, as demonstrated by required monitoring.

A.  True	B.  False

115.  The RTCR suggests the frequency and timing of required microbial testing based on public water type and source water type.

A.  True	B.  False

Disinfection Key

116.  The RTCR requires 99.9% or 3 log inactivation of ___________________.

A.  Enteric viruses	C.  Giardia lamblia cysts

B.  Crypto		D.  None of the above

117. The RTCR requires the chlorine residual leaving the plant must be = or __________ mg/L and measurable throughout the system.

A. > 0.2  	C. 0.2

B.  2.0		D.  None of the above

118.  The RTCR requires 99.99% or 4 log inactivation of _____________ .

A.  Enteric viruses	C.  Giardia lamblia cysts

B.  Crypto		D.  None of the above

119.  The RTCR requires 99% or 2 log inactivation of _________________ .

A.  Enteric viruses	C.  Giardia lamblia cysts

B.  Crypto		D.  None of the above

### Waterborne Pathogen Section - Introduction

### Pathogen Section

120.  Most pathogens are generally associated with diseases that _________and affect people in a relatively short amount of time, generally a few days to two weeks.

A. Cause intestinal illness		C.  Will cause fatalities

B. Are mild in nature			D.  None of the above

How Diseases are Transmitted.

121.  Waterborne pathogens are primarily spread by the?

A. Fecal-oral or feces-to-mouth route		C.  Oral to fecal route

B. Dermal to fecal route			D.  None of the above

Protozoan Caused Diseases

122.  Which of the following bugs is larger than bacteria and viruses but still microscopic; they invade and inhabit the gastrointestinal tract?

A.  Hepatitis A		C.  Protozoan pathogens

B.  E.coli  		D.  None of the above

123.  Some of the parasites enter the environment in a dormant form, with a protective cell wall, called a?

A.  Lamblia 	C.  Cyst

B.  Shell	D.  None of the above

Giardia lamblia

124.  Which of the following bugs has been responsible for more community-wide outbreaks of disease in the U.S. than any other, and drug treatment are not 100% effective?

A.  Giardia lamblia		C.  Giardiasis

B.  Cryptosporidiosis		D.  None of the above

125.  All of these diseases, with the exception of ___________________, have one symptom in common: diarrhea. They also have the same mode of transmission, fecal-oral, whether through person-to-person or animal-to-person contact.

A.  HIV infection 	C.  Hepatitis A

B.  Giardiasis 		D.  None of the above

Primary Waterborne Diseases Section

126.  Humans are the reservoir for the Salmonella typhi pathogen, which causes diarrheal illness, and also known as?

A.  Campylobacter		C.  Typhoid fever

B.  Shigella dysenteriae	D.  None of the above

127.  Vibrio cholerae, the basics. It's a virus. It causes diarrheal illness, also known as cholera. It is typically associated with aquatic environments, shell stocks, and human. Vibrio cholerae has also been associated with ship ballast water.

A.  True	B.  False

128.  Legionnaire's disease, which causes a severe pneumonia, and the second, _____________, which is a non-pneumonia illness; it's typically an influenza-like illness, and it's less severe.

A.  Pontiac fever 	C.  Typhoid fever

B.  Yellow fever	D.  None of the above

129.  Shigella species, in the United States two-thirds of the shigellosis in the U.S. is caused by Shigella dysenteriae and the remaining one-third is caused by Shigella Campylobacter.

A.  True	B.  False

130.  Campylobacter, the basics. It's a bacterium. It causes diarrheal illness.

A.  True	B.  False

131.  Campylobacter is primarily associated with poultry, animals, and humans.

A.  True	B.  False

132.  Legionella, prevention. Legionella in water systems. Hot water in tanks should be maintained between _____________degrees Centigrade.

A.  81 to 100			C. 71 and 77

B.  110 to 210			D.  None of the above

133.  Which of the following is typically associated with soil and water?

A. Hepatitis A virus	C.  Pseudomonas

B. Legionella		D.  None of the above

134.  Hepatitis A virus is resistant to combined chlorines, so it is important to have an adequate free chlorine residual. Fecal matter can shield Hepatitis A virus from chlorine.

A.  True	B.  False

135.  Humans are the reservoir for the Norovirus. Prevention strategies for this pathogen include?

A.  Internal protection		C.  Containment protection

B.  Source protection		D.  None of the above

136.  Schistosomatidae, the basics. It is a parasite. It is acquired through dermal contact, cercarial dermatitis. It is commonly known as?

A.  Swimmer's itch		C.  Hemorrhagic colitis

B.  Beaver fever		D.  None of the above

137. Cryptosporidium is typically associated with animals and humans, and it can be acquired through consuming fecally contaminated food, contact with fecally contaminated soil and water.

A.  True	B.  False

138.  Cryptosporidium, prevention. Prevention strategies for this pathogen include source protection. A CT value of 50 is required when dealing with fecally accidents. CT equals a concentration, in parts per million, while time equals a contact time in minutes.

A.  True	B.  False

139.  Giardia prevention strategies for this pathogen include _____________; filtration, coagulation, and halogenation of drinking water.

A.  Internal protection		C.  Containment protection

B.  Source protection		D.  None of the above

140.  Schistosomatidae prevention strategies for this pathogen include Placing boric acid on berms or interrupting the life cycle of the parasite by treating birds with a lead.

A.  True	B.  False

Waterborne Bacterial Diseases

141.  Cholera, Legionellosis, salmonellosis, shigellosis, yersiniosis, are other bacterial diseases that can be transmitted through water. All bacteria in water are readily killed or inactivated with chlorine or other disinfectants.

A.  True	B.  False

142.  Campylobacteriosis outbreaks have most often been associated with food, especially chicken and un-pasteurized milk, as well as un-chlorinated water. These organisms are also an important cause of “travelers’ diarrhea.” Medical treatment generally is not prescribed for campylobacteriosis because recovery is usually rapid.

A.  True	B.  False

143.  Campylobacteriosis is the most common diarrheal illness caused by bacteria. Other symptoms include abdominal pain, malaise, fever, nausea and vomiting; and begin three to five days after exposure. The illness is frequently over within two to five days and usually lasts no more than 10 days.

A.  True	B.  False

Chain of Custody Procedures

144.  If both parties involved in the transfer must sign, date and note the time on the chain of custody record, this is known as?

A.  TC Plan 			C.  Samples transfer possession

B.  Sample siting plan 	D.  None of the above

#### (S) Means the answer can be plural or singular in nature

145.  The recipient will then attach the _______________showing the transfer dates and times to the custody sheets. If the samples are split and sent to more than one laboratory, prepare a separate chain of custody record for each sample.

A.  Shipping invoices		C.  Sample siting plan

B.  Chain of custody release	D.  None of the above

Factors in Chlorine Disinfection: Concentration and Contact Time

146.  Based on the work of several researchers, CXT values [final free chlorine concentration (mg/L) multiplied by minimum contact time (minutes)], offer water operators guidance in computing an effective combination of chlorine concentration and ___________________required to achieve disinfection of water at a given temperature.

A.  Chlorine concentration	C.  Higher strength chlorine solutions

B.  Chlorine contact time	D.  None of the above

147.  The CXT formula demonstrates that if an operator chooses to decrease the chlorine concentration, the required _____________must be lengthened.

A.  Chlorine concentration	C.  Contact time

B.  Temperature		D.  None of the above

148. As ___________________ are used, contact times may be reduced.

A.  Chlorine concentration	C.  Higher strength chlorine solutions

B.  Temperature		D.  None of the above

Water Laboratory Analysis Section

pH Testing Section

149.  When an atom loses ___________and thus has more protons than electrons, the atom is a positively-charged ion or cation.

A.  A proton			C.  An electron

B.  Charge			D.  None of the above

150.  Measurement of pH for aqueous solutions can be done with a glass electrode and a pH meter, or using indicators like strip test paper.

A.  True		B.  False

151.  In chemistry, pH is a measure of the acidity or basicity of an aqueous solution. Solutions with a pH greater than 7 are said to be acidic and solutions with a pH less than 7 are basic or alkaline.

A.  True		B.  False

152.  Pure water has a pH very close to?

A.  7		C.  7.7

B. 7.5		D.  None of the above

153. _____________________________ are determined using a concentration cell with transference, by measuring the potential difference between a hydrogen electrode and a standard electrode such as the silver chloride electrode.

A.  Primary pH standard values	C.  pH measurement(s)

B.  Alkalinity				D.   None of the above

154.  Mathematically, pH is the negative logarithm of the activity of the (solvated) hydronium ion, more often expressed as the measure of the?

A.  Electron concentration	C.  Hydronium ion concentration

B.  Alkalinity concentration	D.   None of the above

155.  Which of the following terms for aqueous solutions can be done with a glass electrode and a pH meter, or using indicators?

A.  Primary sampling		C.  Determining values

B.  Measurement of pH	D.  None of the above

156.  The pH scale is logarithmic and therefore pH is?

A. An universal indicator		C.  An excess of alkaline earth metal concentrations

### B. A dimensionless quantity		D.  None of the above

157.  Measuring alkalinity is important in determining a stream's ability to neutralize acidic pollution from rainfall or wastewater. It is one of the best measures of the sensitivity of the stream to acid inputs. There can be long-term changes in the _________________ of rivers and streams in response to human disturbances.

A.  Acid	C.  pH measurement(s)

B.  Alkalinity	D.  None of the above

158.  pH is defined as the decimal logarithm of the reciprocal of the_____________, aH+, in a solution.

A.  Hydrogen ion activity		C. Brønsted–Lowry acid–base theory

B.  Acid-base behavior		D.  None of the above

159.  Which of the following may be used to measure pH, by making use of the fact that their color changes with pH?

A. Indicators			C.  A set of non-linear simultaneous equations

### B. Spectrophotometer		D.  None of the above

160.  Alkalinity is the name given to the quantitative capacity of an aqueous solution to neutralize an?

A.  Acid		C.  Bond formation

B.  Base		D.  None of the above

161. Which of the following terms of the color of a test solution with a standard color chart provides a means to measure pH accurate to the nearest whole number?

A. Universal indicator		C.  Visual comparison

B. Colorwheel measurement 	D.  None of the above

162.   The pH scale is traceable to a set of standard solutions whose pH is established by US EPA.

A.  True	B.  False

163.  The calculation of the pH of a solution containing acids and/or bases is an example of a chemical speciation calculation, that is, a mathematical procedure for calculating the concentrations of all chemical species that are present in the solution. The complexity of the procedure depends on the?

A. Nature of the solution	C.  Alkaline earth metal concentrations

### B. pH				D.  None of the above

164.  Under normal circumstances this means that the concentration of hydrogen ions in acidic solution can be taken to be equal to the concentration of the acid. The pH is then equal to minus the logarithm of?

A. The concentration value	C.  A set of non-linear simultaneous equations

### B. The pH			D.  None of the above

165.  Alkalinity of water is its acid-neutralizing capacity.  It is the sum of all the titratable bases. The measured value may vary significantly with the?

A.  End-point pH	C.  pH measurement(s)

B.  Alkalinity		D.  None of the above

166.  For strong acids and bases no calculations are necessary except in extreme situations. The pH of a solution containing a weak acid requires the solution of a quadratic equation. The pH of a solution containing a weak base may require the?

A. Solution of a cubic equation		C.  Excess of alkaline earth metal concentrations

### B. Non-linear simultaneous equations	D.  None of the above

167.  Alkalinity is a measure of this missing term and can be interpreted in terms of specific substances only when the chemical composition of the sample is known. 
A.  Universal indicator			C.  Excess of alkaline earth metal concentrations

### B. An aggregate property of water	D.  None of the above

168.  More precise measurements are possible if the color is measured spectrophotometrically, using a?

A. Universal indicator			C.  Set of non-linear simultaneous equations

### B. Colorimeter of spectrophotometer	D.  None of the above

169.  Because the alkalinity of many surface waters is primarily a function of carbonate, bicarbonate, and hydroxide content, it is taken as an indication of the concentration of these constituents.

A.  True	B.  False

170.  For strong acids and bases no calculations are necessary except in extreme situations. The pH of a solution containing a weak acid requires?

A. The concentration value			C.  Excess of alkaline concentrations

### B. The solution of a quadratic equation	D.  None of the above

171.  Alkalinity in excess of which term is significant in determining the suitability of water for irrigation?

A.  8		C.  Alkaline earth metal concentrations

### B. pH of 7	D.  None of the above

172.  The calculation of the pH of a solution containing acids and/or bases is an example of a ______________ calculation, that is, a mathematical procedure for calculating the concentrations of all chemical species that are present in the solution

A. Chemical speciation	C.  Visual comparison

B. Spectrophotometer		D.  None of the above

173.  Since pH is a logarithmic scale, a difference of one pH unit is equivalent to _______________fold difference in hydrogen ion concentration

A.  1		C.  10

B. .1		D.  None of the above

174.  Which of the following terms measurements is used in the interpretation and control of water and wastewater treatment processes?

A.  Acid		C.  Hydrogen bond formation

B.  Alkalinity		D.  None of the above

175.  Which of the following terms are compounds that, for practical purposes, are completely dissociated in water.

A. Strong acids and bases	C.  Strong bases and weak acids

B. Chemical ions in chains	D.  None of the above

176.  The pH of a solution containing a ____________ may require the solution of a cubic equation.

A. Strong acids and bases		C. Weak base

B. Strong base			D.  None of the above

177.  Sodium hydroxide, NaOH, is an example of a?

A. Weak base		C.  Strong acid

B. Strong base	D.  None of the above

Alkalinity Sub-Section

Introduction 
178.  Alkalinity of water is its acid-neutralizing capacity.  It is the sum of all the________________. The measured value may vary significantly with the end-point pH used.

A.  Titratable bases		C.  Disinfection by-products

B.  pH and alkalinity		D.  None of the above

179.  Alkalinity is a measure of an aggregate property of water and can be interpreted in terms of specific substances only when the chemical composition of the sample is known.

A.  True	B.  False

Alkalinity and pH Adjustment

180.  Adjusting ______________ is the most common corrosion control method because it is simple and inexpensive.

A.  End-point pH		C.  Disinfection by-products

B.  pH and alkalinity		D.  None of the above

181.  Alkalinity is a measure of the concentration of hydrogen ions present in water; pH is a measure of water’s ability to neutralize acids.

A.  True	B.  False

182.  Generally, water pH less than _______________ is associated with uniform corrosion, while pH between 6.5 and 8.0 can be associated with pitting corrosion.

A.  9.0		C.  7.0

B.  6.5		D.  None of the above

183.  Some studies have suggested that systems using only pH to control corrosion should maintain a pH of at least ______________ to reduce the availability of hydrogen ions as electron receptors.

A.  9.0		C.  7.0

B.  6.5		D.  None of the above

184.  pH is not the only factor in the corrosion equation; ______________and alkalinity levels affect corrosion as well.

A. Sodium bicarbonate	C.  Phosphates

B. Carbonate			D.  None of the above

185.  Generally, an increase in pH and alkalinity can increase corrosion rates and remove the protective layer of scale on corrodible pipe material.

A.  True	B.  False

186.  Chemicals commonly used for pH and alkalinity adjustment are______________________, caustic soda (NaOH or sodium hydroxide), soda ash (Na2CO3 or sodium carbonate), and sodium bicarbonate (NaHCO3, essentially baking soda).

A. Sodium bicarbonate	C.  Hydrated lime

B. Sulfuric acid		D.  None of the above

187.  Care must be taken, however, to maintain pH at a level that will control corrosion but not conflict with _________________for disinfection and control of disinfection by-products.

A.  End-point pH	C.  Optimum pH levels

B.  pH and alkalinity	D.  None of the above

Corrosion Inhibitors

188.  Inhibitors reduce corrosion by forming protective coatings on pipes. The most common corrosion inhibitors are__________________, sodium silicates and mixtures of phosphates and silicates. These chemicals have proven successful in reducing corrosion in many water systems.

A. Sodium bicarbonate	C.  Inorganic phosphates

B. Sulfuric acid		D.  None of the above

189.  The phosphates used as corrosion inhibitors include polyphosphates, orthophosphates, glassy phosphates and bimetallic phosphates. In some cases, zinc is added in conjunction with orthophosphates or polyphosphates.

A.  True	B.  False

Turbidity Testing Sub-Section

These are QA/QC questions that ensure that you’ve read the questions. These questions may seem to be repeats, but are necessary for your comprehension and evaluation.

190.  0.34 NTU in ________________, never to exceed 1.0 NTU spike

A.  Individual filter effluent	C. Combined filter turbidity

B.  95% of samples		D.  None of the above

191.  Sample turbidity at each ____________________

A.  Individual filter effluent	C. Combined filter turbidity

B.  95% of samples		D.  None of the above

192.  Turbidity is measured to evaluate the performance of ___________________.

A.  Water treatment plant(s)	C.  Colloidal to coarse dispersions

B.  An aesthetic point		D.  None of the above

193.  Turbidity is caused by wide variety of suspended matter that range in size from colloidal to coarse dispersions, depending upon the_____________________, and ranges from pure inorganic substances to those that are highly organic in nature.

A.  Water treatment plant(s)	C.  Degree of turbulence

B.  An aesthetic point		D.  None of the above

194. Turbid waters are undesirable from __________ of view in drinking water supplies.

A.  Water treatment plant(s)	C.  Colloidal to coarse dispersions

B.  An aesthetic point		D.  None of the above

Force due to van der Waals forces

195.  Van der Waals forces are strong forces based on a polar characteristic induced by neighboring molecules.  When two or more polar molecules, such as He, Ar, H2, are in close proximity, the nucleus of each atom will magnetically attract electrons in the counter atom resulting, at least momentarily, in an asymmetrical arrangement of the nucleus.

A.  True	B.  False

###### How to Treat Turbidity

196.  By supercharging the water supply momentarily with a positive charge, we can upset the charge effect of the particle enough to reduce the Zeta potential (repulsive force), thereby allowing van der Waals forces (attractive forces) to take over.

A.  True	B.  False

197.  By introducing aluminum (Al3+) into the water in the form of Alum (Al2(SO4)3(nH20) we can accomplish the supercharging of the water.  This is the coagulation part of the coagulation/flocculation process; flocculation follows coagulation.

A.  True	B.  False

198.  During the flocculation process the particles join together to form flocs; the larger the flocs, the faster they will settle within a clarifier.  Other chemical coagulants used are Ferric Chloride and Ferrous Sulfate.

A.  True	B.  False

199.  Ferrous Sulfate works well through a range of pH values, ___________________.

A.  5.0 - 7.5	C.  4.5 to 9.5

B.  4.5		D.  None of the above

200.  Ferric Chloride works best at lower pH values, down to pH of  ______________.

A.  5.0 - 7.5	C.  4.5 to 9.5

B.  4.5		D.  None of the above

When Finished with Your Assignment...

REQUIRED DOCUMENTS

Please scan the Registration Page, Answer Key, Proctoring report, Survey and Driver’s License and email these documents to info@TLCH2O.com.

IPhone Scanning Instructions

If you are unable to scan, take a photo of these documents with your iPhone and send these photos to TLC, info@TLCH2O.com.

FAX

If you are unable to scan and email, please fax these documents to TLC, if you fax, call to confirm that we received your paperwork. (928) 468-0675